## Sheet1
QC_data_summary | Reflectance (%) of white calibration plate |  |  |  | Remarks
| 400 nm | 500 nm | 600 nm | 700 nm
Number of data | 111 | 111 | 111 | 111
Average (%) | 92.582 | 93.0581 | 93.0876 | 93.0532
Maximum | 93.71 | 93.69 | 93.87 | 93.95
Minimum | 92.23 | 92.66 | 92.64 | 92.53
SD | 0.29695 | 0.24514 | 0.27672 | 0.30141
RSD (%) | 0.32074 | 0.26343 | 0.29727 | 0.32391
File Name | 400 | 500 | 600 | 700 | Remarks
| nm | nm | nm | nm
white_805-C5703A-00005Z-01.txt | 92.41 | 92.76 | 92.77 | 92.79 | The spectrophotometer from Orix rentech: 92.3% at 400 nm was accepted
white_805-C5703A-00010Z-01.txt | 92.33 | 92.81 | 92.8 | 92.77 | The spectrophotometer from Orix rentech: 92.3% at 400 nm was accepted
white_805-C5703A-00020Z-02.txt | 92.4 | 92.91 | 92.99 | 92.99 | The spectrophotometer from Orix rentech: 92.3% at 400 nm was accepted
white_805-C5703A-00024Z-01.txt | 92.31 | 92.86 | 92.82 | 92.83 | The spectrophotometer from Orix rentech: 92.3% at 400 nm was accepted
white_805-C5703A-00026Z-01.txt | 92.3 | 92.88 | 92.92 | 92.96 | The spectrophotometer from Orix rentech: 92.3% at 400 nm was accepted
white_805-C5703A-00028Z-01.txt | 92.3 | 92.89 | 92.98 | 92.88 | The spectrophotometer from Orix rentech: 92.3% at 400 nm was accepted
white_805-C5703A-00031Z-01.txt | 92.31 | 93.03 | 93.04 | 93.06 | The spectrophotometer from Orix rentech: 92.3% at 400 nm was accepted
white_805-C5703A-00031Z-01.txt | 92.31 | 93.03 | 93.04 | 93.06 | The spectrophotometer from Orix rentech: 92.3% at 400 nm was accepted
white_805-C5703A-00033Z-01.txt | 92.35 | 92.88 | 92.93 | 92.87 | The spectrophotometer from Orix rentech: 92.3% at 400 nm was accepted
white_805-C5703A-00033Z-01.txt | 92.35 | 92.88 | 92.93 | 92.87 | The spectrophotometer from Orix rentech: 92.3% at 400 nm was accepted
white_805-C5703A-00036Z-04.txt | 92.52 | 93.14 | 93.2 | 93.1 | The spectrophotometer from Orix rentech.
white_805-C5703A-00040Z-04.txt | 92.36 | 92.92 | 93.04 | 92.98 | The spectrophotometer from Orix rentech: 92.3% at 400 nm was accepted
white_805-C5703A-00042Z-01.txt | 92.42 | 92.85 | 92.89 | 92.94 | The spectrophotometer from Orix rentech: 92.3% at 400 nm was accepted
white_805-C5703A-00043Z-01.txt | 92.33 | 92.79 | 92.85 | 92.82 | The spectrophotometer from Orix rentech: 92.3% at 400 nm was accepted
white_805-C5703A-00045Z-01.txt | 92.37 | 92.79 | 92.77 | 92.82 | The spectrophotometer from Orix rentech: 92.3% at 400 nm was accepted
white_805-C5703A-00048Z-01.txt | 92.36 | 92.73 | 92.65 | 92.6 | The spectrophotometer from Orix rentech: 92.3% at 400 nm was accepted
white_805-C5703A-00050Z-01.txt | 92.61 | 93.14 | 93.24 | 93.15 | The spectrophotometer from Orix rentech.
white_805-C5703A-00053Z-01.txt | 92.79 | 93.21 | 93.2 | 93.21 | The spectrophotometer from Orix rentech.
white_805-C5703A-00056Z-01.txt | 92.36 | 92.71 | 92.64 | 92.57 | The spectrophotometer from Orix rentech: 92.3% at 400 nm was accepted
white_805-C5703A-00058Z-01.txt | 92.35 | 92.66 | 92.64 | 92.53 | The spectrophotometer from Orix rentech: 92.3% at 400 nm was accepted
white_805-C5703A-00060Z-01.txt | 92.33 | 92.88 | 92.89 | 92.84 | The spectrophotometer from Orix rentech: 92.3% at 400 nm was accepted
white_805-C5703A-00063Z-02.txt | 92.96 | 93.66 | 93.87 | 93.95 | The spectrophotometer from Orix rentech.
white_805-C5703A-00065Z-04.txt | 92.66 | 93.47 | 93.67 | 93.73 | The spectrophotometer from Orix rentech.
white_805-C5703A-00068Z-01.txt | 92.5 | 93.23 | 93.42 | 93.31 | The spectrophotometer from Orix rentech.
white_805-C5703A-00070Z-01.txt | 92.62 | 93.33 | 93.44 | 93.35 | The spectrophotometer from Orix rentech.
white_805-C5703A-00073Z-01.txt | 92.31 | 92.91 | 92.98 | 92.89 | The spectrophotometer from Orix rentech: 92.3% at 400 nm was accepted
white_805-C5703A-00075Z-01.txt | 92.64 | 93.31 | 93.32 | 93.3 | The spectrophotometer from Orix rentech.
white_805-C5703A-00076Z-04.txt | 92.36 | 92.85 | 92.92 | 92.88 | The spectrophotometer from Orix rentech: 92.3% at 400 nm was accepted
white_805-C5703A-00079Z-02.txt | 92.34 | 92.88 | 92.83 | 92.78 | The spectrophotometer from Orix rentech: 92.3% at 400 nm was accepted
white_805-C5703A-00081Z-04.txt | 92.62 | 93.15 | 93.2 | 93.1 | The spectrophotometer from Orix rentech.
white_805-C5703A-00084Z-01.txt | 92.55 | 93.08 | 93.11 | 93.15 | The spectrophotometer from Orix rentech.
white_805-C5703A-00086Z-01.txt | 92.52 | 92.8 | 92.66 | 92.54 | The spectrophotometer from Orix rentech.
white_805-C5703A-00089Z-01.txt | 92.62 | 93.16 | 93.17 | 93.06 | The spectrophotometer from Orix rentech.
white_805-C5703A-00091Z-01.txt | 92.6 | 93.06 | 92.97 | 92.75 | The spectrophotometer from Orix rentech.
white_805-C5703A-00094Z-01.txt | 92.83 | 93.26 | 93.18 | 93.09 | The spectrophotometer from Orix rentech.
white_805-C5703A-00096Z-04.txt | 92.34 | 92.84 | 92.89 | 92.9 | The spectrophotometer from Orix rentech: 92.3% at 400 nm was accepted
white_805-C5703A-00099Z-03.txt | 92.47 | 92.86 | 92.88 | 92.91 | The spectrophotometer from Orix rentech: 92.3% at 400 nm was accepted
white_805-C5703A-00100Z-04.txt | 92.32 | 92.86 | 92.92 | 92.85 | The spectrophotometer from Orix rentech: 92.3% at 400 nm was accepted
white_805-C5703A-00104Z-01.txt | 92.43 | 92.95 | 92.96 | 93.08 | The spectrophotometer from Orix rentech: 92.3% at 400 nm was accepted
white_805-C5703A-00107Z-01.txt | 92.35 | 92.94 | 92.89 | 92.8 | The spectrophotometer from Orix rentech: 92.3% at 400 nm was accepted
white_805-C5703A-00111Z-01.txt | 92.56 | 93.21 | 93.08 | 93.11 | The spectrophotometer from Orix rentech.
white_805-C5703A-00113Z-01.txt | 92.35 | 92.78 | 92.7 | 92.57 | The spectrophotometer from Orix rentech: 92.3% at 400 nm was accepted
white_805-C5703A-00116Z-01.txt | 92.3 | 92.97 | 92.83 | 92.71 | The spectrophotometer from Orix rentech: 92.3% at 400 nm was accepted
white_805-C5703A-00119Z-01.txt | 92.38 | 92.97 | 92.97 | 93.08 | The spectrophotometer from Orix rentech: 92.3% at 400 nm was accepted
white_805-C5703A-00121Z-04.txt | 92.95 | 93.08 | 93.03 | 93.1 | The spectrophotometer from Orix rentech.
white_805-C5703A-00122Z-01.txt | 92.92 | 93.17 | 93.24 | 93.28 | The spectrophotometer from Orix rentech.
white_805-C5703A-00124Z-01.txt | 93.36 | 93.44 | 93.27 | 93.24 | The spectrophotometer from Orix rentech.
white_805-C5703A-00124Z-01.txt | 93.36 | 93.44 | 93.27 | 93.24 | The spectrophotometer from Orix rentech.
white_805-C5703A-00127Z-01.txt | 92.7 | 93.03 | 93.05 | 93.01 | The spectrophotometer from Orix rentech.
white_805-C5703A-00130Z-01.txt | 92.76 | 92.99 | 92.95 | 92.85 | The spectrophotometer from Orix rentech.
white_805-C5703A-00132Z-01.txt | 93.17 | 92.93 | 92.92 | 92.8 | The spectrophotometer from Orix rentech.
white_805-C5704B-00001Z-01_02.txt | 92.36 | 92.84 | 92.86 | 92.89 | The spectrophotometer from Orix rentech: 92.3% at 400 nm was accepted
white_805-C5704B-00002Z-01.txt | 92.34 | 92.81 | 92.84 | 92.75 | The spectrophotometer from Orix rentech: 92.3% at 400 nm was accepted
white_805-C5704B-00003Z-01.txt | 92.31 | 92.8 | 92.86 | 92.8 | The spectrophotometer from Orix rentech: 92.3% at 400 nm was accepted
white_805-C5704B-00004Z-01.txt | 92.73 | 93.33 | 93.43 | 93.39 | The spectrophotometer from Orix rentech.
white_805-C5704B-00006Z-01_02.txt | 92.34 | 92.81 | 92.81 | 92.81 | The spectrophotometer from Orix rentech: 92.3% at 400 nm was accepted
white_805-C5704B-00007Z-01.txt | 92.59 | 93.14 | 93.21 | 93.13 | The spectrophotometer from Orix rentech.
white_805-C5704B-00008Z-01.txt | 92.56 | 93.06 | 93.14 | 93.16 | The spectrophotometer from Orix rentech.
white_805-C5704B-00009Z-01.txt | 92.7 | 93.28 | 93.41 | 93.36 | The spectrophotometer from Orix rentech.
white_805-C5704B-00010Z-01.txt | 92.45 | 92.92 | 92.92 | 92.87 | The spectrophotometer from Orix rentech: 92.3% at 400 nm was accepted
white_805-C5704B-00011Z-01.txt | 92.93 | 93.49 | 93.64 | 93.55 | The spectrophotometer from Orix rentech.
white_805-C5704B-00012Z-01.txt | 93.07 | 93.69 | 93.8 | 93.86 | The spectrophotometer from Orix rentech.
white_805-C5704B-00013Z-01.txt | 93.01 | 93.59 | 93.74 | 93.69 | The spectrophotometer from Orix rentech.
white_805-C5704B-00014Z-01.txt | 93.02 | 93.6 | 93.71 | 93.69 | The spectrophotometer from Orix rentech.
white_805-C5704B-00015Z-01.txt | 92.97 | 93.49 | 93.57 | 93.63 | The spectrophotometer from Orix rentech.
white_805-C5704B-00016Z-01.txt | 92.68 | 93.24 | 93.3 | 93.33 | The spectrophotometer from Orix rentech.
white_805-C5704B-00017Z-01.txt | 92.89 | 93.4 | 93.47 | 93.44 | The spectrophotometer from Orix rentech.
white_805-C5704B-00019Z-01.txt | 92.31 | 92.83 | 92.93 | 92.91 | The spectrophotometer from Orix rentech: 92.3% at 400 nm was accepted
white_805-C5704B-00020Z-01.txt | 92.68 | 93.32 | 93.45 | 93.55 | The spectrophotometer from Orix rentech.
white_805-C5704B-00021Z-01.txt | 92.77 | 93.29 | 93.37 | 93.43 | The spectrophotometer from Orix rentech.
white_805-C5704B-00022Z-01.txt | 92.66 | 93.34 | 93.48 | 93.57 | The spectrophotometer from Orix rentech.
white_805-C5704B-00023Z-01.txt | 92.36 | 92.95 | 93.13 | 93.24 | The spectrophotometer from Orix rentech: 92.3% at 400 nm was accepted
white_805-C5704B-00025Z-01.txt | 92.78 | 93.5 | 93.6 | 93.67 | The spectrophotometer from Orix rentech.
white_805-C5704B-00027Z-01.txt | 92.85 | 93.48 | 93.65 | 93.67 | The spectrophotometer from Orix rentech.
white_805-C5704B-00029Z-01.txt | 92.59 | 93.24 | 93.37 | 93.5 | The spectrophotometer from Orix rentech.
white_805-C5704B-00031Z-01.txt | 92.43 | 92.88 | 92.9 | 92.85 | The spectrophotometer from Orix rentech: 92.3% at 400 nm was accepted
white_805-C5704B-00032Z-01.txt | 92.31 | 92.87 | 92.9 | 92.86 | The spectrophotometer from Orix rentech: 92.3% at 400 nm was accepted
white_805-C5704B-00033Z-01_03.txt | 92.34 | 92.97 | 93.05 | 93.06 | The spectrophotometer from Orix rentech: 92.3% at 400 nm was accepted
white_805-C5704B-00036Z-01_02.txt | 92.32 | 92.8 | 92.88 | 92.78 | The spectrophotometer from Orix rentech: 92.3% at 400 nm was accepted
white_805-C5704B-00037Z-01.txt | 92.32 | 92.98 | 93.06 | 93.01 | The spectrophotometer from Orix rentech: 92.3% at 400 nm was accepted
white_805-C5704B-00038Z-01_02.txt | 92.3 | 92.98 | 93.06 | 93.01 | The spectrophotometer from Orix rentech: 92.3% at 400 nm was accepted
white_805-C5704B-00039Z-01.txt | 92.23 | 92.93 | 93 | 92.86 | The spectrophotometer from Orix rentech: 92.3% at 400 nm was accepted
white_805-C5704B-00042Z-01.txt | 92.37 | 92.96 | 92.99 | 92.88 | The spectrophotometer from Orix rentech: 92.3% at 400 nm was accepted
white_805-C5704B-00044Z-01.txt | 92.34 | 92.86 | 92.92 | 92.89 | The spectrophotometer from Orix rentech: 92.3% at 400 nm was accepted
white_805-C5704B-00047Z-01.txt | 92.43 | 93.11 | 93.16 | 93.08 | The spectrophotometer from Orix rentech: 92.3% at 400 nm was accepted
white_805-C5704B-00050Z-01.txt | 92.61 | 93.02 | 93.12 | 93.11 | The spectrophotometer from Orix rentech.
white_805-C5704B-00052Z-01.txt | 92.47 | 93.02 | 93.1 | 93.07 | The spectrophotometer from Orix rentech: 92.3% at 400 nm was accepted
white_805-C5704B-00054Z-01.txt | 92.34 | 92.88 | 92.93 | 92.95 | The spectrophotometer from Orix rentech: 92.3% at 400 nm was accepted
white_805-C5704B-00058Z-01.txt | 92.4 | 92.84 | 92.9 | 92.84 | The spectrophotometer from Orix rentech: 92.3% at 400 nm was accepted
white_805-C5704B-00060Z-01.txt | 92.55 | 93.08 | 93.2 | 93.2 | The spectrophotometer from Orix rentech.
white_805-C5704B-00063Z-01.txt | 92.55 | 93 | 93.01 | 93.04 | The spectrophotometer from Orix rentech.
white_805-C5704B-00064Z-01.txt | 92.39 | 92.84 | 92.87 | 92.78 | The spectrophotometer from Orix rentech: 92.3% at 400 nm was accepted
white_805-C5704B-00066Z-01.txt | 92.62 | 93.17 | 93.22 | 93.2 | The spectrophotometer from Orix rentech.
white_805-C5704B-00069Z-01.txt | 92.41 | 92.87 | 92.91 | 92.9 | The spectrophotometer from Orix rentech: 92.3% at 400 nm was accepted
white_805-C5704B-00071Z-01.txt | 92.35 | 92.84 | 92.81 | 92.85 | The spectrophotometer from Orix rentech: 92.3% at 400 nm was accepted
white_805-C5704B-00074Z-01.txt | 92.42 | 92.89 | 92.93 | 92.9 | The spectrophotometer from Orix rentech: 92.3% at 400 nm was accepted
white_805-C5704B-00076Z-01.txt | 92.5 | 92.93 | 92.92 | 92.75 | The spectrophotometer from Orix rentech.
white_805-C5704B-00079Z-01.txt | 93.36 | 93.48 | 93.54 | 93.34 | The spectrophotometer from Orix rentech.
white_805-C5704B-00084Z-01.txt | 92.49 | 92.89 | 92.94 | 92.9 | The spectrophotometer from Orix rentech: 92.3% at 400 nm was accepted
white_805-C5704B-00087Z-01.txt | 92.53 | 93.07 | 93.01 | 93.06 | The spectrophotometer from Orix rentech.
white_805-C5704B-00090Z-01.txt | 92.3 | 92.84 | 92.92 | 92.91 | The spectrophotometer from Orix rentech: 92.3% at 400 nm was accepted
white_805-C5704B-00094Z-01.txt | 93.12 | 93.28 | 93.05 | 93.02 | The spectrophotometer from Orix rentech.
white_805-C5704B-00097Z-01.txt | 93.28 | 93.44 | 93.33 | 93.26 | The spectrophotometer from Orix rentech.
white_805-C5704B-00100Z-01.txt | 92.8 | 92.89 | 92.83 | 92.73 | The spectrophotometer from Orix rentech.
white_805-C5704B-00102Z-01.txt | 92.64 | 92.87 | 92.79 | 92.66 | The spectrophotometer from Orix rentech.
white_805-C5704B-00104Z-01.txt | 92.54 | 92.97 | 93.03 | 92.77 | The spectrophotometer from Orix rentech.
white_805-C5704B-00109Z-01.txt | 92.85 | 93.06 | 93.01 | 92.9 | The spectrophotometer from Orix rentech.
white_805-C5704B-00112Z-01.txt | 93.71 | 93.69 | 93.7 | 93.57 | The spectrophotometer from Orix rentech.
white_805-C5704B-00116Z-01.txt | 92.77 | 92.98 | 92.89 | 92.75 | The spectrophotometer from Orix rentech.
white_805-C5704B-00121Z-02.txt | 92.97 | 93.07 | 92.96 | 92.89 | The spectrophotometer from Orix rentech.
white_805-C5704B-00126Z-01.txt | 93.27 | 93.4 | 93.37 | 93.34 | The spectrophotometer from Orix rentech.

## Sheet2
File Name | 400 | 500 | 600 | 700
white_370-C0023A-1F-1-3.txt | 92.64 | 93.06 | 92.63 | 92.55
white_370-C0023A-1F-1-3.txt | 92.64 | 93.06 | 92.63 | 92.55
white_370-C0023A-1F-1-4.txt | 92.67 | 93.13 | 92.78 | 92.57
white_370-C0023A-1F-1-5.txt | 92.72 | 93.21 | 92.84 | 92.6
white_370-C0023A-2F-1-2.txt | 92.55 | 92.99 | 92.78 | 92.55
white_370-C0023A-3F-1.txt | 92.61 | 93.07 | 92.74 | 92.65
white_370-C0023A-3F-1.txt | 92.62 | 93.09 | 92.76 | 92.63
white_370-C0023A-4F-1.txt | 92.9 | 93.49 | 93.16 | 93.02
white_370-C0023A-5F-1.txt | 92.69 | 93.22 | 92.81 | 92.72
white_370-C0023A-6F-4.txt | 92.69 | 93.22 | 92.68 | 92.52
white_370_C0023A-7X-1.txt | 92.67 | 92.98 | 92.78 | 92.5
white_370_C0023A-8F-1.txt | 92.97 | 93.52 | 93.19 | 92.99
white_370_C0023A-9F-1-2.txt | 92.59 | 93.12 | 92.68 | 92.53
white_370_C0023A-10F-1.txt | 92.62 | 93.09 | 92.73 | 92.52
white_370_C0023A-11F-1.txt | 92.94 | 93.41 | 93.16 | 92.97
white_370_C0023A-12F-1.txt | 92.88 | 93.49 | 93.05 | 92.78
white_370_C0023A-13F-1-2.txt | 92.55 | 93.16 | 92.74 | 92.63
white_370_C0023A-14X-1-2.txt | 92.76 | 93.12 | 92.8 | 92.62
white_370_C0023A-15F-1-2.txt | 92.73 | 93.2 | 92.78 | 92.6
white_370_C0023A-16R-1.txt | 92.68 | 93.25 | 92.76 | 92.59
white_370_C0023A-17R-1.txt | 93.38 | 94.03 | 93.58 | 93.4
white_370-C0023A-18R-1.txt | 92.66 | 93.03 | 92.74 | 92.56
white_370-C0023A-19R-1-2.txt | 92.58 | 93.03 | 92.69 | 92.52
white_370-C0023A-20R-1.txt | 92.63 | 93.05 | 92.69 | 92.61
white_370-C0023A-21R-1.txt | 92.71 | 93.18 | 92.83 | 92.54
white_370_C0023A-23R-1.txt | 92.64 | 93.06 | 92.7 | 92.59
white_370_C0023A-24R-1.txt | 92.65 | 93.12 | 92.76 | 92.56
white_370_C0023A-22R-1-7.txt | 92.68 | 93.11 | 92.71 | 92.57
white_370_C0023A-25R-1.txt | 92.69 | 93.3 | 92.97 | 92.83
white_370_C0023A-26R-1-4.txt | 92.58 | 93.08 | 92.69 | 92.62
white_370_C0023A-27R-1.txt | 92.62 | 93.09 | 92.67 | 92.52
white_370_C0023A-29R-1-1.txt | 92.62 | 93.1 | 92.74 | 92.53
white_370_C0023A-30R-1-1.txt | 92.61 | 93.06 | 92.76 | 92.54
white_370_C0023A-31R-1-5.txt | 92.53 | 93.16 | 92.77 | 92.57
white_370_C0023A-32R-1-1.txt | 92.61 | 93.15 | 92.7 | 92.56
white_370_C0023A-34R-1-1.txt | 92.6 | 93.03 | 92.67 | 92.59
white_370_C0023A-35R-2-4.txt | 92.81 | 93.16 | 92.69 | 92.58
white_370_C0023A-36R-1-1.txt | 92.74 | 93.1 | 92.7 | 92.61
white_370_C0023A-37R-1-1.txt | 92.67 | 93.05 | 92.74 | 92.58
white_370_C0023A-38R-1-1.txt | 92.59 | 93.08 | 92.66 | 92.62
white_370_C0023A-39R-1-3.txt | 92.57 | 93.08 | 92.66 | 92.58
white_370_C0023A-41R-1.txt | 92.76 | 93.25 | 92.87 | 92.68
white_370_C0023A-40R-1.txt | 93.06 | 93.5 | 93.19 | 93.08
white_370_C0023A-42R-1.txt | 92.99 | 93.53 | 93.2 | 93.04
white_370_C0023A-40R-1r1.txt | 93.87 | 94.39 | 93.94 | 93.78
white_370_C0023A-43R-1-2.txt | 92.59 | 93.11 | 92.71 | 92.59
white_370_C0023A-44R-1-1.txt | 92.57 | 93.09 | 92.73 | 92.57
white_370_C0023A-45-1-1.txt | 92.7 | 93.05 | 92.75 | 92.58
white_370_C0023A-46R-2-2.txt | 92.7 | 93.02 | 92.76 | 92.55
white_370_C0023A-47R-1-3.txt | 92.58 | 93.15 | 92.79 | 92.62
white_370_C0023A-48R-1-1.txt | 93.02 | 93.57 | 93.27 | 93.06
white_370_C0023A-48R-1-2.txt | 92.61 | 93.13 | 92.71 | 92.55
white_370_C0023A-49R-2-1.txt | 92.57 | 93.21 | 92.78 | 92.53
white_370_C0023A-50R-1-1.txt | 92.68 | 93.22 | 92.73 | 92.57
white_370_C0023A-51R-1-4.txt | 92.63 | 92.97 | 92.68 | 92.52
white_370_C0023A-52R-2-3.txt | 92.63 | 93.03 | 92.72 | 92.51
white_370_C0023A-54R-CC-3.txt | 92.67 | 93.09 | 92.82 | 92.58
white_370_C0023A-55R-1-3.txt | 92.93 | 93.3 | 92.94 | 92.7
white_370_C0023A-48R-CC-2.txt | 92.7 | 93.13 | 92.75 | 92.52
white_370_C0023A-55R-2-2.txt | 92.67 | 93.07 | 92.76 | 92.5
white_370_C0023A-56R-1.txt | 92.88 | 93.46 | 92.91 | 92.74
white_370_C0023A-57R-1.txt | 93 | 93.54 | 93.15 | 93.04
white_370_C0023A-58R-1.txt | 93.69 | 94.15 | 93.73 | 93.5
white_370_C0023A-59R-1-1.txt | 92.62 | 93.16 | 92.84 | 92.63
white_370_C0023A-60R-3-1.txt | 92.54 | 92.99 | 92.69 | 92.54
white_370_C0023A-61R-1-2.txt | 92.63 | 93.05 | 92.72 | 92.56
white_370_C0023A-62R-1-1.txt | 92.72 | 93.03 | 92.77 | 92.59
white_370_C0023A-63R-2-1.txt | 92.66 | 93.15 | 92.71 | 92.59
white_370_C0023A-63R-3.txt | 92.68 | 92.92 | 92.82 | 92.55
white_370_C0023A-64R-1-1.txt | 92.51 | 92.96 | 92.74 | 92.62
white_370_C0023A-65R-1-1.txt | 92.62 | 93.1 | 92.74 | 92.59
white_370_C0023A-66R-2-2.txt | 92.52 | 93.02 | 92.72 | 92.54
white_370_C0023A-67R-2-4.txt | 92.56 | 93.09 | 92.75 | 92.61
white_370_C0023A-68R-1-3.txt | 92.54 | 93.1 | 92.72 | 92.57
white_370_C0023A-69R-1-5.txt | 92.81 | 93.34 | 93.05 | 92.8
white_370_C0023A-70R-1-1.txt | 93.01 | 93.47 | 93.14 | 92.99
white_370_C0023A-71R-1-1.txt | 92.51 | 93.07 | 92.71 | 92.52
white_370_C0023A-72R-2-1.txt | 92.6 | 93.12 | 92.68 | 92.55
white_370_C0023A-73R-CC-1.txt | 93.1 | 93.45 | 93.15 | 93.01
white_370_C0023A-74R-1-3.txt | 92.67 | 93.17 | 92.7 | 92.67
white_370_C0023A-75R-1-1.txt | 92.89 | 93.2 | 92.78 | 92.64
white_370_C0023A-76R-1-1.txt | 92.66 | 93.12 | 92.78 | 92.57
white_370_C0023A-77R-1-1.txt | 92.66 | 93.18 | 92.73 | 92.58
white_370_C0023A-78R-1-1.txt | 92.61 | 93.02 | 92.67 | 92.58
white_370_C0023A-78R-1-2.txt | 92.71 | 93.17 | 92.87 | 92.78
white_370_C0023A-78R-1-3.txt | 92.7 | 93.09 | 92.67 | 92.55
white_370_C0023A-79R-1-2.txt | 92.61 | 93.08 | 92.7 | 92.6
white_370_C0023A-80R-1-1.txt | 92.66 | 93.11 | 92.7 | 92.5
white_370_C0023A-81R-1-2.txt | 92.55 | 93.15 | 92.69 | 92.57
white_370_C0023A-82R-1-1.txt | 92.66 | 93.01 | 92.73 | 92.54
white_370_C0023A-83R-2-3.txt | 92.68 | 92.99 | 92.71 | 92.64
white_370_C0023A-999R-1-1.txt | 92.53 | 92.98 | 92.81 | 92.57
white_370_C0023A-999R-1-2.txt | 92.67 | 93.15 | 92.75 | 92.54
white_370_C0023A-999R-1-3.txt | 92.65 | 93.02 | 92.72 | 92.56
white_370_C0023A-999R-1017-3.txt | 92.84 | 93.05 | 92.78 | 92.57
white_370_C0023A-999R-1-7.txt | 92.61 | 93.17 | 92.74 | 92.55
white_370_C0023A-999R-1019-1.txt | 92.61 | 93.01 | 92.71 | 92.5
white_370_C0023A-999R-1020-1.txt | 92.56 | 93.06 | 92.74 | 92.52
white_370_C0023A-999R-1021-1.txt | 92.65 | 93.06 | 92.7 | 92.54
white_370_C0023A-999R-1022-1.txt | 92.66 | 93.01 | 92.67 | 92.56
white_370_C0023A-999R-1023-1.txt | 92.65 | 93.06 | 92.76 | 92.57
white_370_C0023A-999R-1023-1-2.txt | 92.52 | 93 | 92.69 | 92.54
white_370_C0023A-999R-1024-1.txt | 92.56 | 93.1 | 92.75 | 92.56
white_370_C0023A-999R-1025-1.txt | 92.55 | 93.03 | 92.68 | 92.59
white_370_C0023A-999R-1026-1.txt | 92.57 | 93.08 | 92.74 | 92.56
white_370_C0023A-84R-1-1.txt | 92.67 | 93.13 | 92.67 | 92.56
white_370_C0023A-84R-2-1.txt | 92.54 | 93.05 | 92.69 | 92.53
white_370_C0023A-85R-1-1.txt | 92.7 | 93.02 | 92.68 | 92.53
white_370_C0023A-86R-1-2.txt | 92.65 | 93.18 | 92.77 | 92.55
white_370_C0023A-87R-1-2.txt | 92.67 | 93.13 | 92.69 | 92.53
white_370_C0023A-88R-1-1.txt | 92.65 | 93.02 | 92.73 | 92.55
white_370_C0023A-89R-1-2.txt | 92.69 | 92.94 | 92.78 | 92.61
white_370_C0023A-90R-1-1.txt | 92.53 | 93.07 | 92.75 | 92.58
white_370_C0023A-91R-1-2.txt | 92.53 | 93.12 | 92.71 | 92.58
white_370_C0023A-92R-1-1.txt | 92.57 | 93.16 | 92.81 | 92.56
white_370_C0023A-93R-1-1.txt | 92.7 | 93.05 | 92.72 | 92.52
white_370_C0023A-94R-1-2.txt | 92.52 | 93.09 | 92.73 | 92.56
white_370_C0023A-95R-1-1.txt | 92.61 | 93.04 | 92.74 | 92.59
white_370_C0023A-96R-1-3.txt | 92.57 | 93.08 | 92.73 | 92.58
white_370_C0023A-97R-1-1.txt | 92.61 | 93.09 | 92.69 | 92.59
white_370_C0023A-98R-1-2.txt | 92.63 | 93.06 | 92.67 | 92.58
white_370_C0023A-99R-1-2.txt | 92.62 | 93.08 | 92.81 | 92.6
white_370_C0023A-100R-1-4.txt | 92.61 | 93.08 | 92.66 | 92.51
white_370_C0023A-101R-1-3.txt | 92.66 | 93.02 | 92.76 | 92.52
white_370_C0023A-102R-1-1.txt | 92.64 | 93.03 | 92.71 | 92.61
white_370_C0023A-103R-1-1.txt | 92.6 | 93.06 | 92.73 | 92.56
white_370_C0023A-104R-1-1.txt | 92.64 | 93.12 | 92.74 | 92.56
white_370_C0023A-105R-1-2.txt | 92.63 | 93.03 | 92.77 | 92.55
white_370_C0023A-106R-1-1.txt | 92.61 | 93.1 | 92.77 | 92.58
white_370_C0023A-107R-1-3.txt | 92.75 | 93.1 | 92.73 | 92.55
white_370_C0023A-108R-1-2.txt | 92.71 | 93.1 | 92.69 | 92.56
white_370_C0023A-109R-1-1.txt | 92.74 | 93.09 | 92.73 | 92.55
white_370_C0023A-110R-1-1.txt | 92.68 | 93.05 | 92.7 | 92.55
white_370_C0023A-111R-1-1.txt | 92.67 | 93.12 | 92.73 | 92.51
white_370_C0023A-112R-1-4.txt | 92.63 | 93.05 | 92.68 | 92.54