## Methods T16
Oman Methods Table T16. Operating conditions for ICP-MS analysis of trace and rare earth elements on board DV Chikyu.
Instrument | 7500ce, Agilent
Plasma power | 1500 W
Torch | Quartz glass
Nebuliser | micro-flow PFA-100, self-aspiration
Plasma Ar gas flow rate | 15 L/min
Nebuliser Ar gas flow rate | 0.65 - 0.8 L/min
Make-up Ar gas flow rate | 0.2 - 0.3 L/min
Sampling cone orifice | 1 mm (made of Pt)
Skimmer cone orifice | 0.8 mm (made of Pt)
Uptake time | 10 s
Stabalisation time | 20 s
Acquisition time | 70 × 5 s
Scan | peak jump
Wash time in 5% HNO3 | 40 s
Wash time in 3% HNO3 and 0.2% HF | 90 s