## Methods T21
Oman Methods Table T21. Interlab comparison of SRM JB-1b.
|  |  | St Andrews | [6 empty] | Chikyu | [6 empty] | Chikyu | [6 empty] | Chikyu
|  | GSJ recommended value (Terashima et al., 1998). Majors normalised to 100% | Method | Average | Standard deviation | %RSD | On | LoD = 3 x Standard Deviation | % Difference relative to recommended value | Method | Average | Standard deviation | %RSD | On | LoD = 3 x Standard Deviation | % Difference relative to recommended value | Method | Average | Standard deviation | %RSD | On | LoD = 3 x Standard Deviation | % Difference relative to recommended value | Method | Average | Standard deviation | %RSD | On | % Difference relative to recommended value
SiO2 | wt% | 52.226 | XRF-GB | 51.14 | 0.10156 | 0.19859 | 8 | 0.30468 | -2.0794 | XRF-GB | 52.032 | 0.3778 | 0.72609 | 45 | 1.1334 | -0.37142
TiO2 | wt% | 1.288 | XRF-GB | 1.2468 | 0.018491 | 1.4832 | 8 | 0.055474 | -3.2026 | XRF-GB | 1.2656 | 0.018089 | 1.4292 | 45 | 0.054266 | -1.7374
Al2O3 | wt% | 14.694 | XRF-GB | 14.4412 | 0.11507 | 0.79681 | 8 | 0.34521 | -1.7201 | XRF-GB | 14.3841 | 0.136 | 0.94548 | 45 | 0.408 | -2.1088
Fe2O3 | wt% | 9.217 | XRF-GB | 8.9262 | 0.071013 | 0.79555 | 8 | 0.21304 | -3.1545 | XRF-GB | 9.1358 | 0.11839 | 1.2959 | 45 | 0.35517 | -0.88074
MnO | wt% | 0.15 | XRF-GB | 0.14396 | 0.0036024 | 2.5023 | 8 | 0.010807 | -4.025 | XRF-GB | 0.14658 | 0.0034211 | 2.334 | 45 | 0.010263 | -2.2815
MgO | wt% | 8.318 | XRF-GB | 8.1665 | 0.058987 | 0.7223 | 8 | 0.17696 | -1.8214 | XRF-GB | 8.3667 | 0.099223 | 1.1859 | 45 | 0.29767 | 0.58508
CaO | wt% | 9.81 | XRF-GB | 9.5766 | 0.054341 | 0.56744 | 8 | 0.16302 | -2.3794 | XRF-GB | 9.6877 | 0.075194 | 0.77618 | 45 | 0.22558 | -1.2463
Na2O | wt% | 2.687 | XRF-GB | 2.5777 | 0.052057 | 2.0195 | 8 | 0.15617 | -4.0682 | XRF-GB | 2.6846 | 0.070059 | 2.6097 | 45 | 0.21018 | -0.090146
K2O | wt% | 1.349 | XRF-GB | 1.2956 | 0.022791 | 1.759 | 8 | 0.068372 | -3.9566 | XRF-GB | 1.2923 | 0.011577 | 0.89587 | 45 | 0.034732 | -4.2023 | XRF-P | 1.3547 | 0.008 | 0.59055 | 18 | 0.024 | -2.5591
P2O5 | wt% | 0.262 | XRF-GB | 0.2485 | 0.0096805 | 3.8956 | 8 | 0.029041 | -5.1527 | XRF-GB | 0.25556 | 0.0088023 | 3.4444 | 45 | 0.026407 | -2.4597
SO3 | wt% | [22 empty] | ICP-MS | 38.7655 | 15.5663 | 40.1551 | 17
Sc | ppm | [15 empty] | XRF-P | 30.7778 | 0.54832 | 1.7815 | 18 | 1.645 |  | ICP-MS | 41.2059 | 8.158 | 19.798 | 17
V | ppm | 214 | XRF-P | 209.385 | 3.4556 | 1.6504 | 8 | 10.3669 | -2.1565 | [7 empty] | XRF-P | 265.0556 | 6.5392 | 2.4671 | 18 | 19.6177 | -19.2622 | ICP-MS | 206.0087 | 39.7121 | 19.2769 | 6 | -3.7343
Cr | ppm | 439 | XRF-P | 436.118 | 6.5424 | 1.5001 | 8 | 19.6271 | -0.65649 | [7 empty] | XRF-P | 441.6667 | 5.3906 | 1.2205 | 18 | 16.1719 | -0.60377 | ICP-MS | 355.3241 | 49.2338 |  | 6
Co | ppm | 40.3 | XRF-P | 41.64 | 2.4831 | 5.9633 | 8 | 7.4494 | 3.3251 | [7 empty] | XRF-P | 43.3889 | 4.742 | 10.9292 | 18 | 14.2261 | -7.1191 | ICP-MS | 37.3578 | 0.40294 | 1.0786 | 6 | -7.3008
Ni | ppm | 148 | XRF-P | 146.775 | 1.5636 | 1.0653 | 8 | 4.6909 | -0.8277 | [7 empty] | XRF-P | 147.9444 | 3.4037 | 2.3006 | 18 | 10.211 | 0.037552 |  | 153.7062 | 7.4354 | 4.8374 | 17 | 3.8555
Cu | ppm | 55.5 | XRF-P | 54.2125 | 1.0049 | 1.8536 | 8 | 3.0147 | -2.3198 | [7 empty] | XRF-P | 54.0556 | 2.711 | 5.0153 | 18 | 8.1331 | 2.6721
Zn | ppm | 80 | XRF-P | 78.8125 | 2.8387 | 3.6019 | 8 | 8.5162 | -1.4844 | [7 empty] | XRF-P | 80.8889 | 2.9682 | 3.6695 | 18 | 8.9047 | -1.0989
Ga | ppm |  | XRF-P | 16.1875 | 1.0035 | 6.1991 | 8 | 3.0104 | [8 empty] | XRF-P | 19.3333 | 9.0424 | 46.771 | 18 | 27.1272
Ge | ppm |  | XRF-P |  |  |  | 8
As | ppm |  | XRF-P |  |  |  | 8
Se | ppm |  | XRF-P |  |  |  | 8
Br | ppm |  | XRF-P | 0.7375 | 0.15059 | 20.4195 | 8 | 0.45178
Rb | ppm | 39.1 | XRF-P | 37.8875 | 0.57925 | 1.5289 | 8 | 1.7378 | -3.101 | [7 empty] | XRF-P | 36.0556 | 2.0714 | 5.7451 | 18 | 6.2143 | 8.4438 | ICP-MS | 30.6827 | 1.5054 | 4.9064 | 17
Sr | ppm | 439 | XRF-P | 435.7875 | 3.2822 | 0.75316 | 8 | 9.8465 | -0.73178 | [7 empty] | XRF-P | 445.2778 | 2.6525 | 0.5957 | 18 | 7.9576 | -1.4099 | ICP-MS | 478.1974 | 90.7588 | 18.9794 | 15
Y | ppm |  | XRF-P | 23.1 | 0.36253 | 1.5694 | 8 | 1.0876 | [8 empty] | XRF-P | 27.0556 | 1.7311 | 6.3983 | 18 | 5.1933 |  | ICP-MS | 19.5539 | 1.0193 | 5.213 | 17
Zr | ppm |  | XRF-P | 131.15 | 1.2995 | 0.99081 | 8 | 3.8984 | [8 empty] | XRF-P | 148.3889 | 0.97853 | 0.65943 | 18 | 2.9356 |  | ICP-MS | 124.6431 | 5.5502 | 4.4529 | 17
Nb | ppm |  | XRF-P | 27.5875 | 1.3032 | 4.724 | 8 | 3.9097 | [8 empty] | XRF-P | 27.6111 | 1.2433 | 4.5028 | 18 | 3.7298 |  | ICP-MS | 23.7075 | 1.2736 | 5.3721 | 17
Mo | ppm |  | XRF-P |  |  |  | 8
Ag | ppm |  | XRF-P |  |  |  | 8
Cd | ppm |  | XRF-P |  |  |  | 8
In | ppm |  | XRF-P |  |  |  | 8
Sn | ppm |  | XRF-P |  |  |  | 8
Sb | ppm |  | XRF-P |  |  |  | 8
Cs | ppm | [22 empty] | ICP-MS | 0.65654 | 0.041713 | 6.3534 | 17 | -45.7408
Ba | ppm |  | XRF-P | 511.3 | 4.326 | 0.84608 | 8 | 12.978 | [8 empty] | XRF-P | 560.3333 | 26.1669 | 4.6699 | 18 | 78.5007 |  | ICP-MS | 476.9374 | 22.0931 | 4.6323 | 17
Ta | ppm
La | ppm |  | XRF-P | 36.775 | 4.397 | 11.9565 | 8 | 13.191 | [8 empty] | XRF-P | 52.1667 | 22.3324 | 42.8097 | 18 | 66.9971 |  | ICP-MS | 39.0213 | 2.103 | 5.3894 | 17
Ce | ppm |  | XRF-P | 62.7875 | 2.7383 | 4.3612 | 8 | 8.215 | [8 empty] | XRF-P | 75.1111 | 8.2168 | 10.9396 | 18 | 24.6505 |  | ICP-MS | 67.6908 | 3.6304 | 5.3632 | 17
Pr | ppm | [22 empty] | ICP-MS | 7.0862 | 0.36344 | 5.1289 | 17
Nd | ppm | [22 empty] | ICP-MS | 26.2394 | 1.3652 | 5.203 | 17
Sm | ppm | [22 empty] | ICP-MS | 4.9016 | 0.25574 | 5.2174 | 17
Eu | ppm | [22 empty] | ICP-MS | 1.5215 | 0.071736 | 4.7148 | 17
Gd | ppm | [22 empty] | ICP-MS | 5.068 | 0.24543 | 4.8428 | 17
Tb | ppm | [22 empty] | ICP-MS | 0.69069 | 0.035898 | 5.1974 | 17
Dy | ppm | [22 empty] | ICP-MS | 3.9409 | 0.1981 | 5.0268 | 17
Ho | ppm | [22 empty] | ICP-MS | 0.7585 | 0.036691 | 4.8373 | 17
Er | ppm | [22 empty] | ICP-MS | 2.1801 | 0.10828 | 4.9668 | 17
Tm | ppm | [22 empty] | ICP-MS | 0.30355 | 0.01495 | 4.9249 | 17
Yb | ppm | [22 empty] | ICP-MS | 1.952 | 0.093574 | 4.7938 | 17
Lu | ppm | [22 empty] | ICP-MS | 0.28421 | 0.012134 | 4.2695 | 17
Hf | ppm | [22 empty] | ICP-MS | 3.1677 | 0.13564 | 4.2822 | 17
Pb | ppm | 6.8 | XRF-P | 7.85 | 0.49281 | 6.2778 | 8 | 1.4784 | 15.4412 | [7 empty] | XRF-P | 4.2222 | 4.1523 | 98.3446 | 18 | 12.457 | 61.0526 | ICP-MS | 5.4403 | 0.56835 | 10.4471 | 17 | -19.9962
Th | ppm |  | XRF-P | 9.1 | 0.63019 | 6.9252 | 8 | 1.8906 | [8 empty] | XRF-P | 9.5556 | 13.7294 | 143.6799 | 18 | 41.1882 |  | ICP-MS | 8.8434 | 1.1215 | 12.6823 | 17
U | ppm |  | XRF-P | 2.275 | 0.24349 | 10.7027 | 8 | 0.73046 | [8 empty] | XRF-P | -0.11111 | 1.9063 | -1715.6717 | 18 | 5.7189 |  | ICP-MS | 1.1964 | 0.24296 | 20.308 | 17