## Table T22
Oman Methods Table T22. Interlab comparison for SRM JGb-1.
JGb-1
|  |  | St Andrews | [6 empty] | Chikyu
|  | GSJ recommended value (Imai et al., 1995). Majors normalised to 100% | Method | Average | Standard deviation | %RSD | On | LoD = 3 x Standard Deviation | % Difference relative to recommended value | Method | Average | Standard deviation | %RSD | On | % difference relative to recommended value
SiO2 | wt% | 43.7813 | XRF-GB | 43.41 | 0.11097 | 0.25563 | 8 | 0.33291 | -0.84802
TiO2 | wt% | 1.6044 | XRF-GB | 1.6533 | 0.0095581 | 0.57814 | 8 | 0.028674 | 3.0419
Al2O3 | wt% | 17.5386 | XRF-GB | 17.6725 | 0.16386 | 0.9272 | 8 | 0.49158 | 0.76356
Fe2O3 | wt% | 15.1018 | XRF-GB | 15.2663 | 0.054756 | 0.35867 | 8 | 0.16427 | 1.0887
MnO | wt% | 0.18952 | XRF-GB | 0.19111 | 0.0057377 | 3.0023 | 8 | 0.017213 | 0.83763
MgO | wt% | 7.8718 | XRF-GB | 7.7301 | 0.091657 | 1.1857 | 8 | 0.27497 | -1.7998
CaO | wt% | 11.9331 | XRF-GB | 12.0234 | 0.14958 | 1.2441 | 8 | 0.44874 | 0.75731
Na2O | wt% | 1.2033 | XRF-GB | 1.1307 | 0.047456 | 4.197 | 8 | 0.14237 | -6.0339
K2O | wt% | 0.24067 | XRF-GB | 0.23435 | 0.0058778 | 2.5081 | 8 | 0.017633 | -2.6246
P2O5 | wt% | 0.056156 | XRF-GB | 0.071225 | 0.011029 | 15.484 | 8 | 0.033086 | 26.8352
SO3 | wt% | 0.47933 | XRF-GB | 0.55507 | 0.012465 | 2.2456 | 8 | 0.037395 | 15.8028
Sc | ppm | 35.8 | [7 empty] | ICP-MS | 42.5887 | 6.4835 | 15.2235 | 8 | 18.9627
V | ppm | 635 | XRF-P | 624.6 | 2.2608 | 0.36197 | 8 | 6.7825 | -1.6378
Cr | ppm | 57.8 | XRF-P | 58.89 | 1.1031 | 1.8731 | 8 | 3.3093 | 1.8858
Co | ppm | 60.1 | XRF-P | 43.95 | 2.5785 | 5.8669 | 8 | 7.7354 | -26.8719
Ni | ppm | 25.4 | XRF-P | 24.375 | 0.83794 | 3.4377 | 8 | 2.5138 | -4.0354 | ICP-MS | 30.4598 | 0.91451 | 3.0023 | 8 | 19.9205
Cu | ppm | 85.7 | XRF-P | 88.375 | 1.1411 | 1.2912 | 8 | 3.4233 | 3.1214
Zn | ppm | 109 | XRF-P | 105.7125 | 1.2182 | 1.1524 | 8 | 3.6547 | -3.0161
Ga | ppm | 17.9 | XRF-P | 18.4 | 0.63696 | 3.4617 | 8 | 1.9109 | 2.7933
Ge | ppm | 1.01 | XRF-P
As | ppm | 1.09 | XRF-P
Se | ppm |  | XRF-P
Br | ppm |  | XRF-P
Rb | ppm | 6.87 | XRF-P | 5.775 | 0.30589 | 5.2969 | 8 | 0.91768 | -15.9389 | ICP-MS | 5.6384 | 0.22618 | 4.0114 | 8 | -17.9276
Sr | ppm | 327 | XRF-P | 327.8375 | 0.97825 | 0.29839 | 8 | 2.9347 | 0.25612 | ICP-MS | 339.8035 | 8.8579 | 2.6068 | 8 | 3.9154
Y | ppm | 10.4 | XRF-P | 10.775 | 0.68817 | 6.3867 | 8 | 2.0645 | 3.6058 | ICP-MS | 9.3475 | 0.43178 | 4.6192 | 8 | -10.1198
Zr | ppm | 32.8 | XRF-P | 33.4841 | 0.39305 | 1.1738 | 8 | 1.1792 | 2.0857 | ICP-MS | 28.1338 | 1.5375 | 5.4651 | 8 | -14.2264
Nb | ppm | 3.34 | XRF-P | 4.375 | 0.27646 | 6.319 | 8 | 0.82937 | 30.988 | ICP-MS | 2.11 | 0.10896 | 5.1641 | 8 | -36.8259
Mo | ppm | 0.59 | XRF-P
Ag | ppm |  | XRF-P
Cd | ppm | 0.087 | XRF-P
In | ppm |  | XRF-P
Sn | ppm | 0.48 | XRF-P
Sb | ppm | 0.085 | XRF-P
Cs | ppm | 0.26 | [7 empty] | ICP-MS | 0.19483 | 0.013325 | 6.8392 | 8 | -25.0651
Ba | ppm | 64.3 | XRF-P | 66.85 | 1.4668 | 2.1941 | 8 | 4.4003 | 3.9658 | ICP-MS | 63.6675 | 2.3462 | 3.6851 | 8 | -0.98366
Ta | ppm
La | ppm | 3.6 | XRF-P | 3.4125 | 0.35632 | 10.4416 | 8 | 1.069 | -5.2083 | ICP-MS | 3.6444 | 0.2202 | 6.0421 | 8 | 1.2336
Ce | ppm | 8.17 | XRF-P | 9.15 | 1.4081 | 15.3895 | 8 | 4.2244 | 11.9951 | ICP-MS | 8.6348 | 0.56373 | 6.5285 | 8 | 5.6894
Pr | ppm | 1.13 | [7 empty] | ICP-MS | 1.1617 | 0.053839 | 4.6345 | 8 | 2.804
Nd | ppm | 5.47 | [7 empty] | ICP-MS | 5.4516 | 0.24798 | 4.5487 | 8 | -0.33571
Sm | ppm | 1.49 | [7 empty] | ICP-MS | 1.4649 | 0.065168 | 4.4487 | 8 | -1.6867
Eu | ppm | 0.62 | [7 empty] | ICP-MS | 0.64008 | 0.027896 | 4.3582 | 8 | 3.2389
Gd | ppm | 1.61 | [7 empty] | ICP-MS | 1.6466 | 0.092661 | 5.6276 | 8 | 2.2705
Tb | ppm | 0.29 | [7 empty] | ICP-MS | 0.28099 | 0.012814 | 4.5605 | 8 | -3.1086
Dy | ppm | 1.56 | [7 empty] | ICP-MS | 1.783 | 0.088027 | 4.937 | 8 | 14.2948
Ho | ppm | 0.33 | [7 empty] | ICP-MS | 0.3624 | 0.017362 | 4.791 | 8 | 9.8171
Er | ppm | 1.04 | [7 empty] | ICP-MS | 1.0624 | 0.049668 | 4.6753 | 8 | 2.1493
Tm | ppm | 0.16 | [7 empty] | ICP-MS | 0.15057 | 0.0071316 | 4.7365 | 8 | -5.8945
Yb | ppm | 1.06 | [7 empty] | ICP-MS | 0.96513 | 0.044498 | 4.6106 | 8 | -8.9497
Lu | ppm | 0.15 | [7 empty] | ICP-MS | 0.13687 | 0.0064196 | 4.6904 | 8 | -8.7551
Hf | ppm | 0.88 | [7 empty] | ICP-MS | 0.8103 | 0.038586 | 4.762 | 8 | -7.9207
Pb | ppm | 1.92 | XRF-P | 1.05 | 0.37033 | 35.2693 | 8 | 1.111 | -45.3125 | ICP-MS | 1.6658 | 0.68656 | 41.2145 | 8 | -13.2384
Th | ppm | 0.48 | XRF-P | 1.8125 | 0.29001 | 16.0007 | 8 | 0.87004 | 277.6042 | ICP-MS | 0.33017 | 0.088011 | 26.6564 | 8 | -31.2148
U | ppm | 0.13 | XRF-P | [6 empty] | ICP-MS | 0.067098 | 0.018279 | 27.2428 | 8 | -48.3864