## Methods T44
Oman Methods Table T44. Summary of instruments used for analysis onboard DV Chikyu for OmanChikyu Phase 2.
Measurement | Instrument
Loss on ignition | Ocean High Technology Institute, Inc., Tokyo motion compensated balance system
Major element analysis | RIGAKU Supermini wavelength dispersive XRF spectrometer equipped with a 200 W Pd anode tube at 50 kV and 4 mA
Trace element analysis | RIGAKU Supermini wavelength dispersive XRF spectrometer equipped with a 200 W Pd anode tube at 50 kV and 4 mA
Trace and rare earth element analysis | Agilent7500ce quadrapole ICP-MS
Major, trace, and rare earth element analysis | NewWave Research UP-213 Nd:YAG deep UV (213 nm) laser ablation system coupled to the Agilent7500ce quadrapole ICP-MS
CNH | Thermo Finnigan Flash EA 112 elemental analysers (EA)
S | Thermo Finnigan Flash EA 112 elemental analysers (EA)
Carbonate | Coulometerics 5012 CO2 coulometer
XRD | PANalytical CubiX3 Series2 XRD system