## Results
Hydrometer Analysis
[9 empty] | Test No: |  | GS057
Project : | IODP Expedition 319 | [7 empty] | Tested by: |  | CAA
[9 empty] | Test Date: |  | 2010-04-22
Boring : | C0009A |  |  |  | Hydrometer: | 151H Fisher Brand |  | Volumetric
Sample : | 6R-1 100-104 cm |  |  |  | Number = | 98 |  | Volume = | 1000 | (cm3)
Location : | Nankai |  |  |  | Volume = | 69.59 | (cm3) | Area = | 28.77 | (cm2)
| Spec. Grav. = | 2.66 |  |  | Hr @ 1035 = | 8.2 | (cm) | Mass Measurement
| Dry Soil Mass = | 41.56 | (gm) |  | Hr @ 1000 = | 17.5 | (cm) | Tare, soil, disp. = |  | 205.14 |  | (gm)
| Mass Disp. = | 5 | (gm) |  | Meniscus = | 0.4 | (gm/l) | Tare = |  | 162.82 |  | (gm)
| Note: Disp. not included in dry mass. | [5 empty] | Note: Read hydrometer to 0.2 gm/l
Measurements | [6 empty] | Constants |  | Results
Date (mm/dd/yyyy) |  | Elasped Time (min) | Suspension Reading (SG*1000) | Water / Disp. Reading (SG*1000) |  | Temp. (C) | Viscosity (gm-sec/cm2) | Reading Depth (cm) | Percent Finer (%) |  | Diameter (mm)
2010-04-22 |  | 0.33 | 1026.1 | 1003.8702 | #REF! | 23 | 9.5642e-06 | 10.4586 | 85.7103 |  | 0.074013
2010-04-22 |  | 0.5 | 1025.1 | 1003.8702 | #REF! | 23 | 9.5642e-06 | 10.7243 | 81.8547 |  | 0.060888
2010-04-22 |  | 1 | 1024.2 | 1003.8702 | #REF! | 23 | 9.5642e-06 | 10.9634 | 78.3846 |  | 0.043532
2010-04-22 |  | 1.5 | 1023 | 1003.8702 | #REF! | 23 | 9.5642e-06 | 11.2823 | 73.7578 |  | 0.036057
2010-04-22 |  | 2 | 1022.7 | 1003.8702 | #REF! | 23 | 9.5642e-06 | 11.362 | 72.6011 |  | 0.031336
2010-04-22 00:04 |  | 4 | 1021.1 | 1003.8702 | #REF! | 23 | 9.5642e-06 | 10.5777 | 66.432 |  | 0.021379
2010-04-22 00:08 |  | 8 | 1019.6 | 1003.8702 | #REF! | 23 | 9.5642e-06 | 10.9763 | 60.6486 |  | 0.0154
2010-04-22 00:16 |  | 16 | 1018.2 | 1003.8702 | #REF! | 23 | 9.5642e-06 | 11.3483 | 55.2506 |  | 0.011072
2010-04-22 00:33 |  | 33 | 1017 | 1003.8702 | #REF! | 23 | 9.5642e-06 | 11.6672 | 50.6239 |  | 0.0078173
2010-04-22 01:11 |  | 71 | 1015.2 | 1003.8702 | #REF! | 23 | 9.5642e-06 | 12.1454 | 43.6837 |  | 0.0054376
2010-04-22 02:08 |  | 128 | 1014 | 1003.8702 | #REF! | 23 | 9.5642e-06 | 12.4643 | 39.0569 |  | 0.0041026
2010-04-26 22:12 |  | 7092 | 1007.8 | 1003.8702 | #REF! | 23 | 9.5642e-06 | 14.1117 | 15.1518 |  | 0.00058646
2010-04-28 22:13 |  | 9973 | 1007.1 | 1003.8702 | #REF! | 23 | 9.5642e-06 | 14.2977 | 12.4529 |  | 0.0004978
Sieve Data (wet sieved at 63 μm) | [6 empty] | Interpolated silt/clay boundary (at 2 mm)
Mass retained on sieve: |  |  | 4.24 | (gm) |  |  | Percent passing 2 mm: |  | 24.762 |  | (%)
Sand-percent of dry mass: |  |  | 10.2021 | (%) |  |  | Diameter: |  | 0.002 |  | (mm)
Percent passing 63 mm: |  |  | 89.7979 | (%)
Diameter: |  |  | 0.063 | (mm)
Remarks: | For times greater than 2 minutes, an immersion correction is applied to the readings.
Formulas:
Project : = P4+([Elasped Time (min)]/60/24)

## Viscosity
Data from Lamb table A-3
temp | visc
C | millipoise
15 | 11.45
16 | 11.16
17 | 10.88
18 | 10.6
19 | 10.34
20 | 10.09
21 | 9.84
22 | 9.61
23 | 9.38
24 | 9.16
25 | 8.95
26 | 8.75
27 | 8.55
28 | 8.36
29 | 8.18
30 | 8
31 | 7.83
32 | 7.67

## Graph
Test: | GS057 | Boring: | C0009A | Sample: | 6R-1 100-104 cm | Location: | Nankai | Test Date: | 2010-04-22