## Results
Hydrometer Analysis
[9 empty] | Test No: |  | GS077
Project : | IODP Expedition 319 | [7 empty] | Tested by: |  | CAA
[9 empty] | Test Date: |  | 2010-05-20
Boring : | C0009A |  |  |  | Hydrometer: | 151H Fisher Brand |  | Volumetric
Sample : | 4R-4 11-15 cm |  |  |  | Number = | 98 |  | Volume = | 1000 | (cm3)
Location : | Nankai |  |  |  | Volume = | 69.59 | (cm3) | Area = | 28.77 | (cm2)
| Spec. Grav. = | 2.69 |  |  | Hr @ 1035 = | 8.2 | (cm) | Mass Measurement
| Dry Soil Mass = | 44.44 | (gm) |  | Hr @ 1000 = | 17.5 | (cm) | Tare, soil, disp. = |  | 194.3 |  | (gm)
| Mass Disp. = | 5 | (gm) |  | Meniscus = | 0.4 | (gm/l) | Tare = |  | 151.51 |  | (gm)
| Note: Disp. not included in dry mass. | [5 empty] | Note: Read hydrometer to 0.2 gm/l
Measurements | [6 empty] | Constants |  | Results
Date (mm/dd/yyyy) |  | Elasped Time (min) | Suspension Reading (SG*1000) | Water / Disp. Reading (SG*1000) |  | Temp. (C) | Viscosity (gm-sec/cm2) | Reading Depth (cm) | Percent Finer (%) |  | Diameter (mm)
2010-05-20 |  | 0.33 | 1025.8 | 1003.8702 | #REF! | 23 | 9.5642e-06 | 10.5383 | 78.5463 |  | 0.073632
2010-05-20 |  | 0.5 | 1025 | 1003.8702 | #REF! | 23 | 9.5642e-06 | 10.7509 | 75.6809 |  | 0.06042
2010-05-20 |  | 1 | 1023 | 1003.8702 | #REF! | 23 | 9.5642e-06 | 11.2823 | 68.5175 |  | 0.043766
2010-05-20 |  | 1.5 | 1021.9 | 1003.8702 | #REF! | 23 | 9.5642e-06 | 11.5746 | 64.5776 |  | 0.036195
2010-05-20 |  | 2 | 1021 | 1003.8702 | #REF! | 23 | 9.5642e-06 | 11.8137 | 61.354 |  | 0.031668
2010-05-20 00:04 |  | 4 | 1019 | 1003.8702 | #REF! | 23 | 9.5642e-06 | 11.1357 | 54.1906 |  | 0.021741
2010-05-20 00:08 |  | 8 | 1017.9 | 1003.8702 | #REF! | 23 | 9.5642e-06 | 11.428 | 50.2507 |  | 0.015573
2010-05-20 00:16 |  | 16 | 1016 | 1003.8702 | #REF! | 23 | 9.5642e-06 | 11.9329 | 43.4454 |  | 0.011253
2010-05-20 00:32 |  | 32 | 1014.5 | 1003.8702 | #REF! | 23 | 9.5642e-06 | 12.3314 | 38.0729 |  | 0.0080886
2010-05-20 01:04 |  | 64 | 1013.1 | 1003.8702 | #REF! | 23 | 9.5642e-06 | 12.7034 | 33.0585 |  | 0.0058051
2010-05-20 02:08 |  | 128 | 1012.2 | 1003.8702 | #REF! | 23 | 9.5642e-06 | 12.9426 | 29.8349 |  | 0.0041433
2010-05-20 04:22 |  | 262 | 1011 | 1003.8702 | #REF! | 23 | 9.5642e-06 | 13.2614 | 25.5368 |  | 0.0029315
2010-05-20 06:05 |  | 365 | 1010.9 | 1003.8702 | #REF! | 23 | 9.5642e-06 | 13.288 | 25.1787 |  | 0.0024861
2010-05-20 21:05 |  | 1265 | 1009 | 1003.8702 | #REF! | 23 | 9.5642e-06 | 13.7929 | 18.3734 |  | 0.0013606
2010-05-24 02:04 |  | 5884 | 1007.5 | 1003.8702 | #REF! | 23 | 9.5642e-06 | 14.1914 | 13.0008 |  | 0.00063991
2010-05-24 23:07 |  | 7147 | 1007.5 | 1003.8702 | #REF! | 23 | 9.5642e-06 | 14.1914 | 13.0008 |  | 0.00058062
2010-05-26 00:51 |  | 8691 | 1006.8 | 1003.8702 | #REF! | 23 | 9.5642e-06 | 14.3774 | 10.4936 |  | 0.00052997
2010-05-26 21:11 |  | 9911 | 1006.6 | 1003.8702 | #REF! | 23 | 9.5642e-06 | 14.4306 | 9.7773 |  | 0.00049719
Sieve Data (wet sieved at 63 μm) | [6 empty] | Interpolated silt/clay boundary (at 2 mm)
Mass retained on sieve: |  |  | 6.65 | (gm) |  |  | Percent passing 2 mm: |  | 22.2394 |  | (%)
Sand-percent of dry mass: |  |  | 14.964 | (%) |  |  | Diameter: |  | 0.002 |  | (mm)
Percent passing 63 mm: |  |  | 85.036 | (%)
Diameter: |  |  | 0.063 | (mm)
Remarks: | For times greater than 2 minutes, an immersion correction is applied to the readings.
Formulas:
Project : = P4+([Elasped Time (min)]/60/24)

## Viscosity
Data from Lamb table A-3
temp | visc
C | millipoise
15 | 11.45
16 | 11.16
17 | 10.88
18 | 10.6
19 | 10.34
20 | 10.09
21 | 9.84
22 | 9.61
23 | 9.38
24 | 9.16
25 | 8.95
26 | 8.75
27 | 8.55
28 | 8.36
29 | 8.18
30 | 8
31 | 7.83
32 | 7.67

## Graph
Test: | GS077 | Boring: | C0009A | Sample: | 4R-4 11-15 cm | Location: | Nankai | Test Date: | 2010-05-20