## Results
Hydrometer Analysis
[9 empty] | Test No: |  | GS113
Project : | IODP Expedition 319 | [7 empty] | Tested by: |  | JND
[9 empty] | Test Date: |  | 2010-07-12
Boring : | C0009A |  |  |  | Hydrometer: | 151H Fisher Brand |  | Volumetric
Sample : | 9R-7 55-58 cm |  |  |  | Number = | 98 |  | Volume = | 1000 | (cm3)
Location : | Nankai |  |  |  | Volume = | 69.59 | (cm3) | Area = | 28.77 | (cm2)
| Spec. Grav. = | 2.63 |  |  | Hr @ 1035 = | 8.2 | (cm) | Mass Measurement
| Dry Soil Mass = | 32.99 | (gm) |  | Hr @ 1000 = | 17.5 | (cm) | Tare, soil, disp. = |  | 198.53 |  | (gm)
| Mass Disp. = | 5 | (gm) |  | Meniscus = | 0.4 | (gm/l) | Tare = |  | 160.65 |  | (gm)
| Note: Disp. not included in dry mass. | [5 empty] | Note: Read hydrometer to 0.2 gm/l
Measurements | [6 empty] | Constants |  | Results
Date (mm/dd/yyyy) |  | Elasped Time (min) | Suspension Reading (SG*1000) | Water / Disp. Reading (SG*1000) |  | Temp. (C) | Viscosity (gm-sec/cm2) | Reading Depth (cm) | Percent Finer (%) |  | Diameter (mm)
2010-07-12 |  | 0.25 | 1024.1 | 1003.8702 | #REF! | 23 | 9.5642e-06 | 10.99 | 98.9411 |  | 0.087967
2010-07-12 |  | 0.5 | 1023.9 | 1003.8702 | #REF! | 23 | 9.5642e-06 | 11.0431 | 97.963 |  | 0.062352
2010-07-12 |  | 1 | 1023.2 | 1003.8702 | #REF! | 23 | 9.5642e-06 | 11.2291 | 94.5394 |  | 0.044459
2010-07-12 |  | 1.5 | 1022.9 | 1003.8702 | #REF! | 23 | 9.5642e-06 | 11.3089 | 93.0721 |  | 0.03643
2010-07-12 |  | 2 | 1022.2 | 1003.8702 | #REF! | 23 | 9.5642e-06 | 11.4949 | 89.6485 |  | 0.031807
2010-07-12 00:04 |  | 4 | 1021 | 1003.8702 | #REF! | 23 | 9.5642e-06 | 10.6043 | 83.7794 |  | 0.021602
2010-07-12 00:08 |  | 8 | 1020 | 1003.8702 | #REF! | 23 | 9.5642e-06 | 10.87 | 78.8886 |  | 0.015465
2010-07-12 00:16 |  | 16 | 1018.9 | 1003.8702 | #REF! | 23 | 9.5642e-06 | 11.1623 | 73.5086 |  | 0.011082
2010-07-12 00:32 |  | 32 | 1016.9 | 1003.8702 | #REF! | 23 | 9.5642e-06 | 11.6937 | 63.7269 |  | 0.0080203
2010-07-12 01:04 |  | 64 | 1015.1 | 1003.8702 | #REF! | 23 | 9.5642e-06 | 12.172 | 54.9233 |  | 0.005786
2010-07-12 02:08 |  | 128 | 1013.5 | 1003.8702 | #REF! | 23 | 9.5642e-06 | 12.5972 | 47.0979 |  | 0.0041622
2010-07-12 04:24 |  | 264 | 1012.8 | 1003.8702 | #REF! | 23 | 9.5642e-06 | 12.7832 | 43.6743 |  | 0.0029195
2010-07-12 06:04 |  | 364 | 1011.8 | 1003.6398 | #REF! | 24 | 9.338e-06 | 13.0489 | 39.9104 |  | 0.0024822
2010-07-13 |  | 1440 | 1010.5 | 1003.8702 | #REF! | 23 | 9.5642e-06 | 13.3943 | 32.4253 |  | 0.0012796
2010-07-13 07:00 |  | 1860 | 1010 | 1003.8702 | #REF! | 23 | 9.5642e-06 | 13.5272 | 29.9799 |  | 0.0011315
2010-07-14 00:32 |  | 2912 | 1009.1 | 1003.8702 | #REF! | 23 | 9.5642e-06 | 13.7663 | 25.5781 |  | 0.00091223
Sieve Data (wet sieved at 63 μm) | [6 empty] | Interpolated silt/clay boundary (at 2 mm)
Mass retained on sieve: |  |  | 0.11 | (gm) |  |  | Percent passing 2 mm: |  | 36.9093 |  | (%)
Sand-percent of dry mass: |  |  | 0.33343 | (%) |  |  | Diameter: |  | 0.002 |  | (mm)
Percent passing 63 mm: |  |  | 99.6666 | (%)
Diameter: |  |  | 0.063 | (mm)
Remarks: | For times greater than 2 minutes, an immersion correction is applied to the readings.
Formulas:
Project : = P4+([Elasped Time (min)]/60/24)

## Viscosity
Data from Lamb table A-3
temp | visc
C | millipoise
15 | 11.45
16 | 11.16
17 | 10.88
18 | 10.6
19 | 10.34
20 | 10.09
21 | 9.84
22 | 9.61
23 | 9.38
24 | 9.16
25 | 8.95
26 | 8.75
27 | 8.55
28 | 8.36
29 | 8.18
30 | 8
31 | 7.83
32 | 7.67

## Graph
Test: | GS113 | Boring: | C0009A | Sample: | 9R-7 55-58 cm | Location: | Nankai | Test Date: | 2010-07-12