## input
Micromeritics Instrument Corp | [5 empty] | ¦ | Micromeritics Instrument Corp | [5 empty] | ¦ | Micromeritics Instrument Corp |  |  |  | ¦ | Micromeritics Instrument Corp |  |  |  | ¦ | Micromeritics Instrument Corp |  |  |  | ¦ | Micromeritics Instrument Corp |  |  |  | ¦ | Micromeritics Instrument Corp
AutoPore IV 9500 V1.10 | Serial: 1431 | Port: 2/1 | Page 1 |  |  | ¦ | AutoPore IV 9500 V1.10 | Serial: 1431 | Port: 2/1 | Page 1 |  |  | ¦ | AutoPore IV 9500 V1.10 | Serial: 1431 | Port: 2/1 | Page 1 | ¦ | AutoPore IV 9500 V1.10 | Serial: 1431 | Port: 2/1 | Page 1 | ¦ | AutoPore IV 9500 V1.10 | Serial: 1431 | Port: 2/1 | Page 1 | ¦ | AutoPore IV 9500 V1.10 | Serial: 1431 | Port: 2/1 | Page 1 | ¦ | AutoPore IV 9500 V1.10 | Serial: 1431 | Port: 2/1 | Page 1
[6 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦
[6 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦
Sample ID: | 23R-2 |  |  |  |  | ¦ | Sample ID: | 23R-2 |  |  |  |  | ¦ | Sample ID: | 23R-2 |  |  | ¦ | Sample ID: | 23R-2 |  |  | ¦ | Sample ID: | 23R-2 |  |  | ¦ | Sample ID: | 23R-2 |  |  | ¦ | Sample ID: | 23R-2
Operator: | Glen Baum |  |  |  |  | ¦ | Operator: | Glen Baum |  |  |  |  | ¦ | Operator: | Glen Baum |  |  | ¦ | Operator: | Glen Baum |  |  | ¦ | Operator: | Glen Baum |  |  | ¦ | Operator: | Glen Baum |  |  | ¦ | Operator: | Glen Baum
Submitter: | Michael Nole |  |  |  |  | ¦ | Submitter: | Michael Nole |  |  |  |  | ¦ | Submitter: | Michael Nole |  |  | ¦ | Submitter: | Michael Nole |  |  | ¦ | Submitter: | Michael Nole |  |  | ¦ | Submitter: | Michael Nole |  |  | ¦ | Submitter: | Michael Nole
File: | C:\9500\DATA\2018\000-450.SMP |  |  |  |  | ¦ | File: | C:\9500\DATA\2018\000-450.SMP |  |  |  |  | ¦ | File: | C:\9500\DATA\2018\000-450.SMP |  |  | ¦ | File: | C:\9500\DATA\2018\000-450.SMP |  |  | ¦ | File: | C:\9500\DATA\2018\000-450.SMP |  |  | ¦ | File: | C:\9500\DATA\2018\000-450.SMP |  |  | ¦ | File: | C:\9500\DATA\2018\000-450.SMP
[6 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦
[6 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦
LP Analysis Time: | 7/11/2018 4:19:27PM | Sample Weight: | 4.5320 g |  |  | ¦ | LP Analysis Time: | 7/11/2018 4:19:27PM | Sample Weight: | 4.5320 g |  |  | ¦ | LP Analysis Time: | 7/11/2018 4:19:27PM | Sample Weight: | 4.5320 g | ¦ | LP Analysis Time: | 7/11/2018 4:19:27PM | Sample Weight: | 4.5320 g | ¦ | LP Analysis Time: | 7/11/2018 4:19:27PM | Sample Weight: | 4.5320 g | ¦ | LP Analysis Time: | 7/11/2018 4:19:27PM | Sample Weight: | 4.5320 g | ¦ | LP Analysis Time: | 7/11/2018 4:19:27PM | Sample Weight: | 4.5320 g
HP Analysis Time: | 7/12/2018 7:22:04AM | Correction Type: | Blank |  |  | ¦ | HP Analysis Time: | 7/12/2018 7:22:04AM | Correction Type: | Blank |  |  | ¦ | HP Analysis Time: | 7/12/2018 7:22:04AM | Correction Type: | Blank | ¦ | HP Analysis Time: | 7/12/2018 7:22:04AM | Correction Type: | Blank | ¦ | HP Analysis Time: | 7/12/2018 7:22:04AM | Correction Type: | Blank | ¦ | HP Analysis Time: | 7/12/2018 7:22:04AM | Correction Type: | Blank | ¦ | HP Analysis Time: | 7/12/2018 7:22:04AM | Correction Type: | Blank
Report Time: | 7/12/2018 7:22:03AM | Show Neg. Int: | No |  |  | ¦ | Report Time: | 7/12/2018 7:22:03AM | Show Neg. Int: | No |  |  | ¦ | Report Time: | 7/12/2018 7:22:03AM | Show Neg. Int: | No | ¦ | Report Time: | 7/12/2018 7:22:03AM | Show Neg. Int: | No | ¦ | Report Time: | 7/12/2018 7:22:03AM | Show Neg. Int: | No | ¦ | Report Time: | 7/12/2018 7:22:03AM | Show Neg. Int: | No | ¦ | Report Time: | 7/12/2018 7:22:04AM | Show Neg. Int: | No
[6 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦
[6 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦
[6 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦
[6 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦
[6 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦
[6 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦
[6 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦
Summary Report | [5 empty] | ¦ | Tabular Report | [5 empty] | ¦ | Cumulative Intrusion vs Pore size |  |  |  | ¦ | Incremental Intrusion vs Pore size |  |  |  | ¦ | Cumulative Pore Area vs Pore size |  |  |  | ¦ | Cumulative Intrusion vs Pressure |  |  |  | ¦ | Incremental Intrusion vs Pressure
Penetrometer parameters | [5 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦
[6 empty] | ¦ | Pressure (psia) | Mean Diameter (µm) | Cumulative Pore Volume (mL/g) | Incremental Pore Volume (mL/g) | Cumulative Pore Area (m²/g) | Incremental Pore Area (m²/g) | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦
Penetrometer: | 0470 - (25) 15 Bulb, 4.185 Stem, Solid |  |  |  |  | ¦ | 0.57299 | 315.647 | 0 | 0 | 0 | 0 | ¦ | Intrusion for Cycle 1 |  | Extrusion for Cycle 1 |  | ¦ | Intrusion for Cycle 1 |  | Extrusion for Cycle 1 |  | ¦ | Intrusion for Cycle 1 |  | Extrusion for Cycle 1 |  | ¦ | Intrusion for Cycle 1 |  | Extrusion for Cycle 1 |  | ¦ | Intrusion for Cycle 1 |  | Extrusion for Cycle 1
[6 empty] | ¦ | 2.0409 | 202.1324 | 0.016184 | 0.016184 | 0.00032027 | 0.00032027 | ¦ | Pore size Diameter (µm) | Cumulative Intrusion (mL/g) | Pore size Diameter (µm) | Cumulative Intrusion (mL/g) | ¦ | Pore size Diameter (µm) | Incremental Intrusion (mL/g) | Pore size Diameter (µm) | Incremental Intrusion (mL/g) | ¦ | Pore size Diameter (µm) | Cumulative Pore Area (m²/g) | Pore size Diameter (µm) | Cumulative Pore Area (m²/g) | ¦ | Pressure (psia) | Cumulative Intrusion (mL/g) | Pressure (psia) | Cumulative Intrusion (mL/g) | ¦ | Pressure (psia) | Incremental Intrusion (mL/g) | Pressure (psia) | Incremental Intrusion (mL/g)
[6 empty] | ¦ | 3.0055 | 74.3977 | 0.019138 | 0.002954 | 0.0004791 | 0.00015882 | ¦ | 315.647 | 0 | 0.003027 | 0.19579 | ¦ | 315.647 | 0 | 0.003027 | 0 | ¦ | 315.647 | 0 | 0.003027 | 4.5934 | ¦ | 0.57299 | 0 | 59750.957 | 0.19579 | ¦ | 0.57299 | 0 | 59750.957 | 0
Pen. Constant: | 34.480 | µL/pF | Pen. Weight: | 72.5980 | g | ¦ | 4.0025 | 52.6828 | 0.021185 | 0.0020467 | 0.00063449 | 0.0001554 | ¦ | 88.6179 | 0.016184 | 0.0039234 | 0.18979 | ¦ | 88.6179 | 0.016184 | 0.0039234 | 0.0060054 | ¦ | 88.6179 | 0.00032027 | 0.0039234 | -2.319 | ¦ | 2.0409 | 0.016184 | 46099.1211 | 0.18979 | ¦ | 2.0409 | 0.016184 | 46099.1211 | 0.0060054
Stem Volume: | 4.1850 | mL | Max. Head Pressure: | 4.4500 | psia | ¦ | 5.5049 | 39.0214 | 0.023659 | 0.0024738 | 0.00088808 | 0.00025358 | ¦ | 60.1775 | 0.019138 | 0.0050939 | 0.18979 | ¦ | 60.1775 | 0.002954 | 0.0050939 | 0 | ¦ | 60.1775 | 0.0004791 | 0.0050939 | -2.319 | ¦ | 3.0055 | 0.019138 | 35506.0352 | 0.18979 | ¦ | 3.0055 | 0.002954 | 35506.0352 | 0
Pen. Volume: | 19.1760 | mL | Assembly Weight: | 300.2400 | g | ¦ | 6.0277 | 31.43 | 0.0245 | 0.00084134 | 0.00099515 | 0.00010707 | ¦ | 45.188 | 0.021185 | 0.0066226 | 0.18979 | ¦ | 45.188 | 0.0020467 | 0.0066226 | 0 | ¦ | 45.188 | 0.00063449 | 0.0066226 | -2.319 | ¦ | 4.0025 | 0.021185 | 27310.2539 | 0.18979 | ¦ | 4.0025 | 0.0020467 | 27310.2539 | 0
[6 empty] | ¦ | 7.4939 | 27.07 | 0.025921 | 0.0014202 | 0.001205 | 0.00020986 | ¦ | 32.8548 | 0.023659 | 0.008605 | 0.18979 | ¦ | 32.8548 | 0.0024738 | 0.008605 | 0 | ¦ | 32.8548 | 0.00088808 | 0.008605 | -2.319 | ¦ | 5.5049 | 0.023659 | 21018.4922 | 0.18979 | ¦ | 5.5049 | 0.0024738 | 21018.4922 | 0
[6 empty] | ¦ | 8.4932 | 22.715 | 0.026759 | 0.00083866 | 0.0013527 | 0.00014768 | ¦ | 30.0052 | 0.0245 | 0.011289 | 0.18979 | ¦ | 30.0052 | 0.00084134 | 0.011289 | 0 | ¦ | 30.0052 | 0.00099515 | 0.011289 | -2.319 | ¦ | 6.0277 | 0.0245 | 16021.1729 | 0.18979 | ¦ | 6.0277 | 0.00084134 | 16021.1729 | 0
Hg Parameters | [5 empty] | ¦ | 10.488 | 19.2699 | 0.027944 | 0.0011846 | 0.0015986 | 0.0002459 | ¦ | 24.1348 | 0.025921 | 0.014555 | 0.18979 | ¦ | 24.1348 | 0.0014202 | 0.014555 | 0 | ¦ | 24.1348 | 0.001205 | 0.014555 | -2.319 | ¦ | 7.4939 | 0.025921 | 12425.9463 | 0.18979 | ¦ | 7.4939 | 0.0014202 | 12425.9463 | 0
[6 empty] | ¦ | 12.9784 | 15.5902 | 0.029062 | 0.0011179 | 0.0018854 | 0.00028681 | ¦ | 21.2951 | 0.026759 | 0.018793 | 0.18979 | ¦ | 21.2951 | 0.00083866 | 0.018793 | 0 | ¦ | 21.2951 | 0.0013527 | 0.018793 | -2.319 | ¦ | 8.4932 | 0.026759 | 9624.0732 | 0.18979 | ¦ | 8.4932 | 0.00083866 | 9624.0732 | 0
Adv. Contact Angle: | 130.000 | degrees | Rec. Contact Angle: | 130.000 | degrees | ¦ | 15.9706 | 12.6303 | 0.030152 | 0.0010908 | 0.0022309 | 0.00034545 | ¦ | 17.2447 | 0.027944 | 0.024714 | 0.18979 | ¦ | 17.2447 | 0.0011846 | 0.024714 | 0 | ¦ | 17.2447 | 0.0015986 | 0.024714 | -2.319 | ¦ | 10.488 | 0.027944 | 7318.1206 | 0.18979 | ¦ | 10.488 | 0.0011846 | 7318.1206 | 0
Hg Surface Tension: | 485.000 | dynes/cm | Hg Density: | 13.5335 | g/mL | ¦ | 20.0198 | 10.1795 | 0.031269 | 0.0011167 | 0.0026697 | 0.00043879 | ¦ | 13.9357 | 0.029062 | 0.031634 | 0.18979 | ¦ | 13.9357 | 0.0011179 | 0.031634 | 0 | ¦ | 13.9357 | 0.0018854 | 0.031634 | -2.319 | ¦ | 12.9784 | 0.029062 | 5717.3545 | 0.18979 | ¦ | 12.9784 | 0.0011179 | 5717.3545 | 0
[6 empty] | ¦ | 24.9963 | 8.1349 | 0.032284 | 0.001015 | 0.0031687 | 0.00049908 | ¦ | 11.3248 | 0.030152 | 0.041977 | 0.18979 | ¦ | 11.3248 | 0.0010908 | 0.041977 | 0 | ¦ | 11.3248 | 0.0022309 | 0.041977 | -2.319 | ¦ | 15.9706 | 0.030152 | 4308.6138 | 0.18979 | ¦ | 15.9706 | 0.0010908 | 4308.6138 | 0
[6 empty] | ¦ | 29.9893 | 6.6333 | 0.032798 | 0.00051374 | 0.0034785 | 0.00030979 | ¦ | 9.0342 | 0.031269 | 0.054755 | 0.18979 | ¦ | 9.0342 | 0.0011167 | 0.054755 | 0 | ¦ | 9.0342 | 0.0026697 | 0.054755 | -2.319 | ¦ | 20.0198 | 0.031269 | 3303.1558 | 0.18979 | ¦ | 20.0198 | 0.0011167 | 3303.1558 | 0
User Parameters | [5 empty] | ¦ | 39.5057 | 5.3045 | 0.033568 | 0.0007702 | 0.0040593 | 0.00058079 | ¦ | 7.2356 | 0.032284 | 0.069425 | 0.18979 | ¦ | 7.2356 | 0.001015 | 0.069425 | 0 | ¦ | 7.2356 | 0.0031687 | 0.069425 | -2.319 | ¦ | 24.9963 | 0.032284 | 2605.1462 | 0.18979 | ¦ | 24.9963 | 0.001015 | 2605.1462 | 0
[6 empty] | ¦ | 47.7947 | 4.1812 | 0.034885 | 0.0013169 | 0.0053191 | 0.0012598 | ¦ | 6.0309 | 0.032798 | 0.090266 | 0.18979 | ¦ | 6.0309 | 0.00051374 | 0.090266 | 0 | ¦ | 6.0309 | 0.0034785 | 0.090266 | -2.319 | ¦ | 29.9893 | 0.032798 | 2003.6677 | 0.18979 | ¦ | 29.9893 | 0.00051374 | 2003.6677 | 0
Param 1: | 0.000 | Param 2: | 0.000 | Param 3: | 0.000 | ¦ | 57.859 | 3.4551 | 0.036595 | 0.0017096 | 0.0072983 | 0.0019792 | ¦ | 4.5782 | 0.033568 | 0.12055 | 0.18979 | ¦ | 4.5782 | 0.0007702 | 0.12055 | 0 | ¦ | 4.5782 | 0.0040593 | 0.12055 | -2.319 | ¦ | 39.5057 | 0.033568 | 1500.3136 | 0.18979 | ¦ | 39.5057 | 0.0007702 | 1500.3136 | 0
[6 empty] | ¦ | 72.534 | 2.8097 | 0.038718 | 0.0021235 | 0.010321 | 0.0030231 | ¦ | 3.7842 | 0.034885 | 0.1504 | 0.18979 | ¦ | 3.7842 | 0.0013169 | 0.1504 | 0 | ¦ | 3.7842 | 0.0053191 | 0.1504 | -2.319 | ¦ | 47.7947 | 0.034885 | 1202.5724 | 0.18979 | ¦ | 47.7947 | 0.0013169 | 1202.5724 | 0
[6 empty] | ¦ | 87.8277 | 2.2764 | 0.040589 | 0.0018707 | 0.013609 | 0.0032871 | ¦ | 3.1259 | 0.036595 | 0.20052 | 0.18979 | ¦ | 3.1259 | 0.0017096 | 0.20052 | 0 | ¦ | 3.1259 | 0.0072983 | 0.20052 | -2.319 | ¦ | 57.859 | 0.036595 | 901.9777 | 0.18979 | ¦ | 57.859 | 0.0017096 | 901.9777 | 0
Low Pressure: | [5 empty] | ¦ | 113.024 | 1.8298 | 0.043485 | 0.0028958 | 0.019939 | 0.0063305 | ¦ | 2.4935 | 0.038718 | 0.25752 | 0.18707 | ¦ | 2.4935 | 0.0021235 | 0.25752 | 0.0027219 | ¦ | 2.4935 | 0.010321 | 0.25752 | -2.3665 | ¦ | 72.534 | 0.038718 | 702.3328 | 0.18707 | ¦ | 72.534 | 0.0021235 | 702.3328 | 0.0027219
[6 empty] | ¦ | 137.9321 | 1.4557 | 0.04577 | 0.0022855 | 0.026219 | 0.00628 | ¦ | 2.0593 | 0.040589 | 0.36043 | 0.18299 | ¦ | 2.0593 | 0.0018707 | 0.36043 | 0.0040756 | ¦ | 2.0593 | 0.013609 | 0.36043 | -2.4193 | ¦ | 87.8277 | 0.040589 | 501.8048 | 0.18299 | ¦ | 87.8277 | 0.0018707 | 501.8048 | 0.0040756
Evacuation Pressure: | 50 | µmHg |  |  |  | ¦ | 172.5604 | 1.1797 | 0.048627 | 0.002857 | 0.035906 | 0.0096872 | ¦ | 1.6002 | 0.043485 | 0.45028 | 0.17996 | ¦ | 1.6002 | 0.0028958 | 0.45028 | 0.0030266 | ¦ | 1.6002 | 0.019939 | 0.45028 | -2.4491 | ¦ | 113.024 | 0.043485 | 401.6678 | 0.17996 | ¦ | 113.024 | 0.0028958 | 401.6678 | 0.0030266
Evacuation Time: | 5 | mins |  |  |  | ¦ | 217.5451 | 0.93975 | 0.051761 | 0.003134 | 0.049246 | 0.01334 | ¦ | 1.3113 | 0.04577 | 0.59893 | 0.17573 | ¦ | 1.3113 | 0.0022855 | 0.59893 | 0.0042329 | ¦ | 1.3113 | 0.026219 | 0.59893 | -2.4814 | ¦ | 137.9321 | 0.04577 | 301.9789 | 0.17573 | ¦ | 137.9321 | 0.0022855 | 301.9789 | 0.0042329
Mercury Filling Pressure: | 0.57 | psia |  |  |  | ¦ | 267.9754 | 0.75316 | 0.055194 | 0.0034335 | 0.067481 | 0.018235 | ¦ | 1.0481 | 0.048627 | 0.75181 | 0.17294 | ¦ | 1.0481 | 0.002857 | 0.75181 | 0.0027911 | ¦ | 1.0481 | 0.035906 | 0.75181 | -2.498 | ¦ | 172.5604 | 0.048627 | 240.5718 | 0.17294 | ¦ | 172.5604 | 0.002857 | 240.5718 | 0.0027911
Equilibration Time: | 10 | secs |  |  |  | ¦ | 328.1179 | 0.61307 | 0.059256 | 0.0040617 | 0.093982 | 0.026501 | ¦ | 0.83138 | 0.051761 | 0.94344 | 0.16932 | ¦ | 0.83138 | 0.003134 | 0.94344 | 0.003614 | ¦ | 0.83138 | 0.049246 | 0.94344 | -2.515 | ¦ | 217.5451 | 0.051761 | 191.7057 | 0.16932 | ¦ | 217.5451 | 0.003134 | 191.7057 | 0.003614
[6 empty] | ¦ | 417.8193 | 0.49205 | 0.066587 | 0.0073308 | 0.15358 | 0.059594 | ¦ | 0.67493 | 0.055194 | 1.2351 | 0.16503 | ¦ | 0.67493 | 0.0034335 | 1.2351 | 0.0042909 | ¦ | 0.67493 | 0.067481 | 1.2351 | -2.5308 | ¦ | 267.9754 | 0.055194 | 146.4396 | 0.16503 | ¦ | 267.9754 | 0.0034335 | 146.4396 | 0.0042909
[6 empty] | ¦ | 517.9219 | 0.39104 | 0.076733 | 0.010146 | 0.25736 | 0.10379 | ¦ | 0.55122 | 0.059256 | 1.6136 | 0.16044 | ¦ | 0.55122 | 0.0040617 | 1.6136 | 0.0045966 | ¦ | 0.55122 | 0.093982 | 1.6136 | -2.5437 | ¦ | 328.1179 | 0.059256 | 112.0839 | 0.16044 | ¦ | 328.1179 | 0.0040617 | 112.0839 | 0.0045966
High Pressure: | [5 empty] | ¦ | 637.5305 | 0.31645 | 0.091905 | 0.015172 | 0.44914 | 0.19178 | ¦ | 0.43288 | 0.066587 | 2.1005 | 0.15595 | ¦ | 0.43288 | 0.0073308 | 2.1005 | 0.0044847 | ¦ | 0.43288 | 0.15358 | 2.1005 | -2.5533 | ¦ | 417.8193 | 0.066587 | 86.1067 | 0.15595 | ¦ | 417.8193 | 0.0073308 | 86.1067 | 0.0044847
[6 empty] | ¦ | 797.7011 | 0.25521 | 0.11128 | 0.019372 | 0.75276 | 0.30361 | ¦ | 0.34921 | 0.076733 | 2.7309 | 0.15156 | ¦ | 0.34921 | 0.010146 | 2.7309 | 0.0043926 | ¦ | 0.34921 | 0.25736 | 2.7309 | -2.5606 | ¦ | 517.9219 | 0.076733 | 66.2287 | 0.15156 | ¦ | 517.9219 | 0.010146 | 66.2287 | 0.0043926
Equilibration Time: | 10 | secs |  |  |  | ¦ | 987.6539 | 0.20493 | 0.12939 | 0.018118 | 1.1064 | 0.35364 | ¦ | 0.28369 | 0.091905 | 3.4803 | 0.14716 | ¦ | 0.28369 | 0.015172 | 3.4803 | 0.0044043 | ¦ | 0.28369 | 0.44914 | 3.4803 | -2.5663 | ¦ | 637.5305 | 0.091905 | 51.9671 | 0.14716 | ¦ | 637.5305 | 0.015172 | 51.9671 | 0.0044043
[6 empty] | ¦ | 1196.9521 | 0.16711 | 0.1436 | 0.014204 | 1.4464 | 0.33998 | ¦ | 0.22673 | 0.11128 | 5.6923 | 0.14026 | ¦ | 0.22673 | 0.019372 | 5.6923 | 0.0068938 | ¦ | 0.22673 | 0.75276 | 5.6923 | -2.5723 | ¦ | 797.7011 | 0.11128 | 31.7732 | 0.14026 | ¦ | 797.7011 | 0.019372 | 31.7732 | 0.0068938
[6 empty] | ¦ | 1496.9303 | 0.13596 | 0.15732 | 0.013724 | 1.8501 | 0.40376 | ¦ | 0.18312 | 0.12939 | 10.9606 | 0.13323 | ¦ | 0.18312 | 0.018118 | 10.9606 | 0.0070355 | ¦ | 0.18312 | 1.1064 | 10.9606 | -2.5757 | ¦ | 987.6539 | 0.12939 | 16.5013 | 0.13323 | ¦ | 987.6539 | 0.018118 | 16.5013 | 0.0070355
Blank Correction Sample: C:\9500\DATA\9410DATA\000-183.SMP Blank Correction ID: Blank Correction for PEN 25-0470 | [5 empty] | ¦ | 1896.454 | 0.1081 | 0.16784 | 0.010514 | 2.2392 | 0.38906 | ¦ | 0.1511 | 0.1436 |  |  | ¦ | 0.1511 | 0.014204 |  |  | ¦ | 0.1511 | 1.4464 |  |  | ¦ | 1196.9521 | 0.1436 |  |  | ¦ | 1196.9521 | 0.014204
Intrusion Data Summary | [5 empty] | ¦ | 2345.3499 | 0.086243 | 0.17513 | 0.0072964 | 2.5776 | 0.33841 | ¦ | 0.12082 | 0.15732 |  |  | ¦ | 0.12082 | 0.013724 |  |  | ¦ | 0.12082 | 1.8501 |  |  | ¦ | 1496.9303 | 0.15732 |  |  | ¦ | 1496.9303 | 0.013724
[6 empty] | ¦ | 2893.6504 | 0.06981 | 0.18029 | 0.0051586 | 2.8732 | 0.29558 | ¦ | 0.095369 | 0.16784 |  |  | ¦ | 0.095369 | 0.010514 |  |  | ¦ | 0.095369 | 2.2392 |  |  | ¦ | 1896.454 | 0.16784 |  |  | ¦ | 1896.454 | 0.010514
Total Intrusion Volume = | 0.1958 | mL/g |  |  |  | ¦ | 3593.178 | 0.056419 | 0.18475 | 0.0044565 | 3.1891 | 0.31595 | ¦ | 0.077116 | 0.17513 |  |  | ¦ | 0.077116 | 0.0072964 |  |  | ¦ | 0.077116 | 2.5776 |  |  | ¦ | 2345.3499 | 0.17513 |  |  | ¦ | 2345.3499 | 0.0072964
Total Pore Area = | 4.593 | m²/g |  |  |  | ¦ | 4489.2153 | 0.045312 | 0.18867 | 0.0039214 | 3.5353 | 0.34617 | ¦ | 0.062504 | 0.18029 |  |  | ¦ | 0.062504 | 0.0051586 |  |  | ¦ | 0.062504 | 2.8732 |  |  | ¦ | 2893.6504 | 0.18029 |  |  | ¦ | 2893.6504 | 0.0051586
Median Pore Diameter (Volume) = | 0.2636 | µm |  |  |  | ¦ | 5579.7456 | 0.036351 | 0.19105 | 0.002382 | 3.7974 | 0.26211 | ¦ | 0.050335 | 0.18475 |  |  | ¦ | 0.050335 | 0.0044565 |  |  | ¦ | 0.050335 | 3.1891 |  |  | ¦ | 3593.178 | 0.18475 |  |  | ¦ | 3593.178 | 0.0044565
Median Pore Diameter (Area) = | 0.0921 | µm |  |  |  | ¦ | 6877.624 | 0.029356 | 0.19271 | 0.0016605 | 4.0237 | 0.22626 | ¦ | 0.040288 | 0.18867 |  |  | ¦ | 0.040288 | 0.0039214 |  |  | ¦ | 0.040288 | 3.5353 |  |  | ¦ | 4489.2153 | 0.18867 |  |  | ¦ | 4489.2153 | 0.0039214
Average Pore Diameter (4V/A) = | 0.1705 | µm |  |  |  | ¦ | 8573.7471 | 0.023696 | 0.19457 | 0.0018566 | 4.3371 | 0.3134 | ¦ | 0.032414 | 0.19105 |  |  | ¦ | 0.032414 | 0.002382 |  |  | ¦ | 0.032414 | 3.7974 |  |  | ¦ | 5579.7456 | 0.19105 |  |  | ¦ | 5579.7456 | 0.002382
Bulk Density at 0.57 psia = | 1.6846 | g/mL |  |  |  | ¦ | 10569.3262 | 0.019104 | 0.19579 | 0.0012241 | 4.5934 | 0.25631 | ¦ | 0.026297 | 0.19271 |  |  | ¦ | 0.026297 | 0.0016605 |  |  | ¦ | 0.026297 | 4.0237 |  |  | ¦ | 6877.624 | 0.19271 |  |  | ¦ | 6877.624 | 0.0016605
Apparent (skeletal) Density at 59750.96 psia = | 2.5137 | g/mL |  |  |  | ¦ | 13173.8906 | 0.015421 | 0.19579 | 0 | 4.5934 | 0 | ¦ | 0.021095 | 0.19457 |  |  | ¦ | 0.021095 | 0.0018566 |  |  | ¦ | 0.021095 | 4.3371 |  |  | ¦ | 8573.7471 | 0.19457 |  |  | ¦ | 8573.7471 | 0.0018566
Porosity = | 32.9834 | % |  |  |  | ¦ | 14767.0186 | 0.012988 | 0.19579 | 0 | 4.5934 | 0 | ¦ | 0.017112 | 0.19579 |  |  | ¦ | 0.017112 | 0.0012241 |  |  | ¦ | 0.017112 | 4.5934 |  |  | ¦ | 10569.3262 | 0.19579 |  |  | ¦ | 10569.3262 | 0.0012241
Stem Volume Used = | 23 | % **** |  |  |  | ¦ | 16369.0557 | 0.011648 | 0.19579 | 0 | 4.5934 | 0 | ¦ | 0.013729 | 0.19579 |  |  | ¦ | 0.013729 | 0 |  |  | ¦ | 0.013729 | 4.5934 |  |  | ¦ | 13173.8906 | 0.19579 |  |  | ¦ | 13173.8906 | 0
[6 empty] | ¦ | 19960.1816 | 0.010055 | 0.19579 | 0 | 4.5934 | 0 | ¦ | 0.012248 | 0.19579 |  |  | ¦ | 0.012248 | 0 |  |  | ¦ | 0.012248 | 4.5934 |  |  | ¦ | 14767.0186 | 0.19579 |  |  | ¦ | 14767.0186 | 0
[6 empty] | ¦ | 24988.1172 | 0.0081496 | 0.19579 | 0 | 4.5934 | 0 | ¦ | 0.011049 | 0.19579 |  |  | ¦ | 0.011049 | 0 |  |  | ¦ | 0.011049 | 4.5934 |  |  | ¦ | 16369.0557 | 0.19579 |  |  | ¦ | 16369.0557 | 0
[6 empty] | ¦ | 29991.1855 | 0.0066343 | 0.19579 | 0 | 4.5934 | 0 | ¦ | 0.0090612 | 0.19579 |  |  | ¦ | 0.0090612 | 0 |  |  | ¦ | 0.0090612 | 4.5934 |  |  | ¦ | 19960.1816 | 0.19579 |  |  | ¦ | 19960.1816 | 0
[6 empty] | ¦ | 34991.0898 | 0.0055997 | 0.19579 | 0 | 4.5934 | 0 | ¦ | 0.007238 | 0.19579 |  |  | ¦ | 0.007238 | 0 |  |  | ¦ | 0.007238 | 4.5934 |  |  | ¦ | 24988.1172 | 0.19579 |  |  | ¦ | 24988.1172 | 0
[6 empty] | ¦ | 39973.3438 | 0.0048467 | 0.19579 | 0 | 4.5934 | 0 | ¦ | 0.0060306 | 0.19579 |  |  | ¦ | 0.0060306 | 0 |  |  | ¦ | 0.0060306 | 4.5934 |  |  | ¦ | 29991.1855 | 0.19579 |  |  | ¦ | 29991.1855 | 0
[6 empty] | ¦ | 44931.7891 | 0.0042749 | 0.19579 | 0 | 4.5934 | 0 | ¦ | 0.0051688 | 0.19579 |  |  | ¦ | 0.0051688 | 0 |  |  | ¦ | 0.0051688 | 4.5934 |  |  | ¦ | 34991.0898 | 0.19579 |  |  | ¦ | 34991.0898 | 0
[6 empty] | ¦ | 49928.3125 | 0.0038239 | 0.19579 | 0 | 4.5934 | 0 | ¦ | 0.0045246 | 0.19579 |  |  | ¦ | 0.0045246 | 0 |  |  | ¦ | 0.0045246 | 4.5934 |  |  | ¦ | 39973.3438 | 0.19579 |  |  | ¦ | 39973.3438 | 0
[6 empty] | ¦ | 54901.707 | 0.0034584 | 0.19579 | 0 | 4.5934 | 0 | ¦ | 0.0040253 | 0.19579 |  |  | ¦ | 0.0040253 | 0 |  |  | ¦ | 0.0040253 | 4.5934 |  |  | ¦ | 44931.7891 | 0.19579 |  |  | ¦ | 44931.7891 | 0
[6 empty] | ¦ | 59750.957 | 0.0031606 | 0.19579 | 0 | 4.5934 | 0 | ¦ | 0.0036225 | 0.19579 |  |  | ¦ | 0.0036225 | 0 |  |  | ¦ | 0.0036225 | 4.5934 |  |  | ¦ | 49928.3125 | 0.19579 |  |  | ¦ | 49928.3125 | 0
[6 empty] | ¦ | 46099.1211 | 0.0034752 | 0.18979 | -0.0060054 | -2.319 | -6.9124 | ¦ | 0.0032943 | 0.19579 |  |  | ¦ | 0.0032943 | 0 |  |  | ¦ | 0.0032943 | 4.5934 |  |  | ¦ | 54901.707 | 0.19579 |  |  | ¦ | 54901.707 | 0
[6 empty] | ¦ | 35506.0352 | 0.0045086 | 0.18979 | 0 | -2.319 | 0 | ¦ | 0.003027 | 0.19579 |  |  | ¦ | 0.003027 | 0 |  |  | ¦ | 0.003027 | 4.5934 |  |  | ¦ | 59750.957 | 0.19579 |  |  | ¦ | 59750.957 | 0
[6 empty] | ¦ | 27310.2539 | 0.0058582 | 0.18979 | 0 | -2.319 | 0 | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦
[6 empty] | ¦ | 21018.4922 | 0.0076138 | 0.18979 | 0 | -2.319 | 0 | ¦
[6 empty] | ¦ | 16021.1729 | 0.009947 | 0.18979 | 0 | -2.319 | 0 | ¦
[6 empty] | ¦ | 12425.9463 | 0.012922 | 0.18979 | 0 | -2.319 | 0 | ¦
[6 empty] | ¦ | 9624.0732 | 0.016674 | 0.18979 | 0 | -2.319 | 0 | ¦
[6 empty] | ¦ | 7318.1206 | 0.021754 | 0.18979 | 0 | -2.319 | 0 | ¦
[6 empty] | ¦ | 5717.3545 | 0.028174 | 0.18979 | 0 | -2.319 | 0 | ¦
[6 empty] | ¦ | 4308.6138 | 0.036806 | 0.18979 | 0 | -2.319 | 0 | ¦
[6 empty] | ¦ | 3303.1558 | 0.048366 | 0.18979 | 0 | -2.319 | 0 | ¦
[6 empty] | ¦ | 2605.1462 | 0.06209 | 0.18979 | 0 | -2.319 | 0 | ¦
[6 empty] | ¦ | 2003.6677 | 0.079846 | 0.18979 | 0 | -2.319 | 0 | ¦
[6 empty] | ¦ | 1500.3136 | 0.10541 | 0.18979 | 0 | -2.319 | 0 | ¦
[6 empty] | ¦ | 1202.5724 | 0.13547 | 0.18979 | 0 | -2.319 | 0 | ¦
[6 empty] | ¦ | 901.9777 | 0.17546 | 0.18979 | 0 | -2.319 | 0 | ¦
[6 empty] | ¦ | 702.3328 | 0.22902 | 0.18707 | -0.0027219 | -2.3665 | -0.047541 | ¦
[6 empty] | ¦ | 501.8048 | 0.30897 | 0.18299 | -0.0040756 | -2.4193 | -0.052764 | ¦
[6 empty] | ¦ | 401.6678 | 0.40535 | 0.17996 | -0.0030266 | -2.4491 | -0.029866 | ¦
[6 empty] | ¦ | 301.9789 | 0.5246 | 0.17573 | -0.0042329 | -2.4814 | -0.032275 | ¦
[6 empty] | ¦ | 240.5718 | 0.67537 | 0.17294 | -0.0027911 | -2.498 | -0.016531 | ¦
[6 empty] | ¦ | 191.7057 | 0.84763 | 0.16932 | -0.003614 | -2.515 | -0.017055 | ¦
[6 empty] | ¦ | 146.4396 | 1.0893 | 0.16503 | -0.0042909 | -2.5308 | -0.015757 | ¦
[6 empty] | ¦ | 112.0839 | 1.4244 | 0.16044 | -0.0045966 | -2.5437 | -0.012909 | ¦
[6 empty] | ¦ | 86.1067 | 1.8571 | 0.15595 | -0.0044847 | -2.5533 | -0.0096599 | ¦
[6 empty] | ¦ | 66.2287 | 2.4157 | 0.15156 | -0.0043926 | -2.5606 | -0.0072735 | ¦
[6 empty] | ¦ | 51.9671 | 3.1056 | 0.14716 | -0.0044043 | -2.5663 | -0.0056727 | ¦
[6 empty] | ¦ | 31.7732 | 4.5863 | 0.14026 | -0.0068938 | -2.5723 | -0.0060125 | ¦
[6 empty] | ¦ | 16.5013 | 8.3265 | 0.13323 | -0.0070355 | -2.5757 | -0.0033798 | ¦
[6 empty] | ¦ | [6 empty] | ¦
[6 empty] | ¦ | [6 empty] | ¦