## input
Micromeritics Instrument Corp | [5 empty] | ¦ | Micromeritics Instrument Corp | [5 empty] | ¦ | Micromeritics Instrument Corp |  |  |  | ¦ | Micromeritics Instrument Corp |  |  |  | ¦ | Micromeritics Instrument Corp |  |  |  | ¦ | Micromeritics Instrument Corp |  |  |  | ¦ | Micromeritics Instrument Corp
AutoPore IV 9500 V1.10 | Serial: 1431 | Port: 2/1 | Page 1 |  |  | ¦ | AutoPore IV 9500 V1.10 | Serial: 1431 | Port: 2/1 | Page 1 |  |  | ¦ | AutoPore IV 9500 V1.10 | Serial: 1431 | Port: 2/1 | Page 1 | ¦ | AutoPore IV 9500 V1.10 | Serial: 1431 | Port: 2/1 | Page 1 | ¦ | AutoPore IV 9500 V1.10 | Serial: 1431 | Port: 2/1 | Page 1 | ¦ | AutoPore IV 9500 V1.10 | Serial: 1431 | Port: 2/1 | Page 1 | ¦ | AutoPore IV 9500 V1.10 | Serial: 1431 | Port: 2/1 | Page 1
[6 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦
[6 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦
Sample ID: | 3F-CC |  |  |  |  | ¦ | Sample ID: | 3F-CC |  |  |  |  | ¦ | Sample ID: | 3F-CC |  |  | ¦ | Sample ID: | 3F-CC |  |  | ¦ | Sample ID: | 3F-CC |  |  | ¦ | Sample ID: | 3F-CC |  |  | ¦ | Sample ID: | 3F-CC
Operator: | Glen Baum |  |  |  |  | ¦ | Operator: | Glen Baum |  |  |  |  | ¦ | Operator: | Glen Baum |  |  | ¦ | Operator: | Glen Baum |  |  | ¦ | Operator: | Glen Baum |  |  | ¦ | Operator: | Glen Baum |  |  | ¦ | Operator: | Glen Baum
Submitter: | Michael Nole |  |  |  |  | ¦ | Submitter: | Michael Nole |  |  |  |  | ¦ | Submitter: | Michael Nole |  |  | ¦ | Submitter: | Michael Nole |  |  | ¦ | Submitter: | Michael Nole |  |  | ¦ | Submitter: | Michael Nole |  |  | ¦ | Submitter: | Michael Nole
File: | C:\9500\DATA\9410DATA\000-454.SMP |  |  |  |  | ¦ | File: | C:\9500\DATA\9410DATA\000-454.SMP |  |  |  |  | ¦ | File: | C:\9500\DATA\9410DATA\000-454.SMP |  |  | ¦ | File: | C:\9500\DATA\9410DATA\000-454.SMP |  |  | ¦ | File: | C:\9500\DATA\9410DATA\000-454.SMP |  |  | ¦ | File: | C:\9500\DATA\9410DATA\000-454.SMP |  |  | ¦ | File: | C:\9500\DATA\9410DATA\000-454.SMP
[6 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦
[6 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦
LP Analysis Time: | 7/17/2018 8:14:00AM | Sample Weight: | 5.8210 g |  |  | ¦ | LP Analysis Time: | 7/17/2018 8:14:00AM | Sample Weight: | 5.8210 g |  |  | ¦ | LP Analysis Time: | 7/17/2018 8:14:00AM | Sample Weight: | 5.8210 g | ¦ | LP Analysis Time: | 7/17/2018 8:14:00AM | Sample Weight: | 5.8210 g | ¦ | LP Analysis Time: | 7/17/2018 8:14:00AM | Sample Weight: | 5.8210 g | ¦ | LP Analysis Time: | 7/17/2018 8:14:00AM | Sample Weight: | 5.8210 g | ¦ | LP Analysis Time: | 7/17/2018 8:14:00AM | Sample Weight: | 5.8210 g
HP Analysis Time: | 7/17/2018 2:50:34PM | Correction Type: | Blank |  |  | ¦ | HP Analysis Time: | 7/17/2018 2:50:34PM | Correction Type: | Blank |  |  | ¦ | HP Analysis Time: | 7/17/2018 2:50:34PM | Correction Type: | Blank | ¦ | HP Analysis Time: | 7/17/2018 2:50:34PM | Correction Type: | Blank | ¦ | HP Analysis Time: | 7/17/2018 2:50:34PM | Correction Type: | Blank | ¦ | HP Analysis Time: | 7/17/2018 2:50:34PM | Correction Type: | Blank | ¦ | HP Analysis Time: | 7/17/2018 2:50:34PM | Correction Type: | Blank
Report Time: | 7/17/2018 2:50:34PM | Show Neg. Int: | No |  |  | ¦ | Report Time: | 7/17/2018 2:50:34PM | Show Neg. Int: | No |  |  | ¦ | Report Time: | 7/17/2018 2:50:34PM | Show Neg. Int: | No | ¦ | Report Time: | 7/17/2018 2:50:34PM | Show Neg. Int: | No | ¦ | Report Time: | 7/17/2018 2:50:34PM | Show Neg. Int: | No | ¦ | Report Time: | 7/17/2018 2:50:34PM | Show Neg. Int: | No | ¦ | Report Time: | 7/17/2018 2:50:34PM | Show Neg. Int: | No
[6 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦
[6 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦
[6 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦
[6 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦
[6 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦
[6 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦
[6 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦
Summary Report | [5 empty] | ¦ | Tabular Report | [5 empty] | ¦ | Cumulative Intrusion vs Pore size |  |  |  | ¦ | Incremental Intrusion vs Pore size |  |  |  | ¦ | Cumulative Pore Area vs Pore size |  |  |  | ¦ | Cumulative Intrusion vs Pressure |  |  |  | ¦ | Incremental Intrusion vs Pressure
Penetrometer parameters | [5 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦
[6 empty] | ¦ | Pressure (psia) | Mean Diameter (µm) | Cumulative Pore Volume (mL/g) | Incremental Pore Volume (mL/g) | Cumulative Pore Area (m²/g) | Incremental Pore Area (m²/g) | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦
Penetrometer: | 0470 - (25) 15 Bulb, 4.185 Stem, Solid |  |  |  |  | ¦ | 0.57674 | 313.5957 | 0 | 0 | 0 | 0 | ¦ | Intrusion for Cycle 1 |  | Extrusion for Cycle 1 |  | ¦ | Intrusion for Cycle 1 |  | Extrusion for Cycle 1 |  | ¦ | Intrusion for Cycle 1 |  | Extrusion for Cycle 1 |  | ¦ | Intrusion for Cycle 1 |  | Extrusion for Cycle 1 |  | ¦ | Intrusion for Cycle 1 |  | Extrusion for Cycle 1
[6 empty] | ¦ | 2.0438 | 201.0447 | 0.011344 | 0.011344 | 0.0002257 | 0.0002257 | ¦ | Pore size Diameter (µm) | Cumulative Intrusion (mL/g) | Pore size Diameter (µm) | Cumulative Intrusion (mL/g) | ¦ | Pore size Diameter (µm) | Incremental Intrusion (mL/g) | Pore size Diameter (µm) | Incremental Intrusion (mL/g) | ¦ | Pore size Diameter (µm) | Cumulative Pore Area (m²/g) | Pore size Diameter (µm) | Cumulative Pore Area (m²/g) | ¦ | Pressure (psia) | Cumulative Intrusion (mL/g) | Pressure (psia) | Cumulative Intrusion (mL/g) | ¦ | Pressure (psia) | Incremental Intrusion (mL/g) | Pressure (psia) | Incremental Intrusion (mL/g)
[6 empty] | ¦ | 3.0187 | 74.2039 | 0.013373 | 0.0020292 | 0.00033509 | 0.00010938 | ¦ | 313.5957 | 0 | 0.0030199 | 0.1742 | ¦ | 313.5957 | 0 | 0.0030199 | 0 | ¦ | 313.5957 | 0 | 0.0030199 | 4.5159 | ¦ | 0.57674 | 0 | 59890.7617 | 0.1742 | ¦ | 0.57674 | 0 | 59890.7617 | 0
Pen. Constant: | 34.480 | µL/pF | Pen. Weight: | 72.7780 | g | ¦ | 4.0095 | 52.5112 | 0.014718 | 0.0013449 | 0.00043753 | 0.00010244 | ¦ | 88.4937 | 0.011344 | 0.0039232 | 0.16964 | ¦ | 88.4937 | 0.011344 | 0.0039232 | 0.0045579 | ¦ | 88.4937 | 0.0002257 | 0.0039232 | -0.73577 | ¦ | 2.0438 | 0.011344 | 46100.5781 | 0.16964 | ¦ | 2.0438 | 0.011344 | 46100.5781 | 0.0045579
Stem Volume: | 4.1850 | mL | Max. Head Pressure: | 4.4500 | psia | ¦ | 5.5007 | 38.9944 | 0.016479 | 0.0017605 | 0.00061813 | 0.00018059 | ¦ | 59.9141 | 0.013373 | 0.0050941 | 0.16964 | ¦ | 59.9141 | 0.0020292 | 0.0050941 | 0 | ¦ | 59.9141 | 0.00033509 | 0.0050941 | -0.73577 | ¦ | 3.0187 | 0.013373 | 35504.7891 | 0.16964 | ¦ | 3.0187 | 0.0020292 | 35504.7891 | 0
Pen. Volume: | 19.1760 | mL | Assembly Weight: | 291.2760 | g | ¦ | 6.0332 | 31.4292 | 0.016936 | 0.00045692 | 0.00067628 | 5.8152e-05 | ¦ | 45.1084 | 0.014718 | 0.0066205 | 0.16964 | ¦ | 45.1084 | 0.0013449 | 0.0066205 | 0 | ¦ | 45.1084 | 0.00043753 | 0.0066205 | -0.73577 | ¦ | 4.0095 | 0.014718 | 27318.709 | 0.16964 | ¦ | 4.0095 | 0.0013449 | 27318.709 | 0
[6 empty] | ¦ | 7.4961 | 27.0529 | 0.018032 | 0.0010959 | 0.00083832 | 0.00016204 | ¦ | 32.8803 | 0.016479 | 0.008603 | 0.16964 | ¦ | 32.8803 | 0.0017605 | 0.008603 | 0 | ¦ | 32.8803 | 0.00061813 | 0.008603 | -0.73577 | ¦ | 5.5007 | 0.016479 | 21023.3906 | 0.16964 | ¦ | 5.5007 | 0.0017605 | 21023.3906 | 0
[6 empty] | ¦ | 8.5 | 22.7029 | 0.018705 | 0.0006735 | 0.00095698 | 0.00011866 | ¦ | 29.9781 | 0.016936 | 0.011285 | 0.16964 | ¦ | 29.9781 | 0.00045692 | 0.011285 | 0 | ¦ | 29.9781 | 0.00067628 | 0.011285 | -0.73577 | ¦ | 6.0332 | 0.016936 | 16026.2764 | 0.16964 | ¦ | 6.0332 | 0.00045692 | 16026.2764 | 0
Hg Parameters | [5 empty] | ¦ | 10.4879 | 19.2615 | 0.019752 | 0.0010472 | 0.0011744 | 0.00021747 | ¦ | 24.1277 | 0.018032 | 0.014563 | 0.16964 | ¦ | 24.1277 | 0.0010959 | 0.014563 | 0 | ¦ | 24.1277 | 0.00083832 | 0.014563 | -0.73577 | ¦ | 7.4961 | 0.018032 | 12419.4375 | 0.16964 | ¦ | 7.4961 | 0.0010959 | 12419.4375 | 0
[6 empty] | ¦ | 12.9849 | 15.5869 | 0.021131 | 0.0013789 | 0.0015283 | 0.00035385 | ¦ | 21.278 | 0.018705 | 0.018785 | 0.16964 | ¦ | 21.278 | 0.0006735 | 0.018785 | 0 | ¦ | 21.278 | 0.00095698 | 0.018785 | -0.73577 | ¦ | 8.5 | 0.018705 | 9628.2129 | 0.16964 | ¦ | 8.5 | 0.0006735 | 9628.2129 | 0
Adv. Contact Angle: | 130.000 | degrees | Rec. Contact Angle: | 130.000 | degrees | ¦ | 15.9783 | 12.624 | 0.022749 | 0.0016175 | 0.0020408 | 0.00051252 | ¦ | 17.245 | 0.019752 | 0.024714 | 0.16964 | ¦ | 17.245 | 0.0010472 | 0.024714 | 0 | ¦ | 17.245 | 0.0011744 | 0.024714 | -0.73577 | ¦ | 10.4879 | 0.019752 | 7318.3496 | 0.16964 | ¦ | 10.4879 | 0.0010472 | 7318.3496 | 0
Hg Surface Tension: | 485.000 | dynes/cm | Hg Density: | 13.5335 | g/mL | ¦ | 20.024 | 10.1758 | 0.024127 | 0.0013782 | 0.0025826 | 0.00054177 | ¦ | 13.9287 | 0.021131 | 0.031637 | 0.16964 | ¦ | 13.9287 | 0.0013789 | 0.031637 | 0 | ¦ | 13.9287 | 0.0015283 | 0.031637 | -0.73577 | ¦ | 12.9849 | 0.021131 | 5716.7476 | 0.16964 | ¦ | 12.9849 | 0.0013789 | 5716.7476 | 0
[6 empty] | ¦ | 24.9919 | 8.1346 | 0.025644 | 0.0015171 | 0.0033286 | 0.00074602 | ¦ | 11.3193 | 0.022749 | 0.042007 | 0.16964 | ¦ | 11.3193 | 0.0016175 | 0.042007 | 0 | ¦ | 11.3193 | 0.0020408 | 0.042007 | -0.73577 | ¦ | 15.9783 | 0.022749 | 4305.5107 | 0.16964 | ¦ | 15.9783 | 0.0016175 | 4305.5107 | 0
[6 empty] | ¦ | 29.9822 | 6.6346 | 0.02622 | 0.00057635 | 0.0036761 | 0.00034748 | ¦ | 9.0323 | 0.024127 | 0.054749 | 0.16964 | ¦ | 9.0323 | 0.0013782 | 0.054749 | 0 | ¦ | 9.0323 | 0.0025826 | 0.054749 | -0.73577 | ¦ | 20.024 | 0.024127 | 3303.4871 | 0.16964 | ¦ | 20.024 | 0.0013782 | 3303.4871 | 0
User Parameters | [5 empty] | ¦ | 37.7569 | 5.4113 | 0.02622 | 0 | 0.0036761 | 0 | ¦ | 7.2369 | 0.025644 | 0.069465 | 0.16964 | ¦ | 7.2369 | 0.0015171 | 0.069465 | 0 | ¦ | 7.2369 | 0.0033286 | 0.069465 | -0.73577 | ¦ | 24.9919 | 0.025644 | 2603.6643 | 0.16964 | ¦ | 24.9919 | 0.0015171 | 2603.6643 | 0
[6 empty] | ¦ | 48.0152 | 4.2785 | 0.026286 | 6.6061e-05 | 0.0037378 | 6.176e-05 | ¦ | 6.0324 | 0.02622 | 0.090301 | 0.16964 | ¦ | 6.0324 | 0.00057635 | 0.090301 | 0 | ¦ | 6.0324 | 0.0036761 | 0.090301 | -0.73577 | ¦ | 29.9822 | 0.02622 | 2002.9014 | 0.16964 | ¦ | 29.9822 | 0.00057635 | 2002.9014 | 0
Param 1: | 0.000 | Param 2: | 0.000 | Param 3: | 0.000 | ¦ | 57.7791 | 3.4485 | 0.026502 | 0.00021552 | 0.0039878 | 0.00024998 | ¦ | 4.7902 | 0.02622 | 0.12035 | 0.16964 | ¦ | 4.7902 | 0 | 0.12035 | 0 | ¦ | 4.7902 | 0.0036761 | 0.12035 | -0.73577 | ¦ | 37.7569 | 0.02622 | 1502.78 | 0.16964 | ¦ | 37.7569 | 0 | 1502.78 | 0
[6 empty] | ¦ | 73.0149 | 2.8037 | 0.027206 | 0.00070393 | 0.0049921 | 0.0010043 | ¦ | 3.7668 | 0.026286 | 0.15059 | 0.16964 | ¦ | 3.7668 | 6.6061e-05 | 0.15059 | 0 | ¦ | 3.7668 | 0.0037378 | 0.15059 | -0.73577 | ¦ | 48.0152 | 0.026286 | 1201.0382 | 0.16964 | ¦ | 48.0152 | 6.6061e-05 | 1201.0382 | 0
[6 empty] | ¦ | 87.7028 | 2.2697 | 0.027852 | 0.00064641 | 0.0061314 | 0.0011392 | ¦ | 3.1303 | 0.026502 | 0.20048 | 0.1683 | ¦ | 3.1303 | 0.00021552 | 0.20048 | 0.0013371 | ¦ | 3.1303 | 0.0039878 | 0.20048 | -0.76624 | ¦ | 57.7791 | 0.026502 | 902.1312 | 0.1683 | ¦ | 57.7791 | 0.00021552 | 902.1312 | 0.0013371
Low Pressure: | [5 empty] | ¦ | 112.3524 | 1.836 | 0.028928 | 0.0010757 | 0.008475 | 0.0023437 | ¦ | 2.4771 | 0.027206 | 0.25764 | 0.16599 | ¦ | 2.4771 | 0.00070393 | 0.25764 | 0.0023068 | ¦ | 2.4771 | 0.0049921 | 0.25764 | -0.80652 | ¦ | 73.0149 | 0.027206 | 701.993 | 0.16599 | ¦ | 73.0149 | 0.00070393 | 701.993 | 0.0023068
[6 empty] | ¦ | 137.749 | 1.4614 | 0.029705 | 0.0007769 | 0.010602 | 0.0021265 | ¦ | 2.0622 | 0.027852 | 0.36055 | 0.16248 | ¦ | 2.0622 | 0.00064641 | 0.36055 | 0.0035186 | ¦ | 2.0622 | 0.0061314 | 0.36055 | -0.85206 | ¦ | 87.7028 | 0.027852 | 501.6313 | 0.16248 | ¦ | 87.7028 | 0.00064641 | 501.6313 | 0.0035186
Evacuation Pressure: | 50 | µmHg |  |  |  | ¦ | 172.8179 | 1.1798 | 0.030797 | 0.0010925 | 0.014305 | 0.003704 | ¦ | 1.6098 | 0.028928 | 0.45049 | 0.15982 | ¦ | 1.6098 | 0.0010757 | 0.45049 | 0.0026563 | ¦ | 1.6098 | 0.008475 | 0.45049 | -0.87826 | ¦ | 112.3524 | 0.028928 | 401.4777 | 0.15982 | ¦ | 112.3524 | 0.0010757 | 401.4777 | 0.0026563
Evacuation Time: | 5 | mins |  |  |  | ¦ | 217.7464 | 0.93859 | 0.031583 | 0.00078527 | 0.017652 | 0.0033466 | ¦ | 1.313 | 0.029705 | 0.59954 | 0.156 | ¦ | 1.313 | 0.0007769 | 0.59954 | 0.0038177 | ¦ | 1.313 | 0.010602 | 0.59954 | -0.90734 | ¦ | 137.749 | 0.029705 | 301.6707 | 0.156 | ¦ | 137.749 | 0.0007769 | 301.6707 | 0.0038177
Mercury Filling Pressure: | 0.58 | psia |  |  |  | ¦ | 267.6635 | 0.75316 | 0.032492 | 0.00090895 | 0.022479 | 0.0048274 | ¦ | 1.0466 | 0.030797 | 0.74876 | 0.15343 | ¦ | 1.0466 | 0.0010925 | 0.74876 | 0.0025674 | ¦ | 1.0466 | 0.014305 | 0.74876 | -0.92258 | ¦ | 172.8179 | 0.030797 | 241.5519 | 0.15343 | ¦ | 172.8179 | 0.0010925 | 241.5519 | 0.0025674
Equilibration Time: | 10 | secs |  |  |  | ¦ | 327.9014 | 0.61365 | 0.034148 | 0.0016563 | 0.033276 | 0.010796 | ¦ | 0.83062 | 0.031583 | 0.94377 | 0.15009 | ¦ | 0.83062 | 0.00078527 | 0.94377 | 0.0033485 | ¦ | 0.83062 | 0.017652 | 0.94377 | -0.9384 | ¦ | 217.7464 | 0.031583 | 191.6391 | 0.15009 | ¦ | 217.7464 | 0.00078527 | 191.6391 | 0.0033485
[6 empty] | ¦ | 417.7824 | 0.49225 | 0.040038 | 0.0058903 | 0.081141 | 0.047865 | ¦ | 0.67571 | 0.032492 | 1.2325 | 0.14618 | ¦ | 0.67571 | 0.00090895 | 1.2325 | 0.0039018 | ¦ | 0.67571 | 0.022479 | 1.2325 | -0.95275 | ¦ | 267.6635 | 0.032492 | 146.7448 | 0.14618 | ¦ | 267.6635 | 0.00090895 | 146.7448 | 0.0039018
[6 empty] | ¦ | 518.1078 | 0.391 | 0.054903 | 0.014865 | 0.23321 | 0.15207 | ¦ | 0.55158 | 0.034148 | 1.6156 | 0.14178 | ¦ | 0.55158 | 0.0016563 | 1.6156 | 0.0044029 | ¦ | 0.55158 | 0.033276 | 1.6156 | -0.96511 | ¦ | 327.9014 | 0.034148 | 111.9501 | 0.14178 | ¦ | 327.9014 | 0.0016563 | 111.9501 | 0.0044029
High Pressure: | [5 empty] | ¦ | 637.7218 | 0.31635 | 0.077658 | 0.022755 | 0.52094 | 0.28773 | ¦ | 0.43291 | 0.040038 | 2.0763 | 0.13775 | ¦ | 0.43291 | 0.0058903 | 2.0763 | 0.0040316 | ¦ | 0.43291 | 0.081141 | 2.0763 | -0.97385 | ¦ | 417.7824 | 0.040038 | 87.1073 | 0.13775 | ¦ | 417.7824 | 0.0058903 | 87.1073 | 0.0040316
[6 empty] | ¦ | 797.6651 | 0.25518 | 0.10042 | 0.022764 | 0.87778 | 0.35684 | ¦ | 0.34908 | 0.054903 | 2.71 | 0.13383 | ¦ | 0.34908 | 0.014865 | 2.71 | 0.0039228 | ¦ | 0.34908 | 0.23321 | 2.71 | -0.98041 | ¦ | 518.1078 | 0.054903 | 66.7388 | 0.13383 | ¦ | 518.1078 | 0.014865 | 66.7388 | 0.0039228
Equilibration Time: | 10 | secs |  |  |  | ¦ | 987.9412 | 0.20491 | 0.11774 | 0.017314 | 1.2158 | 0.33798 | ¦ | 0.28361 | 0.077658 | 3.5556 | 0.13024 | ¦ | 0.28361 | 0.022755 | 3.5556 | 0.0035847 | ¦ | 0.28361 | 0.52094 | 3.5556 | -0.98498 | ¦ | 637.7218 | 0.077658 | 50.8677 | 0.13024 | ¦ | 637.7218 | 0.022755 | 50.8677 | 0.0035847
[6 empty] | ¦ | 1197.3871 | 0.16706 | 0.13 | 0.012262 | 1.5093 | 0.29359 | ¦ | 0.22674 | 0.10042 | 5.6733 | 0.12435 | ¦ | 0.22674 | 0.022764 | 5.6733 | 0.0058946 | ¦ | 0.22674 | 0.87778 | 5.6733 | -0.99009 | ¦ | 797.6651 | 0.10042 | 31.8796 | 0.12435 | ¦ | 797.6651 | 0.022764 | 31.8796 | 0.0058946
[6 empty] | ¦ | 1496.9524 | 0.13593 | 0.1409 | 0.010902 | 1.8302 | 0.3208 | ¦ | 0.18307 | 0.11774 | 10.9996 | 0.11847 | ¦ | 0.18307 | 0.017314 | 10.9996 | 0.0058749 | ¦ | 0.18307 | 1.2158 | 10.9996 | -0.99291 | ¦ | 987.9412 | 0.11774 | 16.4428 | 0.11847 | ¦ | 987.9412 | 0.017314 | 16.4428 | 0.0058749
Blank Correction Sample: C:\9500\DATA\9410DATA\000-183.SMP Blank Correction ID: Blank Correction for PEN 25-0470 | [5 empty] | ¦ | 1896.3961 | 0.1081 | 0.14886 | 0.0079645 | 2.1249 | 0.29472 | ¦ | 0.15105 | 0.13 |  |  | ¦ | 0.15105 | 0.012262 |  |  | ¦ | 0.15105 | 1.5093 |  |  | ¦ | 1197.3871 | 0.13 |  |  | ¦ | 1197.3871 | 0.012262
Intrusion Data Summary | [5 empty] | ¦ | 2344.5537 | 0.086257 | 0.15552 | 0.0066595 | 2.4337 | 0.30882 | ¦ | 0.12082 | 0.1409 |  |  | ¦ | 0.12082 | 0.010902 |  |  | ¦ | 0.12082 | 1.8302 |  |  | ¦ | 1496.9524 | 0.1409 |  |  | ¦ | 1496.9524 | 0.010902
[6 empty] | ¦ | 2893.8618 | 0.069821 | 0.16008 | 0.0045564 | 2.6947 | 0.26103 | ¦ | 0.095372 | 0.14886 |  |  | ¦ | 0.095372 | 0.0079645 |  |  | ¦ | 0.095372 | 2.1249 |  |  | ¦ | 1896.3961 | 0.14886 |  |  | ¦ | 1896.3961 | 0.0079645
Total Intrusion Volume = | 0.1742 | mL/g |  |  |  | ¦ | 3592.2056 | 0.056424 | 0.16376 | 0.0036812 | 2.9557 | 0.26097 | ¦ | 0.077142 | 0.15552 |  |  | ¦ | 0.077142 | 0.0066595 |  |  | ¦ | 0.077142 | 2.4337 |  |  | ¦ | 2344.5537 | 0.15552 |  |  | ¦ | 2344.5537 | 0.0066595
Total Pore Area = | 4.516 | m²/g |  |  |  | ¦ | 4490.2354 | 0.045314 | 0.16674 | 0.0029757 | 3.2184 | 0.26267 | ¦ | 0.062499 | 0.16008 |  |  | ¦ | 0.062499 | 0.0045564 |  |  | ¦ | 0.062499 | 2.6947 |  |  | ¦ | 2893.8618 | 0.16008 |  |  | ¦ | 2893.8618 | 0.0045564
Median Pore Diameter (Volume) = | 0.2596 | µm |  |  |  | ¦ | 5580.7944 | 0.036344 | 0.16884 | 0.0021003 | 3.4495 | 0.23115 | ¦ | 0.050349 | 0.16376 |  |  | ¦ | 0.050349 | 0.0036812 |  |  | ¦ | 0.050349 | 2.9557 |  |  | ¦ | 3592.2056 | 0.16376 |  |  | ¦ | 3592.2056 | 0.0036812
Median Pore Diameter (Area) = | 0.0868 | µm |  |  |  | ¦ | 6878.2373 | 0.029352 | 0.17051 | 0.0016719 | 3.6774 | 0.22784 | ¦ | 0.040279 | 0.16674 |  |  | ¦ | 0.040279 | 0.0029757 |  |  | ¦ | 0.040279 | 3.2184 |  |  | ¦ | 4490.2354 | 0.16674 |  |  | ¦ | 4490.2354 | 0.0029757
Average Pore Diameter (4V/A) = | 0.1543 | µm |  |  |  | ¦ | 8572.9121 | 0.023696 | 0.17195 | 0.0014438 | 3.9211 | 0.24373 | ¦ | 0.032408 | 0.16884 |  |  | ¦ | 0.032408 | 0.0021003 |  |  | ¦ | 0.032408 | 3.4495 |  |  | ¦ | 5580.7944 | 0.16884 |  |  | ¦ | 5580.7944 | 0.0021003
Bulk Density at 0.58 psia = | 1.6818 | g/mL |  |  |  | ¦ | 10567.8389 | 0.019106 | 0.17317 | 0.0012199 | 4.1765 | 0.2554 | ¦ | 0.026295 | 0.17051 |  |  | ¦ | 0.026295 | 0.0016719 |  |  | ¦ | 0.026295 | 3.6774 |  |  | ¦ | 6878.2373 | 0.17051 |  |  | ¦ | 6878.2373 | 0.0016719
Apparent (skeletal) Density at 59890.76 psia = | 2.3787 | g/mL |  |  |  | ¦ | 13167.625 | 0.015425 | 0.17317 | 0 | 4.1765 | 0 | ¦ | 0.021097 | 0.17195 |  |  | ¦ | 0.021097 | 0.0014438 |  |  | ¦ | 0.021097 | 3.9211 |  |  | ¦ | 8572.9121 | 0.17195 |  |  | ¦ | 8572.9121 | 0.0014438
Porosity = | 29.2966 | % |  |  |  | ¦ | 14764.2764 | 0.012993 | 0.17351 | 0.00033568 | 4.2798 | 0.10334 | ¦ | 0.017115 | 0.17317 |  |  | ¦ | 0.017115 | 0.0012199 |  |  | ¦ | 0.017115 | 4.1765 |  |  | ¦ | 10567.8389 | 0.17317 |  |  | ¦ | 10567.8389 | 0.0012199
Stem Volume Used = | 26 | % |  |  |  | ¦ | 16361.4551 | 0.011652 | 0.1742 | 0.00068769 | 4.5159 | 0.23607 | ¦ | 0.013735 | 0.17317 |  |  | ¦ | 0.013735 | 0 |  |  | ¦ | 0.013735 | 4.1765 |  |  | ¦ | 13167.625 | 0.17317 |  |  | ¦ | 13167.625 | 0
[6 empty] | ¦ | 19962.2344 | 0.010057 | 0.1742 | 0 | 4.5159 | 0 | ¦ | 0.01225 | 0.17351 |  |  | ¦ | 0.01225 | 0.00033568 |  |  | ¦ | 0.01225 | 4.2798 |  |  | ¦ | 14764.2764 | 0.17351 |  |  | ¦ | 14764.2764 | 0.00033568
[6 empty] | ¦ | 24986.5703 | 0.0081494 | 0.1742 | 0 | 4.5159 | 0 | ¦ | 0.011054 | 0.1742 |  |  | ¦ | 0.011054 | 0.00068769 |  |  | ¦ | 0.011054 | 4.5159 |  |  | ¦ | 16361.4551 | 0.1742 |  |  | ¦ | 16361.4551 | 0.00068769
[6 empty] | ¦ | 29990.2969 | 0.0066346 | 0.1742 | 0 | 4.5159 | 0 | ¦ | 0.0090603 | 0.1742 |  |  | ¦ | 0.0090603 | 0 |  |  | ¦ | 0.0090603 | 4.5159 |  |  | ¦ | 19962.2344 | 0.1742 |  |  | ¦ | 19962.2344 | 0
[6 empty] | ¦ | 34991.3984 | 0.0055998 | 0.1742 | 0 | 4.5159 | 0 | ¦ | 0.0072384 | 0.1742 |  |  | ¦ | 0.0072384 | 0 |  |  | ¦ | 0.0072384 | 4.5159 |  |  | ¦ | 24986.5703 | 0.1742 |  |  | ¦ | 24986.5703 | 0
[6 empty] | ¦ | 39986.2852 | 0.004846 | 0.1742 | 0 | 4.5159 | 0 | ¦ | 0.0060307 | 0.1742 |  |  | ¦ | 0.0060307 | 0 |  |  | ¦ | 0.0060307 | 4.5159 |  |  | ¦ | 29990.2969 | 0.1742 |  |  | ¦ | 29990.2969 | 0
[6 empty] | ¦ | 44937.4609 | 0.004274 | 0.1742 | 0 | 4.5159 | 0 | ¦ | 0.0051688 | 0.1742 |  |  | ¦ | 0.0051688 | 0 |  |  | ¦ | 0.0051688 | 4.5159 |  |  | ¦ | 34991.3984 | 0.1742 |  |  | ¦ | 34991.3984 | 0
[6 empty] | ¦ | 49939.8398 | 0.0038232 | 0.1742 | 0 | 4.5159 | 0 | ¦ | 0.0045231 | 0.1742 |  |  | ¦ | 0.0045231 | 0 |  |  | ¦ | 0.0045231 | 4.5159 |  |  | ¦ | 39986.2852 | 0.1742 |  |  | ¦ | 39986.2852 | 0
[6 empty] | ¦ | 54933.8906 | 0.003457 | 0.1742 | 0 | 4.5159 | 0 | ¦ | 0.0040248 | 0.1742 |  |  | ¦ | 0.0040248 | 0 |  |  | ¦ | 0.0040248 | 4.5159 |  |  | ¦ | 44937.4609 | 0.1742 |  |  | ¦ | 44937.4609 | 0
[6 empty] | ¦ | 59890.7617 | 0.0031561 | 0.1742 | 0 | 4.5159 | 0 | ¦ | 0.0036216 | 0.1742 |  |  | ¦ | 0.0036216 | 0 |  |  | ¦ | 0.0036216 | 4.5159 |  |  | ¦ | 49939.8398 | 0.1742 |  |  | ¦ | 49939.8398 | 0
[6 empty] | ¦ | 46100.5781 | 0.0034716 | 0.16964 | -0.0045579 | -0.73577 | -5.2517 | ¦ | 0.0032924 | 0.1742 |  |  | ¦ | 0.0032924 | 0 |  |  | ¦ | 0.0032924 | 4.5159 |  |  | ¦ | 54933.8906 | 0.1742 |  |  | ¦ | 54933.8906 | 0
[6 empty] | ¦ | 35504.7891 | 0.0045086 | 0.16964 | 0 | -0.73577 | 0 | ¦ | 0.0030199 | 0.1742 |  |  | ¦ | 0.0030199 | 0 |  |  | ¦ | 0.0030199 | 4.5159 |  |  | ¦ | 59890.7617 | 0.1742 |  |  | ¦ | 59890.7617 | 0
[6 empty] | ¦ | 27318.709 | 0.0058573 | 0.16964 | 0 | -0.73577 | 0 | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦
[6 empty] | ¦ | 21023.3906 | 0.0076117 | 0.16964 | 0 | -0.73577 | 0 | ¦
[6 empty] | ¦ | 16026.2764 | 0.0099442 | 0.16964 | 0 | -0.73577 | 0 | ¦
[6 empty] | ¦ | 12419.4375 | 0.012924 | 0.16964 | 0 | -0.73577 | 0 | ¦
[6 empty] | ¦ | 9628.2129 | 0.016674 | 0.16964 | 0 | -0.73577 | 0 | ¦
[6 empty] | ¦ | 7318.3496 | 0.021749 | 0.16964 | 0 | -0.73577 | 0 | ¦
[6 empty] | ¦ | 5716.7476 | 0.028176 | 0.16964 | 0 | -0.73577 | 0 | ¦
[6 empty] | ¦ | 4305.5107 | 0.036822 | 0.16964 | 0 | -0.73577 | 0 | ¦
[6 empty] | ¦ | 3303.4871 | 0.048378 | 0.16964 | 0 | -0.73577 | 0 | ¦
[6 empty] | ¦ | 2603.6643 | 0.062107 | 0.16964 | 0 | -0.73577 | 0 | ¦
[6 empty] | ¦ | 2002.9014 | 0.079883 | 0.16964 | 0 | -0.73577 | 0 | ¦
[6 empty] | ¦ | 1502.78 | 0.10533 | 0.16964 | 0 | -0.73577 | 0 | ¦
[6 empty] | ¦ | 1201.0382 | 0.13547 | 0.16964 | 0 | -0.73577 | 0 | ¦
[6 empty] | ¦ | 902.1312 | 0.17554 | 0.1683 | -0.0013371 | -0.76624 | -0.030468 | ¦
[6 empty] | ¦ | 701.993 | 0.22906 | 0.16599 | -0.0023068 | -0.80652 | -0.040282 | ¦
[6 empty] | ¦ | 501.6313 | 0.3091 | 0.16248 | -0.0035186 | -0.85206 | -0.045534 | ¦
[6 empty] | ¦ | 401.4777 | 0.40552 | 0.15982 | -0.0026563 | -0.87826 | -0.026201 | ¦
[6 empty] | ¦ | 301.6707 | 0.52502 | 0.156 | -0.0038177 | -0.90734 | -0.029086 | ¦
[6 empty] | ¦ | 241.5519 | 0.67415 | 0.15343 | -0.0025674 | -0.92258 | -0.015233 | ¦
[6 empty] | ¦ | 191.6391 | 0.84626 | 0.15009 | -0.0033485 | -0.9384 | -0.015827 | ¦
[6 empty] | ¦ | 146.7448 | 1.0881 | 0.14618 | -0.0039018 | -0.95275 | -0.014343 | ¦
[6 empty] | ¦ | 111.9501 | 1.424 | 0.14178 | -0.0044029 | -0.96511 | -0.012367 | ¦
[6 empty] | ¦ | 87.1073 | 1.846 | 0.13775 | -0.0040316 | -0.97385 | -0.0087362 | ¦
[6 empty] | ¦ | 66.7388 | 2.3932 | 0.13383 | -0.0039228 | -0.98041 | -0.0065566 | ¦
[6 empty] | ¦ | 50.8677 | 3.1328 | 0.13024 | -0.0035847 | -0.98498 | -0.0045769 | ¦
[6 empty] | ¦ | 31.8796 | 4.6145 | 0.12435 | -0.0058946 | -0.99009 | -0.0051097 | ¦
[6 empty] | ¦ | 16.4428 | 8.3365 | 0.11847 | -0.0058749 | -0.99291 | -0.0028189 | ¦
[6 empty] | ¦ | [6 empty] | ¦
[6 empty] | ¦ | [6 empty] | ¦