## input
Micromeritics Instrument Corp | [5 empty] | ¦ | Micromeritics Instrument Corp | [5 empty] | ¦ | Micromeritics Instrument Corp |  |  |  | ¦ | Micromeritics Instrument Corp |  |  |  | ¦ | Micromeritics Instrument Corp |  |  |  | ¦ | Micromeritics Instrument Corp |  |  |  | ¦ | Micromeritics Instrument Corp
AutoPore IV 9500 V1.10 | Serial: 1431 | Port: 2/1 | Page 1 |  |  | ¦ | AutoPore IV 9500 V1.10 | Serial: 1431 | Port: 2/1 | Page 1 |  |  | ¦ | AutoPore IV 9500 V1.10 | Serial: 1431 | Port: 2/1 | Page 1 | ¦ | AutoPore IV 9500 V1.10 | Serial: 1431 | Port: 2/1 | Page 1 | ¦ | AutoPore IV 9500 V1.10 | Serial: 1431 | Port: 2/1 | Page 1 | ¦ | AutoPore IV 9500 V1.10 | Serial: 1431 | Port: 2/1 | Page 1 | ¦ | AutoPore IV 9500 V1.10 | Serial: 1431 | Port: 2/1 | Page 1
[6 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦
[6 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦
Sample ID: | 5F-3 (95-100 cm) |  |  |  |  | ¦ | Sample ID: | 5F-3 (95-100 cm) |  |  |  |  | ¦ | Sample ID: | 5F-3 (95-100 cm) |  |  | ¦ | Sample ID: | 5F-3 (95-100 cm) |  |  | ¦ | Sample ID: | 5F-3 (95-100 cm) |  |  | ¦ | Sample ID: | 5F-3 (95-100 cm) |  |  | ¦ | Sample ID: | 5F-3 (95-100 cm)
Operator: | Glen Baum |  |  |  |  | ¦ | Operator: | Glen Baum |  |  |  |  | ¦ | Operator: | Glen Baum |  |  | ¦ | Operator: | Glen Baum |  |  | ¦ | Operator: | Glen Baum |  |  | ¦ | Operator: | Glen Baum |  |  | ¦ | Operator: | Glen Baum
Submitter: | Michael Nole |  |  |  |  | ¦ | Submitter: | Michael Nole |  |  |  |  | ¦ | Submitter: | Michael Nole |  |  | ¦ | Submitter: | Michael Nole |  |  | ¦ | Submitter: | Michael Nole |  |  | ¦ | Submitter: | Michael Nole |  |  | ¦ | Submitter: | Michael Nole
File: | C:\9500\DATA\2018\000-442.SMP |  |  |  |  | ¦ | File: | C:\9500\DATA\2018\000-442.SMP |  |  |  |  | ¦ | File: | C:\9500\DATA\2018\000-442.SMP |  |  | ¦ | File: | C:\9500\DATA\2018\000-442.SMP |  |  | ¦ | File: | C:\9500\DATA\2018\000-442.SMP |  |  | ¦ | File: | C:\9500\DATA\2018\000-442.SMP |  |  | ¦ | File: | C:\9500\DATA\2018\000-442.SMP
[6 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦
[6 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦
LP Analysis Time: | 6/13/2018 3:22:16PM | Sample Weight: | 6.0560 g |  |  | ¦ | LP Analysis Time: | 6/13/2018 3:22:16PM | Sample Weight: | 6.0560 g |  |  | ¦ | LP Analysis Time: | 6/13/2018 3:22:16PM | Sample Weight: | 6.0560 g | ¦ | LP Analysis Time: | 6/13/2018 3:22:16PM | Sample Weight: | 6.0560 g | ¦ | LP Analysis Time: | 6/13/2018 3:22:16PM | Sample Weight: | 6.0560 g | ¦ | LP Analysis Time: | 6/13/2018 3:22:16PM | Sample Weight: | 6.0560 g | ¦ | LP Analysis Time: | 6/13/2018 3:22:16PM | Sample Weight: | 6.0560 g
HP Analysis Time: | 6/13/2018 4:13:21PM | Correction Type: | Blank |  |  | ¦ | HP Analysis Time: | 6/13/2018 4:13:21PM | Correction Type: | Blank |  |  | ¦ | HP Analysis Time: | 6/13/2018 4:13:21PM | Correction Type: | Blank | ¦ | HP Analysis Time: | 6/13/2018 4:13:21PM | Correction Type: | Blank | ¦ | HP Analysis Time: | 6/13/2018 4:13:21PM | Correction Type: | Blank | ¦ | HP Analysis Time: | 6/13/2018 4:13:21PM | Correction Type: | Blank | ¦ | HP Analysis Time: | 6/13/2018 4:13:21PM | Correction Type: | Blank
Report Time: | 6/13/2018 4:13:21PM | Show Neg. Int: | No |  |  | ¦ | Report Time: | 6/13/2018 4:13:21PM | Show Neg. Int: | No |  |  | ¦ | Report Time: | 6/13/2018 4:13:21PM | Show Neg. Int: | No | ¦ | Report Time: | 6/13/2018 4:13:21PM | Show Neg. Int: | No | ¦ | Report Time: | 6/13/2018 4:13:21PM | Show Neg. Int: | No | ¦ | Report Time: | 6/13/2018 4:13:21PM | Show Neg. Int: | No | ¦ | Report Time: | 6/13/2018 4:13:21PM | Show Neg. Int: | No
[6 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦
[6 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦
[6 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦
[6 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦
[6 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦
[6 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦
[6 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦
Summary Report | [5 empty] | ¦ | Tabular Report | [5 empty] | ¦ | Cumulative Intrusion vs Pore size |  |  |  | ¦ | Incremental Intrusion vs Pore size |  |  |  | ¦ | Cumulative Pore Area vs Pore size |  |  |  | ¦ | Cumulative Intrusion vs Pressure |  |  |  | ¦ | Incremental Intrusion vs Pressure
Penetrometer parameters | [5 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦
[6 empty] | ¦ | Pressure (psia) | Mean Diameter (µm) | Cumulative Pore Volume (mL/g) | Incremental Pore Volume (mL/g) | Cumulative Pore Area (m²/g) | Incremental Pore Area (m²/g) | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦
Penetrometer: | 0470 - (25) 15 Bulb, 4.185 Stem, Solid |  |  |  |  | ¦ | 0.57646 | 313.7462 | 0 | 0 | 0 | 0 | ¦ | Intrusion for Cycle 1 |  | Extrusion for Cycle 1 |  | ¦ | Intrusion for Cycle 1 |  | Extrusion for Cycle 1 |  | ¦ | Intrusion for Cycle 1 |  | Extrusion for Cycle 1 |  | ¦ | Intrusion for Cycle 1 |  | Extrusion for Cycle 1 |  | ¦ | Intrusion for Cycle 1 |  | Extrusion for Cycle 1
[6 empty] | ¦ | 2.044 | 201.1156 | 0.016921 | 0.016921 | 0.00033655 | 0.00033655 | ¦ | Pore size Diameter (µm) | Cumulative Intrusion (mL/g) | Pore size Diameter (µm) | Cumulative Intrusion (mL/g) | ¦ | Pore size Diameter (µm) | Incremental Intrusion (mL/g) | Pore size Diameter (µm) | Incremental Intrusion (mL/g) | ¦ | Pore size Diameter (µm) | Cumulative Pore Area (m²/g) | Pore size Diameter (µm) | Cumulative Pore Area (m²/g) | ¦ | Pressure (psia) | Cumulative Intrusion (mL/g) | Pressure (psia) | Cumulative Intrusion (mL/g) | ¦ | Pressure (psia) | Incremental Intrusion (mL/g) | Pressure (psia) | Incremental Intrusion (mL/g)
[6 empty] | ¦ | 3.0059 | 74.3269 | 0.019521 | 0.0026 | 0.00047647 | 0.00013992 | ¦ | 313.7462 | 0 | 0.0030246 | 0.18745 | ¦ | 313.7462 | 0 | 0.0030246 | 0 | ¦ | 313.7462 | 0 | 0.0030246 | 3.6789 | ¦ | 0.57646 | 0 | 59796.6953 | 0.18745 | ¦ | 0.57646 | 0 | 59796.6953 | 0
Pen. Constant: | 34.480 | µL/pF | Pen. Weight: | 72.6310 | g | ¦ | 4.0009 | 52.6873 | 0.021153 | 0.0016316 | 0.00060034 | 0.00012387 | ¦ | 88.4851 | 0.016921 | 0.0039234 | 0.18329 | ¦ | 88.4851 | 0.016921 | 0.0039234 | 0.0041579 | ¦ | 88.4851 | 0.00033655 | 0.0039234 | -1.1085 | ¦ | 2.044 | 0.016921 | 46098.9648 | 0.18329 | ¦ | 2.044 | 0.016921 | 46098.9648 | 0.0041579
Stem Volume: | 4.1850 | mL | Max. Head Pressure: | 4.4500 | psia | ¦ | 5.4962 | 39.0566 | 0.023034 | 0.0018815 | 0.00079304 | 0.0001927 | ¦ | 60.1686 | 0.019521 | 0.0050942 | 0.18329 | ¦ | 60.1686 | 0.0026 | 0.0050942 | 0 | ¦ | 60.1686 | 0.00047647 | 0.0050942 | -1.1085 | ¦ | 3.0059 | 0.019521 | 35503.8359 | 0.18329 | ¦ | 3.0059 | 0.0026 | 35503.8359 | 0
Pen. Volume: | 19.1760 | mL | Assembly Weight: | 290.5400 | g | ¦ | 6.03 | 31.4505 | 0.023464 | 0.00042935 | 0.00084764 | 5.4606e-05 | ¦ | 45.206 | 0.021153 | 0.0066223 | 0.18329 | ¦ | 45.206 | 0.0016316 | 0.0066223 | 0 | ¦ | 45.206 | 0.00060034 | 0.0066223 | -1.1085 | ¦ | 4.0009 | 0.021153 | 27311.418 | 0.18329 | ¦ | 4.0009 | 0.0016316 | 27311.418 | 0
[6 empty] | ¦ | 7.4943 | 27.0637 | 0.024537 | 0.0010731 | 0.0010062 | 0.0001586 | ¦ | 32.9072 | 0.023034 | 0.0086044 | 0.18329 | ¦ | 32.9072 | 0.0018815 | 0.0086044 | 0 | ¦ | 32.9072 | 0.00079304 | 0.0086044 | -1.1085 | ¦ | 5.4962 | 0.023034 | 21019.7812 | 0.18329 | ¦ | 5.4962 | 0.0018815 | 21019.7812 | 0
[6 empty] | ¦ | 8.49 | 22.7183 | 0.025115 | 0.00057786 | 0.001108 | 0.00010174 | ¦ | 29.9939 | 0.023464 | 0.011287 | 0.18329 | ¦ | 29.9939 | 0.00042935 | 0.011287 | 0 | ¦ | 29.9939 | 0.00084764 | 0.011287 | -1.1085 | ¦ | 6.03 | 0.023464 | 16023.8652 | 0.18329 | ¦ | 6.03 | 0.00042935 | 16023.8652 | 0
Hg Parameters | [5 empty] | ¦ | 10.4802 | 19.2803 | 0.025931 | 0.00081677 | 0.0012774 | 0.00016945 | ¦ | 24.1335 | 0.024537 | 0.014556 | 0.18329 | ¦ | 24.1335 | 0.0010731 | 0.014556 | 0 | ¦ | 24.1335 | 0.0010062 | 0.014556 | -1.1085 | ¦ | 7.4943 | 0.024537 | 12425.7695 | 0.18329 | ¦ | 7.4943 | 0.0010731 | 12425.7695 | 0
[6 empty] | ¦ | 12.9881 | 15.5915 | 0.026688 | 0.00075622 | 0.0014714 | 0.00019401 | ¦ | 21.303 | 0.025115 | 0.018796 | 0.18329 | ¦ | 21.303 | 0.00057786 | 0.018796 | 0 | ¦ | 21.303 | 0.001108 | 0.018796 | -1.1085 | ¦ | 8.49 | 0.025115 | 9622.3662 | 0.18329 | ¦ | 8.49 | 0.00057786 | 9622.3662 | 0
Adv. Contact Angle: | 130.000 | degrees | Rec. Contact Angle: | 130.000 | degrees | ¦ | 15.9606 | 12.6286 | 0.027345 | 0.00065706 | 0.0016796 | 0.00020812 | ¦ | 17.2576 | 0.025931 | 0.024711 | 0.18329 | ¦ | 17.2576 | 0.00081677 | 0.024711 | 0 | ¦ | 17.2576 | 0.0012774 | 0.024711 | -1.1085 | ¦ | 10.4802 | 0.025931 | 7319.1094 | 0.18329 | ¦ | 10.4802 | 0.00081677 | 7319.1094 | 0
Hg Surface Tension: | 485.000 | dynes/cm | Hg Density: | 13.5335 | g/mL | ¦ | 20.0174 | 10.1836 | 0.027951 | 0.00060597 | 0.0019176 | 0.00023802 | ¦ | 13.9253 | 0.026688 | 0.031662 | 0.18329 | ¦ | 13.9253 | 0.00075622 | 0.031662 | 0 | ¦ | 13.9253 | 0.0014714 | 0.031662 | -1.1085 | ¦ | 12.9881 | 0.026688 | 5712.3403 | 0.18329 | ¦ | 12.9881 | 0.00075622 | 5712.3403 | 0
[6 empty] | ¦ | 25.002 | 8.1346 | 0.028531 | 0.00057977 | 0.0022027 | 0.00028509 | ¦ | 11.3319 | 0.027345 | 0.041982 | 0.18329 | ¦ | 11.3319 | 0.00065706 | 0.041982 | 0 | ¦ | 11.3319 | 0.0016796 | 0.041982 | -1.1085 | ¦ | 15.9606 | 0.027345 | 4308.1025 | 0.18329 | ¦ | 15.9606 | 0.00065706 | 4308.1025 | 0
[6 empty] | ¦ | 29.9798 | 6.6334 | 0.028531 | 0 | 0.0022027 | 0 | ¦ | 9.0353 | 0.027951 | 0.054743 | 0.18329 | ¦ | 9.0353 | 0.00060597 | 0.054743 | 0 | ¦ | 9.0353 | 0.0019176 | 0.054743 | -1.1085 | ¦ | 20.0174 | 0.027951 | 3303.8384 | 0.18329 | ¦ | 20.0174 | 0.00060597 | 3303.8384 | 0
User Parameters | [5 empty] | ¦ | 39.3699 | 5.3134 | 0.028922 | 0.00039146 | 0.0024974 | 0.00029469 | ¦ | 7.234 | 0.028531 | 0.069498 | 0.18329 | ¦ | 7.234 | 0.00057977 | 0.069498 | 0 | ¦ | 7.234 | 0.0022027 | 0.069498 | -1.1085 | ¦ | 25.002 | 0.028531 | 2602.4097 | 0.18329 | ¦ | 25.002 | 0.00057977 | 2602.4097 | 0
[6 empty] | ¦ | 48.4241 | 4.1645 | 0.02971 | 0.00078814 | 0.0032544 | 0.00075701 | ¦ | 6.0329 | 0.028531 | 0.090348 | 0.18329 | ¦ | 6.0329 | 0 | 0.090348 | 0 | ¦ | 6.0329 | 0.0022027 | 0.090348 | -1.1085 | ¦ | 29.9798 | 0.028531 | 2001.8586 | 0.18329 | ¦ | 29.9798 | 0 | 2001.8586 | 0
Param 1: | 0.000 | Param 2: | 0.000 | Param 3: | 0.000 | ¦ | 57.7909 | 3.4323 | 0.030497 | 0.00078654 | 0.004171 | 0.00091664 | ¦ | 4.594 | 0.028922 | 0.12041 | 0.18329 | ¦ | 4.594 | 0.00039146 | 0.12041 | 0 | ¦ | 4.594 | 0.0024974 | 0.12041 | -1.1085 | ¦ | 39.3699 | 0.028922 | 1502.0665 | 0.18329 | ¦ | 39.3699 | 0.00039146 | 1502.0665 | 0
[6 empty] | ¦ | 73.101 | 2.8019 | 0.031669 | 0.0011723 | 0.0058446 | 0.0016736 | ¦ | 3.735 | 0.02971 | 0.15062 | 0.18329 | ¦ | 3.735 | 0.00078814 | 0.15062 | 0 | ¦ | 3.735 | 0.0032544 | 0.15062 | -1.1085 | ¦ | 48.4241 | 0.02971 | 1200.828 | 0.18329 | ¦ | 48.4241 | 0.00078814 | 1200.828 | 0
[6 empty] | ¦ | 88.0134 | 2.2646 | 0.032774 | 0.0011047 | 0.0077959 | 0.0019513 | ¦ | 3.1296 | 0.030497 | 0.20051 | 0.18329 | ¦ | 3.1296 | 0.00078654 | 0.20051 | 0 | ¦ | 3.1296 | 0.004171 | 0.20051 | -1.1085 | ¦ | 57.7909 | 0.030497 | 902.0054 | 0.18329 | ¦ | 57.7909 | 0.00078654 | 902.0054 | 0
Low Pressure: | [5 empty] | ¦ | 112.6695 | 1.8301 | 0.034709 | 0.0019356 | 0.012026 | 0.0042306 | ¦ | 2.4742 | 0.031669 | 0.25787 | 0.18153 | ¦ | 2.4742 | 0.0011723 | 0.25787 | 0.0017594 | ¦ | 2.4742 | 0.0058446 | 0.25787 | -1.1392 | ¦ | 73.101 | 0.031669 | 701.3719 | 0.18153 | ¦ | 73.101 | 0.0011723 | 701.3719 | 0.0017594
[6 empty] | ¦ | 137.7724 | 1.459 | 0.03682 | 0.0021107 | 0.017813 | 0.0057866 | ¦ | 2.055 | 0.032774 | 0.36059 | 0.17879 | ¦ | 2.055 | 0.0011047 | 0.36059 | 0.0027421 | ¦ | 2.055 | 0.0077959 | 0.36059 | -1.1747 | ¦ | 88.0134 | 0.032774 | 501.5822 | 0.17879 | ¦ | 88.0134 | 0.0011047 | 501.5822 | 0.0027421
Evacuation Pressure: | 50 | µmHg |  |  |  | ¦ | 172.9456 | 1.1793 | 0.040441 | 0.0036208 | 0.030094 | 0.012281 | ¦ | 1.6053 | 0.034709 | 0.45031 | 0.1766 | ¦ | 1.6053 | 0.0019356 | 0.45031 | 0.0021895 | ¦ | 1.6053 | 0.012026 | 0.45031 | -1.1963 | ¦ | 112.6695 | 0.034709 | 401.6455 | 0.1766 | ¦ | 112.6695 | 0.0019356 | 401.6455 | 0.0021895
Evacuation Time: | 5 | mins |  |  |  | ¦ | 217.6173 | 0.93845 | 0.048075 | 0.0076345 | 0.062635 | 0.032541 | ¦ | 1.3128 | 0.03682 | 0.59958 | 0.17376 | ¦ | 1.3128 | 0.0021107 | 0.59958 | 0.0028381 | ¦ | 1.3128 | 0.017813 | 0.59958 | -1.2179 | ¦ | 137.7724 | 0.03682 | 301.6498 | 0.17376 | ¦ | 137.7724 | 0.0021107 | 301.6498 | 0.0028381
Mercury Filling Pressure: | 0.58 | psia |  |  |  | ¦ | 267.8275 | 0.7532 | 0.058892 | 0.010816 | 0.12008 | 0.057443 | ¦ | 1.0458 | 0.040441 | 0.75057 | 0.17187 | ¦ | 1.0458 | 0.0036208 | 0.75057 | 0.0018898 | ¦ | 1.0458 | 0.030094 | 0.75057 | -1.2291 | ¦ | 172.9456 | 0.040441 | 240.9694 | 0.17187 | ¦ | 172.9456 | 0.0036208 | 240.9694 | 0.0018898
Equilibration Time: | 10 | secs |  |  |  | ¦ | 328.2258 | 0.61317 | 0.071264 | 0.012373 | 0.20079 | 0.080714 | ¦ | 0.83111 | 0.048075 | 0.94995 | 0.16946 | ¦ | 0.83111 | 0.0076345 | 0.94995 | 0.0024121 | ¦ | 0.83111 | 0.062635 | 0.94995 | -1.2405 | ¦ | 217.6173 | 0.048075 | 190.392 | 0.16946 | ¦ | 217.6173 | 0.0076345 | 190.392 | 0.0024121
[6 empty] | ¦ | 417.7768 | 0.49198 | 0.08959 | 0.018325 | 0.34979 | 0.14899 | ¦ | 0.6753 | 0.058892 | 1.2407 | 0.16661 | ¦ | 0.6753 | 0.010816 | 1.2407 | 0.0028478 | ¦ | 0.6753 | 0.12008 | 1.2407 | -1.2509 | ¦ | 267.8275 | 0.058892 | 145.7711 | 0.16661 | ¦ | 267.8275 | 0.010816 | 145.7711 | 0.0028478
[6 empty] | ¦ | 518.0565 | 0.39102 | 0.10866 | 0.019066 | 0.54482 | 0.19503 | ¦ | 0.55103 | 0.071264 | 1.6196 | 0.16384 | ¦ | 0.55103 | 0.012373 | 1.6196 | 0.0027665 | ¦ | 0.55103 | 0.20079 | 1.6196 | -1.2586 | ¦ | 328.2258 | 0.071264 | 111.6731 | 0.16384 | ¦ | 328.2258 | 0.012373 | 111.6731 | 0.0027665
High Pressure: | [5 empty] | ¦ | 637.5802 | 0.3164 | 0.1242 | 0.015545 | 0.74135 | 0.19653 | ¦ | 0.43292 | 0.08959 | 2.0786 | 0.16055 | ¦ | 0.43292 | 0.018325 | 2.0786 | 0.0032973 | ¦ | 0.43292 | 0.34979 | 2.0786 | -1.2658 | ¦ | 417.7768 | 0.08959 | 87.011 | 0.16055 | ¦ | 417.7768 | 0.018325 | 87.011 | 0.0032973
[6 empty] | ¦ | 797.592 | 0.25522 | 0.138 | 0.013799 | 0.95763 | 0.21628 | ¦ | 0.34912 | 0.10866 | 2.7391 | 0.15758 | ¦ | 0.34912 | 0.019066 | 2.7391 | 0.0029653 | ¦ | 0.34912 | 0.54482 | 2.7391 | -1.2707 | ¦ | 518.0565 | 0.10866 | 66.0291 | 0.15758 | ¦ | 518.0565 | 0.019066 | 66.0291 | 0.0029653
Equilibration Time: | 10 | secs |  |  |  | ¦ | 987.5156 | 0.20496 | 0.14813 | 0.010125 | 1.1552 | 0.19761 | ¦ | 0.28367 | 0.1242 | 3.4733 | 0.15458 | ¦ | 0.28367 | 0.015545 | 3.4733 | 0.0030005 | ¦ | 0.28367 | 0.74135 | 3.4733 | -1.2745 | ¦ | 637.5802 | 0.1242 | 52.0724 | 0.15458 | ¦ | 637.5802 | 0.015545 | 52.0724 | 0.0030005
[6 empty] | ¦ | 1197.6165 | 0.16708 | 0.15562 | 0.0074945 | 1.3347 | 0.17942 | ¦ | 0.22676 | 0.138 | 5.6396 | 0.14985 | ¦ | 0.22676 | 0.013799 | 5.6396 | 0.0047306 | ¦ | 0.22676 | 0.95763 | 5.6396 | -1.2787 | ¦ | 797.592 | 0.138 | 32.0705 | 0.14985 | ¦ | 797.592 | 0.013799 | 32.0705 | 0.0047306
[6 empty] | ¦ | 1497.0371 | 0.13592 | 0.16251 | 0.0068914 | 1.5375 | 0.20281 | ¦ | 0.18315 | 0.14813 | 10.7312 | 0.14467 | ¦ | 0.18315 | 0.010125 | 10.7312 | 0.0051814 | ¦ | 0.18315 | 1.1552 | 10.7312 | -1.2812 | ¦ | 987.5156 | 0.14813 | 16.854 | 0.14467 | ¦ | 987.5156 | 0.010125 | 16.854 | 0.0051814
Blank Correction Sample: C:\9500\DATA\9410DATA\000-183.SMP Blank Correction ID: Blank Correction for PEN 25-0470 | [5 empty] | ¦ | 1896.8192 | 0.10808 | 0.16807 | 0.0055578 | 1.7432 | 0.20569 | ¦ | 0.15102 | 0.15562 |  |  | ¦ | 0.15102 | 0.0074945 |  |  | ¦ | 0.15102 | 1.3347 |  |  | ¦ | 1197.6165 | 0.15562 |  |  | ¦ | 1197.6165 | 0.0074945
Intrusion Data Summary | [5 empty] | ¦ | 2345.1721 | 0.086236 | 0.17223 | 0.0041646 | 1.9363 | 0.19317 | ¦ | 0.12081 | 0.16251 |  |  | ¦ | 0.12081 | 0.0068914 |  |  | ¦ | 0.12081 | 1.5375 |  |  | ¦ | 1497.0371 | 0.16251 |  |  | ¦ | 1497.0371 | 0.0068914
[6 empty] | ¦ | 2894.2271 | 0.069806 | 0.17555 | 0.0033136 | 2.1262 | 0.18987 | ¦ | 0.095351 | 0.16807 |  |  | ¦ | 0.095351 | 0.0055578 |  |  | ¦ | 0.095351 | 1.7432 |  |  | ¦ | 1896.8192 | 0.16807 |  |  | ¦ | 1896.8192 | 0.0055578
Total Intrusion Volume = | 0.1874 | mL/g |  |  |  | ¦ | 3591.573 | 0.056424 | 0.17835 | 0.0027991 | 2.3246 | 0.19843 | ¦ | 0.077122 | 0.17223 |  |  | ¦ | 0.077122 | 0.0041646 |  |  | ¦ | 0.077122 | 1.9363 |  |  | ¦ | 2345.1721 | 0.17223 |  |  | ¦ | 2345.1721 | 0.0041646
Total Pore Area = | 3.679 | m²/g |  |  |  | ¦ | 4490.3247 | 0.045318 | 0.18072 | 0.0023762 | 2.5344 | 0.20973 | ¦ | 0.062491 | 0.17555 |  |  | ¦ | 0.062491 | 0.0033136 |  |  | ¦ | 0.062491 | 2.1262 |  |  | ¦ | 2894.2271 | 0.17555 |  |  | ¦ | 2894.2271 | 0.0033136
Median Pore Diameter (Volume) = | 0.4127 | µm |  |  |  | ¦ | 5582.9048 | 0.036337 | 0.1825 | 0.001782 | 2.7305 | 0.19616 | ¦ | 0.050358 | 0.17835 |  |  | ¦ | 0.050358 | 0.0027991 |  |  | ¦ | 0.050358 | 2.3246 |  |  | ¦ | 3591.573 | 0.17835 |  |  | ¦ | 3591.573 | 0.0027991
Median Pore Diameter (Area) = | 0.0857 | µm |  |  |  | ¦ | 6878.3364 | 0.029345 | 0.18401 | 0.0015062 | 2.9358 | 0.2053 | ¦ | 0.040279 | 0.18072 |  |  | ¦ | 0.040279 | 0.0023762 |  |  | ¦ | 0.040279 | 2.5344 |  |  | ¦ | 4490.3247 | 0.18072 |  |  | ¦ | 4490.3247 | 0.0023762
Average Pore Diameter (4V/A) = | 0.2038 | µm |  |  |  | ¦ | 8575.2754 | 0.023693 | 0.18546 | 0.0014518 | 3.1809 | 0.24511 | ¦ | 0.032396 | 0.1825 |  |  | ¦ | 0.032396 | 0.001782 |  |  | ¦ | 0.032396 | 2.7305 |  |  | ¦ | 5582.9048 | 0.1825 |  |  | ¦ | 5582.9048 | 0.001782
Bulk Density at 0.58 psia = | 1.7195 | g/mL |  |  |  | ¦ | 10572.5234 | 0.019099 | 0.18645 | 0.00098425 | 3.3871 | 0.20614 | ¦ | 0.026295 | 0.18401 |  |  | ¦ | 0.026295 | 0.0015062 |  |  | ¦ | 0.026295 | 2.9358 |  |  | ¦ | 6878.3364 | 0.18401 |  |  | ¦ | 6878.3364 | 0.0015062
Apparent (skeletal) Density at 59796.70 psia = | 2.5372 | g/mL |  |  |  | ¦ | 13168 | 0.015421 | 0.18677 | 0.00031999 | 3.4701 | 0.083 | ¦ | 0.021091 | 0.18546 |  |  | ¦ | 0.021091 | 0.0014518 |  |  | ¦ | 0.021091 | 3.1809 |  |  | ¦ | 8575.2754 | 0.18546 |  |  | ¦ | 8575.2754 | 0.0014518
Porosity = | 32.2306 | % |  |  |  | ¦ | 14761.5645 | 0.012994 | 0.18745 | 0.00067846 | 3.6789 | 0.20886 | ¦ | 0.017107 | 0.18645 |  |  | ¦ | 0.017107 | 0.00098425 |  |  | ¦ | 0.017107 | 3.3871 |  |  | ¦ | 10572.5234 | 0.18645 |  |  | ¦ | 10572.5234 | 0.00098425
Stem Volume Used = | 29 | % |  |  |  | ¦ | 16355.0518 | 0.011655 | 0.18745 | 0 | 3.6789 | 0 | ¦ | 0.013735 | 0.18677 |  |  | ¦ | 0.013735 | 0.00031999 |  |  | ¦ | 0.013735 | 3.4701 |  |  | ¦ | 13168 | 0.18677 |  |  | ¦ | 13168 | 0.00031999
[6 empty] | ¦ | 19961.334 | 0.01006 | 0.18745 | 0 | 3.6789 | 0 | ¦ | 0.012252 | 0.18745 |  |  | ¦ | 0.012252 | 0.00067846 |  |  | ¦ | 0.012252 | 3.6789 |  |  | ¦ | 14761.5645 | 0.18745 |  |  | ¦ | 14761.5645 | 0.00067846
[6 empty] | ¦ | 24987.8242 | 0.0081494 | 0.18745 | 0 | 3.6789 | 0 | ¦ | 0.011059 | 0.18745 |  |  | ¦ | 0.011059 | 0 |  |  | ¦ | 0.011059 | 3.6789 |  |  | ¦ | 16355.0518 | 0.18745 |  |  | ¦ | 16355.0518 | 0
[6 empty] | ¦ | 29990.5859 | 0.0066344 | 0.18745 | 0 | 3.6789 | 0 | ¦ | 0.0090607 | 0.18745 |  |  | ¦ | 0.0090607 | 0 |  |  | ¦ | 0.0090607 | 3.6789 |  |  | ¦ | 19961.334 | 0.18745 |  |  | ¦ | 19961.334 | 0
[6 empty] | ¦ | 34989.4805 | 0.0055999 | 0.18745 | 0 | 3.6789 | 0 | ¦ | 0.0072381 | 0.18745 |  |  | ¦ | 0.0072381 | 0 |  |  | ¦ | 0.0072381 | 3.6789 |  |  | ¦ | 24987.8242 | 0.18745 |  |  | ¦ | 24987.8242 | 0
[6 empty] | ¦ | 39970.2656 | 0.004847 | 0.18745 | 0 | 3.6789 | 0 | ¦ | 0.0060307 | 0.18745 |  |  | ¦ | 0.0060307 | 0 |  |  | ¦ | 0.0060307 | 3.6789 |  |  | ¦ | 29990.5859 | 0.18745 |  |  | ¦ | 29990.5859 | 0
[6 empty] | ¦ | 44933.2969 | 0.0042751 | 0.18745 | 0 | 3.6789 | 0 | ¦ | 0.0051691 | 0.18745 |  |  | ¦ | 0.0051691 | 0 |  |  | ¦ | 0.0051691 | 3.6789 |  |  | ¦ | 34989.4805 | 0.18745 |  |  | ¦ | 34989.4805 | 0
[6 empty] | ¦ | 49931.9609 | 0.0038237 | 0.18745 | 0 | 3.6789 | 0 | ¦ | 0.004525 | 0.18745 |  |  | ¦ | 0.004525 | 0 |  |  | ¦ | 0.004525 | 3.6789 |  |  | ¦ | 39970.2656 | 0.18745 |  |  | ¦ | 39970.2656 | 0
[6 empty] | ¦ | 54912.9844 | 0.0034579 | 0.18745 | 0 | 3.6789 | 0 | ¦ | 0.0040252 | 0.18745 |  |  | ¦ | 0.0040252 | 0 |  |  | ¦ | 0.0040252 | 3.6789 |  |  | ¦ | 44933.2969 | 0.18745 |  |  | ¦ | 44933.2969 | 0
[6 empty] | ¦ | 59796.6953 | 0.0031591 | 0.18745 | 0 | 3.6789 | 0 | ¦ | 0.0036222 | 0.18745 |  |  | ¦ | 0.0036222 | 0 |  |  | ¦ | 0.0036222 | 3.6789 |  |  | ¦ | 49931.9609 | 0.18745 |  |  | ¦ | 49931.9609 | 0
[6 empty] | ¦ | 46098.9648 | 0.003474 | 0.18329 | -0.0041579 | -1.1085 | -4.7875 | ¦ | 0.0032936 | 0.18745 |  |  | ¦ | 0.0032936 | 0 |  |  | ¦ | 0.0032936 | 3.6789 |  |  | ¦ | 54912.9844 | 0.18745 |  |  | ¦ | 54912.9844 | 0
[6 empty] | ¦ | 35503.8359 | 0.0045088 | 0.18329 | 0 | -1.1085 | 0 | ¦ | 0.0030246 | 0.18745 |  |  | ¦ | 0.0030246 | 0 |  |  | ¦ | 0.0030246 | 3.6789 |  |  | ¦ | 59796.6953 | 0.18745 |  |  | ¦ | 59796.6953 | 0
[6 empty] | ¦ | 27311.418 | 0.0058582 | 0.18329 | 0 | -1.1085 | 0 | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦
[6 empty] | ¦ | 21019.7812 | 0.0076134 | 0.18329 | 0 | -1.1085 | 0 | ¦
[6 empty] | ¦ | 16023.8652 | 0.0099458 | 0.18329 | 0 | -1.1085 | 0 | ¦
[6 empty] | ¦ | 12425.7695 | 0.012921 | 0.18329 | 0 | -1.1085 | 0 | ¦
[6 empty] | ¦ | 9622.3662 | 0.016676 | 0.18329 | 0 | -1.1085 | 0 | ¦
[6 empty] | ¦ | 7319.1094 | 0.021754 | 0.18329 | 0 | -1.1085 | 0 | ¦
[6 empty] | ¦ | 5712.3403 | 0.028187 | 0.18329 | 0 | -1.1085 | 0 | ¦
[6 empty] | ¦ | 4308.1025 | 0.036822 | 0.18329 | 0 | -1.1085 | 0 | ¦
[6 empty] | ¦ | 3303.8384 | 0.048363 | 0.18329 | 0 | -1.1085 | 0 | ¦
[6 empty] | ¦ | 2602.4097 | 0.062121 | 0.18329 | 0 | -1.1085 | 0 | ¦
[6 empty] | ¦ | 2001.8586 | 0.079923 | 0.18329 | 0 | -1.1085 | 0 | ¦
[6 empty] | ¦ | 1502.0665 | 0.10538 | 0.18329 | 0 | -1.1085 | 0 | ¦
[6 empty] | ¦ | 1200.828 | 0.13551 | 0.18329 | 0 | -1.1085 | 0 | ¦
[6 empty] | ¦ | 902.0054 | 0.17556 | 0.18329 | 0 | -1.1085 | 0 | ¦
[6 empty] | ¦ | 701.3719 | 0.22919 | 0.18153 | -0.0017594 | -1.1392 | -0.030707 | ¦
[6 empty] | ¦ | 501.5822 | 0.30923 | 0.17879 | -0.0027421 | -1.1747 | -0.03547 | ¦
[6 empty] | ¦ | 401.6455 | 0.40545 | 0.1766 | -0.0021895 | -1.1963 | -0.021601 | ¦
[6 empty] | ¦ | 301.6498 | 0.52494 | 0.17376 | -0.0028381 | -1.2179 | -0.021626 | ¦
[6 empty] | ¦ | 240.9694 | 0.67507 | 0.17187 | -0.0018898 | -1.2291 | -0.011197 | ¦
[6 empty] | ¦ | 190.392 | 0.85026 | 0.16946 | -0.0024121 | -1.2405 | -0.011348 | ¦
[6 empty] | ¦ | 145.7711 | 1.0953 | 0.16661 | -0.0028478 | -1.2509 | -0.0104 | ¦
[6 empty] | ¦ | 111.6731 | 1.4302 | 0.16384 | -0.0027665 | -1.2586 | -0.0077376 | ¦
[6 empty] | ¦ | 87.011 | 1.8491 | 0.16055 | -0.0032973 | -1.2658 | -0.0071327 | ¦
[6 empty] | ¦ | 66.0291 | 2.4089 | 0.15758 | -0.0029653 | -1.2707 | -0.004924 | ¦
[6 empty] | ¦ | 52.0724 | 3.1062 | 0.15458 | -0.0030005 | -1.2745 | -0.0038639 | ¦
[6 empty] | ¦ | 32.0705 | 4.5564 | 0.14985 | -0.0047306 | -1.2787 | -0.0041529 | ¦
[6 empty] | ¦ | 16.854 | 8.1854 | 0.14467 | -0.0051814 | -1.2812 | -0.0025321 | ¦
[6 empty] | ¦ | [6 empty] | ¦
[6 empty] | ¦ | [6 empty] | ¦