## input
Micromeritics Instrument Corp | [5 empty] | ¦ | Micromeritics Instrument Corp | [5 empty] | ¦ | Micromeritics Instrument Corp |  |  |  | ¦ | Micromeritics Instrument Corp |  |  |  | ¦ | Micromeritics Instrument Corp |  |  |  | ¦ | Micromeritics Instrument Corp |  |  |  | ¦ | Micromeritics Instrument Corp
AutoPore IV 9500 V1.10 | Serial: 1431 | Port: 2/1 | Page 1 |  |  | ¦ | AutoPore IV 9500 V1.10 | Serial: 1431 | Port: 2/1 | Page 1 |  |  | ¦ | AutoPore IV 9500 V1.10 | Serial: 1431 | Port: 2/1 | Page 1 | ¦ | AutoPore IV 9500 V1.10 | Serial: 1431 | Port: 2/1 | Page 1 | ¦ | AutoPore IV 9500 V1.10 | Serial: 1431 | Port: 2/1 | Page 1 | ¦ | AutoPore IV 9500 V1.10 | Serial: 1431 | Port: 2/1 | Page 1 | ¦ | AutoPore IV 9500 V1.10 | Serial: 1431 | Port: 2/1 | Page 1
[6 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦
[6 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦
Sample ID: | 29X-6 |  |  |  |  | ¦ | Sample ID: | 29X-6 |  |  |  |  | ¦ | Sample ID: | 29X-6 |  |  | ¦ | Sample ID: | 29X-6 |  |  | ¦ | Sample ID: | 29X-6 |  |  | ¦ | Sample ID: | 29X-6 |  |  | ¦ | Sample ID: | 29X-6
Operator: | Glen Baum |  |  |  |  | ¦ | Operator: | Glen Baum |  |  |  |  | ¦ | Operator: | Glen Baum |  |  | ¦ | Operator: | Glen Baum |  |  | ¦ | Operator: | Glen Baum |  |  | ¦ | Operator: | Glen Baum |  |  | ¦ | Operator: | Glen Baum
Submitter: | MIchael Nole |  |  |  |  | ¦ | Submitter: | MIchael Nole |  |  |  |  | ¦ | Submitter: | MIchael Nole |  |  | ¦ | Submitter: | MIchael Nole |  |  | ¦ | Submitter: | MIchael Nole |  |  | ¦ | Submitter: | MIchael Nole |  |  | ¦ | Submitter: | MIchael Nole
File: | C:\9500\DATA\2018\000-449.SMP |  |  |  |  | ¦ | File: | C:\9500\DATA\2018\000-449.SMP |  |  |  |  | ¦ | File: | C:\9500\DATA\2018\000-449.SMP |  |  | ¦ | File: | C:\9500\DATA\2018\000-449.SMP |  |  | ¦ | File: | C:\9500\DATA\2018\000-449.SMP |  |  | ¦ | File: | C:\9500\DATA\2018\000-449.SMP |  |  | ¦ | File: | C:\9500\DATA\2018\000-449.SMP
[6 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦
[6 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦
LP Analysis Time: | 7/11/2018 12:15:34PM | Sample Weight: | 5.8130 g |  |  | ¦ | LP Analysis Time: | 7/11/2018 12:15:34PM | Sample Weight: | 5.8130 g |  |  | ¦ | LP Analysis Time: | 7/11/2018 12:15:34PM | Sample Weight: | 5.8130 g | ¦ | LP Analysis Time: | 7/11/2018 12:15:34PM | Sample Weight: | 5.8130 g | ¦ | LP Analysis Time: | 7/11/2018 12:15:34PM | Sample Weight: | 5.8130 g | ¦ | LP Analysis Time: | 7/11/2018 12:15:34PM | Sample Weight: | 5.8130 g | ¦ | LP Analysis Time: | 7/11/2018 12:15:34PM | Sample Weight: | 5.8130 g
HP Analysis Time: | 7/11/2018 2:09:18PM | Correction Type: | Blank |  |  | ¦ | HP Analysis Time: | 7/11/2018 2:09:18PM | Correction Type: | Blank |  |  | ¦ | HP Analysis Time: | 7/11/2018 2:09:18PM | Correction Type: | Blank | ¦ | HP Analysis Time: | 7/11/2018 2:09:18PM | Correction Type: | Blank | ¦ | HP Analysis Time: | 7/11/2018 2:09:18PM | Correction Type: | Blank | ¦ | HP Analysis Time: | 7/11/2018 2:09:18PM | Correction Type: | Blank | ¦ | HP Analysis Time: | 7/11/2018 2:09:18PM | Correction Type: | Blank
Report Time: | 7/11/2018 2:09:18PM | Show Neg. Int: | No |  |  | ¦ | Report Time: | 7/11/2018 2:09:18PM | Show Neg. Int: | No |  |  | ¦ | Report Time: | 7/11/2018 2:09:19PM | Show Neg. Int: | No | ¦ | Report Time: | 7/11/2018 2:09:19PM | Show Neg. Int: | No | ¦ | Report Time: | 7/11/2018 2:09:19PM | Show Neg. Int: | No | ¦ | Report Time: | 7/11/2018 2:09:19PM | Show Neg. Int: | No | ¦ | Report Time: | 7/11/2018 2:09:19PM | Show Neg. Int: | No
[6 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦
[6 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦
[6 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦
[6 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦
[6 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦
[6 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦
[6 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦
Summary Report | [5 empty] | ¦ | Tabular Report | [5 empty] | ¦ | Cumulative Intrusion vs Pore size |  |  |  | ¦ | Incremental Intrusion vs Pore size |  |  |  | ¦ | Cumulative Pore Area vs Pore size |  |  |  | ¦ | Cumulative Intrusion vs Pressure |  |  |  | ¦ | Incremental Intrusion vs Pressure
Penetrometer parameters | [5 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦
[6 empty] | ¦ | Pressure (psia) | Mean Diameter (µm) | Cumulative Pore Volume (mL/g) | Incremental Pore Volume (mL/g) | Cumulative Pore Area (m²/g) | Incremental Pore Area (m²/g) | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦
Penetrometer: | 0470 - (25) 15 Bulb, 4.185 Stem, Solid |  |  |  |  | ¦ | 0.57135 | 316.5551 | 0 | 0 | 0 | 0 | ¦ | Intrusion for Cycle 1 |  | Extrusion for Cycle 1 |  | ¦ | Intrusion for Cycle 1 |  | Extrusion for Cycle 1 |  | ¦ | Intrusion for Cycle 1 |  | Extrusion for Cycle 1 |  | ¦ | Intrusion for Cycle 1 |  | Extrusion for Cycle 1 |  | ¦ | Intrusion for Cycle 1 |  | Extrusion for Cycle 1
[6 empty] | ¦ | 2.0407 | 202.592 | 0.01948 | 0.01948 | 0.00038461 | 0.00038461 | ¦ | Pore size Diameter (µm) | Cumulative Intrusion (mL/g) | Pore size Diameter (µm) | Cumulative Intrusion (mL/g) | ¦ | Pore size Diameter (µm) | Incremental Intrusion (mL/g) | Pore size Diameter (µm) | Incremental Intrusion (mL/g) | ¦ | Pore size Diameter (µm) | Cumulative Pore Area (m²/g) | Pore size Diameter (µm) | Cumulative Pore Area (m²/g) | ¦ | Pressure (psia) | Cumulative Intrusion (mL/g) | Pressure (psia) | Cumulative Intrusion (mL/g) | ¦ | Pressure (psia) | Incremental Intrusion (mL/g) | Pressure (psia) | Incremental Intrusion (mL/g)
[6 empty] | ¦ | 3.0075 | 74.3836 | 0.022063 | 0.0025836 | 0.00052354 | 0.00013893 | ¦ | 316.5551 | 0 | 0.0030255 | 0.17263 | ¦ | 316.5551 | 0 | 0.0030255 | 0 | ¦ | 316.5551 | 0 | 0.0030255 | 8.143 | ¦ | 0.57135 | 0 | 59779.2227 | 0.17263 | ¦ | 0.57135 | 0 | 59779.2227 | 0
Pen. Constant: | 34.480 | µL/pF | Pen. Weight: | 72.6190 | g | ¦ | 4.0096 | 52.6232 | 0.023606 | 0.0015434 | 0.00064086 | 0.00011732 | ¦ | 88.6288 | 0.01948 | 0.0039234 | 0.16553 | ¦ | 88.6288 | 0.01948 | 0.0039234 | 0.0070962 | ¦ | 88.6288 | 0.00038461 | 0.0039234 | -0.026566 | ¦ | 2.0407 | 0.01948 | 46098.6719 | 0.16553 | ¦ | 2.0407 | 0.01948 | 46098.6719 | 0.0070962
Stem Volume: | 4.1850 | mL | Max. Head Pressure: | 4.4500 | psia | ¦ | 5.4948 | 39.0117 | 0.025318 | 0.0017113 | 0.00081632 | 0.00017546 | ¦ | 60.1383 | 0.022063 | 0.0050938 | 0.1652 | ¦ | 60.1383 | 0.0025836 | 0.0050938 | 0.00033216 | ¦ | 60.1383 | 0.00052354 | 0.0050938 | -0.32126 | ¦ | 3.0075 | 0.022063 | 35506.5586 | 0.1652 | ¦ | 3.0075 | 0.0025836 | 35506.5586 | 0.00033216
Pen. Volume: | 19.1760 | mL | Assembly Weight: | 293.6760 | g | ¦ | 6.0304 | 31.4536 | 0.025734 | 0.00041599 | 0.00086922 | 5.2902e-05 | ¦ | 45.108 | 0.023606 | 0.0066217 | 0.1652 | ¦ | 45.108 | 0.0015434 | 0.0066217 | 0 | ¦ | 45.108 | 0.00064086 | 0.0066217 | -0.32126 | ¦ | 4.0096 | 0.023606 | 27313.7051 | 0.1652 | ¦ | 4.0096 | 0.0015434 | 27313.7051 | 0
[6 empty] | ¦ | 7.4985 | 27.0559 | 0.026862 | 0.0011282 | 0.001036 | 0.0001668 | ¦ | 32.9153 | 0.025318 | 0.0086073 | 0.1652 | ¦ | 32.9153 | 0.0017113 | 0.0086073 | 0 | ¦ | 32.9153 | 0.00081632 | 0.0086073 | -0.32126 | ¦ | 5.4948 | 0.025318 | 21012.793 | 0.1652 | ¦ | 5.4948 | 0.0017113 | 21012.793 | 0
[6 empty] | ¦ | 8.4904 | 22.7111 | 0.02761 | 0.00074771 | 0.0011677 | 0.00013169 | ¦ | 29.9919 | 0.025734 | 0.011288 | 0.1652 | ¦ | 29.9919 | 0.00041599 | 0.011288 | 0 | ¦ | 29.9919 | 0.00086922 | 0.011288 | -0.32126 | ¦ | 6.0304 | 0.025734 | 16021.9443 | 0.1652 | ¦ | 6.0304 | 0.00041599 | 16021.9443 | 0
Hg Parameters | [5 empty] | ¦ | 10.4924 | 19.2699 | 0.028502 | 0.00089211 | 0.0013529 | 0.00018518 | ¦ | 24.1199 | 0.026862 | 0.014561 | 0.1652 | ¦ | 24.1199 | 0.0011282 | 0.014561 | 0 | ¦ | 24.1199 | 0.001036 | 0.014561 | -0.32126 | ¦ | 7.4985 | 0.026862 | 12421.0322 | 0.1652 | ¦ | 7.4985 | 0.0011282 | 12421.0322 | 0
[6 empty] | ¦ | 12.9743 | 15.5889 | 0.029311 | 0.00080941 | 0.0015606 | 0.00020769 | ¦ | 21.3022 | 0.02761 | 0.018796 | 0.1652 | ¦ | 21.3022 | 0.00074771 | 0.018796 | 0 | ¦ | 21.3022 | 0.0011677 | 0.018796 | -0.32126 | ¦ | 8.4904 | 0.02761 | 9622.2871 | 0.1652 | ¦ | 8.4904 | 0.00074771 | 9622.2871 | 0
Adv. Contact Angle: | 130.000 | degrees | Rec. Contact Angle: | 130.000 | degrees | ¦ | 15.9695 | 12.6328 | 0.030099 | 0.00078792 | 0.0018101 | 0.00024949 | ¦ | 17.2376 | 0.028502 | 0.0247 | 0.1652 | ¦ | 17.2376 | 0.00089211 | 0.0247 | 0 | ¦ | 17.2376 | 0.0013529 | 0.0247 | -0.32126 | ¦ | 10.4924 | 0.028502 | 7322.4688 | 0.1652 | ¦ | 10.4924 | 0.00089211 | 7322.4688 | 0
Hg Surface Tension: | 485.000 | dynes/cm | Hg Density: | 13.5335 | g/mL | ¦ | 20.0234 | 10.1791 | 0.030959 | 0.00086013 | 0.0021481 | 0.000338 | ¦ | 13.9401 | 0.029311 | 0.031657 | 0.1652 | ¦ | 13.9401 | 0.00080941 | 0.031657 | 0 | ¦ | 13.9401 | 0.0015606 | 0.031657 | -0.32126 | ¦ | 12.9743 | 0.029311 | 5713.2827 | 0.1652 | ¦ | 12.9743 | 0.00080941 | 5713.2827 | 0
[6 empty] | ¦ | 24.9986 | 8.1338 | 0.031584 | 0.00062497 | 0.0024554 | 0.00030734 | ¦ | 11.3255 | 0.030099 | 0.042022 | 0.1652 | ¦ | 11.3255 | 0.00078792 | 0.042022 | 0 | ¦ | 11.3255 | 0.0018101 | 0.042022 | -0.32126 | ¦ | 15.9695 | 0.030099 | 4303.9702 | 0.1652 | ¦ | 15.9695 | 0.00078792 | 4303.9702 | 0
[6 empty] | ¦ | 29.9812 | 6.6338 | 0.031584 | 0 | 0.0024554 | 0 | ¦ | 9.0326 | 0.030959 | 0.054772 | 0.1652 | ¦ | 9.0326 | 0.00086013 | 0.054772 | 0 | ¦ | 9.0326 | 0.0021481 | 0.054772 | -0.32126 | ¦ | 20.0234 | 0.030959 | 3302.1084 | 0.1652 | ¦ | 20.0234 | 0.00086013 | 3302.1084 | 0
User Parameters | [5 empty] | ¦ | 39.1472 | 5.3263 | 0.031935 | 0.00035086 | 0.0027189 | 0.00026349 | ¦ | 7.2349 | 0.031584 | 0.069458 | 0.1652 | ¦ | 7.2349 | 0.00062497 | 0.069458 | 0 | ¦ | 7.2349 | 0.0024554 | 0.069458 | -0.32126 | ¦ | 24.9986 | 0.031584 | 2603.9216 | 0.1652 | ¦ | 24.9986 | 0.00062497 | 2603.9216 | 0
[6 empty] | ¦ | 47.6424 | 4.2082 | 0.032294 | 0.00035912 | 0.0030603 | 0.00034136 | ¦ | 6.0326 | 0.031584 | 0.090328 | 0.16472 | ¦ | 6.0326 | 0 | 0.090328 | 0.0004801 | ¦ | 6.0326 | 0.0024554 | 0.090328 | -0.34529 | ¦ | 29.9812 | 0.031584 | 2002.2957 | 0.16472 | ¦ | 29.9812 | 0 | 2002.2957 | 0.0004801
Param 1: | 0.000 | Param 2: | 0.000 | Param 3: | 0.000 | ¦ | 57.722 | 3.4648 | 0.032867 | 0.00057246 | 0.0037211 | 0.00066089 | ¦ | 4.6201 | 0.031935 | 0.12045 | 0.16187 | ¦ | 4.6201 | 0.00035086 | 0.12045 | 0.0028511 | ¦ | 4.6201 | 0.0027189 | 0.12045 | -0.45351 | ¦ | 39.1472 | 0.031935 | 1501.5117 | 0.16187 | ¦ | 39.1472 | 0.00035086 | 1501.5117 | 0.0028511
[6 empty] | ¦ | 72.8069 | 2.8088 | 0.0336 | 0.000733 | 0.004765 | 0.0010439 | ¦ | 3.7963 | 0.032294 | 0.15049 | 0.15938 | ¦ | 3.7963 | 0.00035912 | 0.15049 | 0.0024931 | ¦ | 3.7963 | 0.0030603 | 0.15049 | -0.52712 | ¦ | 47.6424 | 0.032294 | 1201.7915 | 0.15938 | ¦ | 47.6424 | 0.00035912 | 1201.7915 | 0.0024931
[6 empty] | ¦ | 87.7902 | 2.2722 | 0.03417 | 0.00057047 | 0.0057693 | 0.0010043 | ¦ | 3.1334 | 0.032867 | 0.20056 | 0.15573 | ¦ | 3.1334 | 0.00057246 | 0.20056 | 0.0036473 | ¦ | 3.1334 | 0.0037211 | 0.20056 | -0.61023 | ¦ | 57.722 | 0.032867 | 901.8115 | 0.15573 | ¦ | 57.722 | 0.00057246 | 901.8115 | 0.0036473
Low Pressure: | [5 empty] | ¦ | 112.3838 | 1.8348 | 0.03506 | 0.00088963 | 0.0077088 | 0.0019395 | ¦ | 2.4842 | 0.0336 | 0.25765 | 0.15214 | ¦ | 2.4842 | 0.000733 | 0.25765 | 0.0035921 | ¦ | 2.4842 | 0.004765 | 0.25765 | -0.67295 | ¦ | 72.8069 | 0.0336 | 701.9847 | 0.15214 | ¦ | 72.8069 | 0.000733 | 701.9847 | 0.0035921
[6 empty] | ¦ | 137.6936 | 1.4614 | 0.035595 | 0.00053541 | 0.0091742 | 0.0014655 | ¦ | 2.0602 | 0.03417 | 0.36051 | 0.14678 | ¦ | 2.0602 | 0.00057047 | 0.36051 | 0.0053556 | ¦ | 2.0602 | 0.0057693 | 0.36051 | -0.74226 | ¦ | 87.7902 | 0.03417 | 501.6865 | 0.14678 | ¦ | 87.7902 | 0.00057047 | 501.6865 | 0.0053556
Evacuation Pressure: | 50 | µmHg |  |  |  | ¦ | 173.0081 | 1.1795 | 0.036159 | 0.00056349 | 0.011085 | 0.001911 | ¦ | 1.6093 | 0.03506 | 0.45004 | 0.14276 | ¦ | 1.6093 | 0.00088963 | 0.45004 | 0.0040194 | ¦ | 1.6093 | 0.0077088 | 0.45004 | -0.78193 | ¦ | 112.3838 | 0.03506 | 401.8828 | 0.14276 | ¦ | 112.3838 | 0.00088963 | 401.8828 | 0.0040194
Evacuation Time: | 5 | mins |  |  |  | ¦ | 218.1708 | 0.9372 | 0.036582 | 0.00042377 | 0.012894 | 0.0018087 | ¦ | 1.3135 | 0.035595 | 0.59828 | 0.13758 | ¦ | 1.3135 | 0.00053541 | 0.59828 | 0.0051875 | ¦ | 1.3135 | 0.0091742 | 0.59828 | -0.82152 | ¦ | 137.6936 | 0.035595 | 302.3041 | 0.13758 | ¦ | 137.6936 | 0.00053541 | 302.3041 | 0.0051875
Mercury Filling Pressure: | 0.57 | psia |  |  |  | ¦ | 267.7257 | 0.75228 | 0.036995 | 0.00041262 | 0.015088 | 0.002194 | ¦ | 1.0454 | 0.036159 | 0.75067 | 0.1339 | ¦ | 1.0454 | 0.00056349 | 0.75067 | 0.0036807 | ¦ | 1.0454 | 0.011085 | 0.75067 | -0.84335 | ¦ | 173.0081 | 0.036159 | 240.9352 | 0.1339 | ¦ | 173.0081 | 0.00056349 | 240.9352 | 0.0036807
Equilibration Time: | 10 | secs |  |  |  | ¦ | 327.997 | 0.61349 | 0.03748 | 0.00048525 | 0.018252 | 0.0031639 | ¦ | 0.829 | 0.036582 | 0.94377 | 0.12974 | ¦ | 0.829 | 0.00042377 | 0.94377 | 0.0041589 | ¦ | 0.829 | 0.012894 | 0.94377 | -0.86298 | ¦ | 218.1708 | 0.036582 | 191.6393 | 0.12974 | ¦ | 218.1708 | 0.00042377 | 191.6393 | 0.0041589
[6 empty] | ¦ | 418.1878 | 0.49196 | 0.038208 | 0.00072722 | 0.024165 | 0.0059129 | ¦ | 0.67556 | 0.036995 | 1.231 | 0.12505 | ¦ | 0.67556 | 0.00041262 | 1.231 | 0.0046917 | ¦ | 0.67556 | 0.015088 | 1.231 | -0.88024 | ¦ | 267.7257 | 0.036995 | 146.9191 | 0.12505 | ¦ | 267.7257 | 0.00041262 | 146.9191 | 0.0046917
[6 empty] | ¦ | 518.3008 | 0.39072 | 0.03954 | 0.0013326 | 0.037807 | 0.013643 | ¦ | 0.55142 | 0.03748 | 1.6142 | 0.12031 | ¦ | 0.55142 | 0.00048525 | 1.6142 | 0.0047363 | ¦ | 0.55142 | 0.018252 | 1.6142 | -0.89356 | ¦ | 327.997 | 0.03748 | 112.0433 | 0.12031 | ¦ | 327.997 | 0.00048525 | 112.0433 | 0.0047363
High Pressure: | [5 empty] | ¦ | 637.5603 | 0.31632 | 0.043463 | 0.0039225 | 0.08741 | 0.049602 | ¦ | 0.43249 | 0.038208 | 2.0919 | 0.116 | ¦ | 0.43249 | 0.00072722 | 2.0919 | 0.0043095 | ¦ | 0.43249 | 0.024165 | 2.0919 | -0.90286 | ¦ | 418.1878 | 0.038208 | 86.4582 | 0.116 | ¦ | 418.1878 | 0.00072722 | 86.4582 | 0.0043095
[6 empty] | ¦ | 797.3496 | 0.25526 | 0.053396 | 0.0099334 | 0.24307 | 0.15566 | ¦ | 0.34895 | 0.03954 | 2.6788 | 0.11195 | ¦ | 0.34895 | 0.0013326 | 2.6788 | 0.0040512 | ¦ | 0.34895 | 0.037807 | 2.6788 | -0.90965 | ¦ | 518.3008 | 0.03954 | 67.5157 | 0.11195 | ¦ | 518.3008 | 0.0013326 | 67.5157 | 0.0040512
Equilibration Time: | 10 | secs |  |  |  | ¦ | 987.9598 | 0.20495 | 0.067913 | 0.014517 | 0.5264 | 0.28333 | ¦ | 0.28368 | 0.043463 | 3.4682 | 0.10859 | ¦ | 0.28368 | 0.0039225 | 3.4682 | 0.003358 | ¦ | 0.28368 | 0.08741 | 3.4682 | -0.91402 | ¦ | 637.5603 | 0.043463 | 52.1494 | 0.10859 | ¦ | 637.5603 | 0.0039225 | 52.1494 | 0.003358
[6 empty] | ¦ | 1197.4553 | 0.16705 | 0.087137 | 0.019224 | 0.9867 | 0.4603 | ¦ | 0.22683 | 0.053396 | 5.6529 | 0.10366 | ¦ | 0.22683 | 0.0099334 | 5.6529 | 0.0049284 | ¦ | 0.22683 | 0.24307 | 5.6529 | -0.91835 | ¦ | 797.3496 | 0.053396 | 31.995 | 0.10366 | ¦ | 797.3496 | 0.0099334 | 31.995 | 0.0049284
[6 empty] | ¦ | 1497.0555 | 0.13593 | 0.10645 | 0.019311 | 1.555 | 0.56827 | ¦ | 0.18307 | 0.067913 | 10.4915 | 0.099101 | ¦ | 0.18307 | 0.014517 | 10.4915 | 0.0045611 | ¦ | 0.18307 | 0.5264 | 10.4915 | -0.92061 | ¦ | 987.9598 | 0.067913 | 17.2391 | 0.099101 | ¦ | 987.9598 | 0.014517 | 17.2391 | 0.0045611
Blank Correction Sample: C:\9500\DATA\9410DATA\000-183.SMP Blank Correction ID: Blank Correction for PEN 25-0470 | [5 empty] | ¦ | 1896.0642 | 0.1081 | 0.12207 | 0.015627 | 2.1332 | 0.57823 | ¦ | 0.15104 | 0.087137 |  |  | ¦ | 0.15104 | 0.019224 |  |  | ¦ | 0.15104 | 0.9867 |  |  | ¦ | 1197.4553 | 0.087137 |  |  | ¦ | 1197.4553 | 0.019224
Intrusion Data Summary | [5 empty] | ¦ | 2345.2905 | 0.086253 | 0.13305 | 0.010976 | 2.6422 | 0.50903 | ¦ | 0.12081 | 0.10645 |  |  | ¦ | 0.12081 | 0.019311 |  |  | ¦ | 0.12081 | 1.555 |  |  | ¦ | 1497.0555 | 0.10645 |  |  | ¦ | 1497.0555 | 0.019311
[6 empty] | ¦ | 2893.7627 | 0.069809 | 0.1417 | 0.0086483 | 3.1378 | 0.49554 | ¦ | 0.095389 | 0.12207 |  |  | ¦ | 0.095389 | 0.015627 |  |  | ¦ | 0.095389 | 2.1332 |  |  | ¦ | 1896.0642 | 0.12207 |  |  | ¦ | 1896.0642 | 0.015627
Total Intrusion Volume = | 0.1726 | mL/g |  |  |  | ¦ | 3592.9675 | 0.05642 | 0.14831 | 0.0066106 | 3.6064 | 0.46867 | ¦ | 0.077118 | 0.13305 |  |  | ¦ | 0.077118 | 0.010976 |  |  | ¦ | 0.077118 | 2.6422 |  |  | ¦ | 2345.2905 | 0.13305 |  |  | ¦ | 2345.2905 | 0.010976
Total Pore Area = | 8.143 | m²/g |  |  |  | ¦ | 4489.0635 | 0.045314 | 0.15414 | 0.0058288 | 4.121 | 0.51452 | ¦ | 0.062501 | 0.1417 |  |  | ¦ | 0.062501 | 0.0086483 |  |  | ¦ | 0.062501 | 3.1378 |  |  | ¦ | 2893.7627 | 0.1417 |  |  | ¦ | 2893.7627 | 0.0086483
Median Pore Diameter (Volume) = | 0.1523 | µm |  |  |  | ¦ | 5581.854 | 0.036346 | 0.15832 | 0.0041843 | 4.5815 | 0.4605 | ¦ | 0.050338 | 0.14831 |  |  | ¦ | 0.050338 | 0.0066106 |  |  | ¦ | 0.050338 | 3.6064 |  |  | ¦ | 3592.9675 | 0.14831 |  |  | ¦ | 3592.9675 | 0.0066106
Median Pore Diameter (Area) = | 0.0411 | µm |  |  |  | ¦ | 6877.7456 | 0.029349 | 0.16136 | 0.0030395 | 4.9957 | 0.41425 | ¦ | 0.04029 | 0.15414 |  |  | ¦ | 0.04029 | 0.0058288 |  |  | ¦ | 0.04029 | 4.121 |  |  | ¦ | 4489.0635 | 0.15414 |  |  | ¦ | 4489.0635 | 0.0058288
Average Pore Diameter (4V/A) = | 0.0848 | µm |  |  |  | ¦ | 8576.4619 | 0.023693 | 0.16371 | 0.0023433 | 5.3913 | 0.39561 | ¦ | 0.032402 | 0.15832 |  |  | ¦ | 0.032402 | 0.0041843 |  |  | ¦ | 0.032402 | 4.5815 |  |  | ¦ | 5581.854 | 0.15832 |  |  | ¦ | 5581.854 | 0.0041843
Bulk Density at 0.57 psia = | 1.7769 | g/mL |  |  |  | ¦ | 10569.8125 | 0.0191 | 0.16583 | 0.0021205 | 5.8354 | 0.44409 | ¦ | 0.026297 | 0.16136 |  |  | ¦ | 0.026297 | 0.0030395 |  |  | ¦ | 0.026297 | 4.9957 |  |  | ¦ | 6877.7456 | 0.16136 |  |  | ¦ | 6877.7456 | 0.0030395
Apparent (skeletal) Density at 59779.22 psia = | 2.5631 | g/mL |  |  |  | ¦ | 13168.1562 | 0.015423 | 0.16708 | 0.0012516 | 6.16 | 0.32459 | ¦ | 0.021088 | 0.16371 |  |  | ¦ | 0.021088 | 0.0023433 |  |  | ¦ | 0.021088 | 5.3913 |  |  | ¦ | 8576.4619 | 0.16371 |  |  | ¦ | 8576.4619 | 0.0023433
Porosity = | 30.6745 | % |  |  |  | ¦ | 14765.8711 | 0.012992 | 0.16778 | 0.00069866 | 6.3751 | 0.21511 | ¦ | 0.017111 | 0.16583 |  |  | ¦ | 0.017111 | 0.0021205 |  |  | ¦ | 0.017111 | 5.8354 |  |  | ¦ | 10569.8125 | 0.16583 |  |  | ¦ | 10569.8125 | 0.0021205
Stem Volume Used = | 25 | % |  |  |  | ¦ | 16362.3135 | 0.011651 | 0.17077 | 0.0029962 | 7.4037 | 1.0286 | ¦ | 0.013735 | 0.16708 |  |  | ¦ | 0.013735 | 0.0012516 |  |  | ¦ | 0.013735 | 6.16 |  |  | ¦ | 13168.1562 | 0.16708 |  |  | ¦ | 13168.1562 | 0.0012516
[6 empty] | ¦ | 19962.5234 | 0.010057 | 0.17263 | 0.0018585 | 8.143 | 0.73921 | ¦ | 0.012249 | 0.16778 |  |  | ¦ | 0.012249 | 0.00069866 |  |  | ¦ | 0.012249 | 6.3751 |  |  | ¦ | 14765.8711 | 0.16778 |  |  | ¦ | 14765.8711 | 0.00069866
[6 empty] | ¦ | 24988.8633 | 0.008149 | 0.17263 | 0 | 8.143 | 0 | ¦ | 0.011054 | 0.17077 |  |  | ¦ | 0.011054 | 0.0029962 |  |  | ¦ | 0.011054 | 7.4037 |  |  | ¦ | 16362.3135 | 0.17077 |  |  | ¦ | 16362.3135 | 0.0029962
[6 empty] | ¦ | 29991.707 | 0.0066341 | 0.17263 | 0 | 8.143 | 0 | ¦ | 0.0090602 | 0.17263 |  |  | ¦ | 0.0090602 | 0.0018585 |  |  | ¦ | 0.0090602 | 8.143 |  |  | ¦ | 19962.5234 | 0.17263 |  |  | ¦ | 19962.5234 | 0.0018585
[6 empty] | ¦ | 34992.3867 | 0.0055996 | 0.17263 | 0 | 8.143 | 0 | ¦ | 0.0072378 | 0.17263 |  |  | ¦ | 0.0072378 | 0 |  |  | ¦ | 0.0072378 | 8.143 |  |  | ¦ | 24988.8633 | 0.17263 |  |  | ¦ | 24988.8633 | 0
[6 empty] | ¦ | 39983.8672 | 0.004846 | 0.17263 | 0 | 8.143 | 0 | ¦ | 0.0060305 | 0.17263 |  |  | ¦ | 0.0060305 | 0 |  |  | ¦ | 0.0060305 | 8.143 |  |  | ¦ | 29991.707 | 0.17263 |  |  | ¦ | 29991.707 | 0
[6 empty] | ¦ | 44933.9258 | 0.0042743 | 0.17263 | 0 | 8.143 | 0 | ¦ | 0.0051687 | 0.17263 |  |  | ¦ | 0.0051687 | 0 |  |  | ¦ | 0.0051687 | 8.143 |  |  | ¦ | 34992.3867 | 0.17263 |  |  | ¦ | 34992.3867 | 0
[6 empty] | ¦ | 49933.3555 | 0.0038236 | 0.17263 | 0 | 8.143 | 0 | ¦ | 0.0045234 | 0.17263 |  |  | ¦ | 0.0045234 | 0 |  |  | ¦ | 0.0045234 | 8.143 |  |  | ¦ | 39983.8672 | 0.17263 |  |  | ¦ | 39983.8672 | 0
[6 empty] | ¦ | 54910.8203 | 0.0034579 | 0.17263 | 0 | 8.143 | 0 | ¦ | 0.0040251 | 0.17263 |  |  | ¦ | 0.0040251 | 0 |  |  | ¦ | 0.0040251 | 8.143 |  |  | ¦ | 44933.9258 | 0.17263 |  |  | ¦ | 44933.9258 | 0
[6 empty] | ¦ | 59779.2227 | 0.0031596 | 0.17263 | 0 | 8.143 | 0 | ¦ | 0.0036221 | 0.17263 |  |  | ¦ | 0.0036221 | 0 |  |  | ¦ | 0.0036221 | 8.143 |  |  | ¦ | 49933.3555 | 0.17263 |  |  | ¦ | 49933.3555 | 0
[6 empty] | ¦ | 46098.6719 | 0.0034745 | 0.16553 | -0.0070962 | -0.026566 | -8.1695 | ¦ | 0.0032938 | 0.17263 |  |  | ¦ | 0.0032938 | 0 |  |  | ¦ | 0.0032938 | 8.143 |  |  | ¦ | 54910.8203 | 0.17263 |  |  | ¦ | 54910.8203 | 0
[6 empty] | ¦ | 35506.5586 | 0.0045086 | 0.1652 | -0.00033216 | -0.32126 | -0.29469 | ¦ | 0.0030255 | 0.17263 |  |  | ¦ | 0.0030255 | 0 |  |  | ¦ | 0.0030255 | 8.143 |  |  | ¦ | 59779.2227 | 0.17263 |  |  | ¦ | 59779.2227 | 0
[6 empty] | ¦ | 27313.7051 | 0.0058578 | 0.1652 | 0 | -0.32126 | 0 | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦
[6 empty] | ¦ | 21012.793 | 0.0076145 | 0.1652 | 0 | -0.32126 | 0 | ¦
[6 empty] | ¦ | 16021.9443 | 0.0099479 | 0.1652 | 0 | -0.32126 | 0 | ¦
[6 empty] | ¦ | 12421.0322 | 0.012925 | 0.1652 | 0 | -0.32126 | 0 | ¦
[6 empty] | ¦ | 9622.2871 | 0.016679 | 0.1652 | 0 | -0.32126 | 0 | ¦
[6 empty] | ¦ | 7322.4688 | 0.021748 | 0.1652 | 0 | -0.32126 | 0 | ¦
[6 empty] | ¦ | 5713.2827 | 0.028178 | 0.1652 | 0 | -0.32126 | 0 | ¦
[6 empty] | ¦ | 4303.9702 | 0.03684 | 0.1652 | 0 | -0.32126 | 0 | ¦
[6 empty] | ¦ | 3302.1084 | 0.048397 | 0.1652 | 0 | -0.32126 | 0 | ¦
[6 empty] | ¦ | 2603.9216 | 0.062115 | 0.1652 | 0 | -0.32126 | 0 | ¦
[6 empty] | ¦ | 2002.2957 | 0.079893 | 0.16472 | -0.0004801 | -0.34529 | -0.024037 | ¦
[6 empty] | ¦ | 1501.5117 | 0.10539 | 0.16187 | -0.0028511 | -0.45351 | -0.10821 | ¦
[6 empty] | ¦ | 1201.7915 | 0.13547 | 0.15938 | -0.0024931 | -0.52712 | -0.073611 | ¦
[6 empty] | ¦ | 901.8115 | 0.17553 | 0.15573 | -0.0036473 | -0.61023 | -0.083117 | ¦
[6 empty] | ¦ | 701.9847 | 0.2291 | 0.15214 | -0.0035921 | -0.67295 | -0.062717 | ¦
[6 empty] | ¦ | 501.6865 | 0.30908 | 0.14678 | -0.0053556 | -0.74226 | -0.069311 | ¦
[6 empty] | ¦ | 401.8828 | 0.40528 | 0.14276 | -0.0040194 | -0.78193 | -0.039671 | ¦
[6 empty] | ¦ | 302.3041 | 0.52416 | 0.13758 | -0.0051875 | -0.82152 | -0.039587 | ¦
[6 empty] | ¦ | 240.9352 | 0.67448 | 0.1339 | -0.0036807 | -0.84335 | -0.021828 | ¦
[6 empty] | ¦ | 191.6393 | 0.84722 | 0.12974 | -0.0041589 | -0.86298 | -0.019635 | ¦
[6 empty] | ¦ | 146.9191 | 1.0874 | 0.12505 | -0.0046917 | -0.88024 | -0.017258 | ¦
[6 empty] | ¦ | 112.0433 | 1.4226 | 0.12031 | -0.0047363 | -0.89356 | -0.013317 | ¦
[6 empty] | ¦ | 86.4582 | 1.8531 | 0.116 | -0.0043095 | -0.90286 | -0.0093025 | ¦
[6 empty] | ¦ | 67.5157 | 2.3854 | 0.11195 | -0.0040512 | -0.90965 | -0.0067934 | ¦
[6 empty] | ¦ | 52.1494 | 3.0735 | 0.10859 | -0.003358 | -0.91402 | -0.0043702 | ¦
[6 empty] | ¦ | 31.995 | 4.5605 | 0.10366 | -0.0049284 | -0.91835 | -0.0043227 | ¦
[6 empty] | ¦ | 17.2391 | 8.0722 | 0.099101 | -0.0045611 | -0.92061 | -0.0022602 | ¦
[6 empty] | ¦ | [6 empty] | ¦
[6 empty] | ¦ | [6 empty] | ¦