## input
Micromeritics Instrument Corp | [5 empty] | ¦ | Micromeritics Instrument Corp | [5 empty] | ¦ | Micromeritics Instrument Corp |  |  |  | ¦ | Micromeritics Instrument Corp |  |  |  | ¦ | Micromeritics Instrument Corp |  |  |  | ¦ | Micromeritics Instrument Corp |  |  |  | ¦ | Micromeritics Instrument Corp
AutoPore IV 9500 V1.10 | Serial: 1431 | Port: 2/1 | Page 1 |  |  | ¦ | AutoPore IV 9500 V1.10 | Serial: 1431 | Port: 2/1 | Page 1 |  |  | ¦ | AutoPore IV 9500 V1.10 | Serial: 1431 | Port: 2/1 | Page 1 | ¦ | AutoPore IV 9500 V1.10 | Serial: 1431 | Port: 2/1 | Page 1 | ¦ | AutoPore IV 9500 V1.10 | Serial: 1431 | Port: 2/1 | Page 1 | ¦ | AutoPore IV 9500 V1.10 | Serial: 1431 | Port: 2/1 | Page 1 | ¦ | AutoPore IV 9500 V1.10 | Serial: 1431 | Port: 2/1 | Page 1
[6 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦
[6 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦
Sample ID: | 10F-2 (117-122 cm) |  |  |  |  | ¦ | Sample ID: | 10F-2 (117-122 cm) |  |  |  |  | ¦ | Sample ID: | 10F-2 (117-122 cm) |  |  | ¦ | Sample ID: | 10F-2 (117-122 cm) |  |  | ¦ | Sample ID: | 10F-2 (117-122 cm) |  |  | ¦ | Sample ID: | 10F-2 (117-122 cm) |  |  | ¦ | Sample ID: | 10F-2 (117-122 cm)
Operator: | Glen Baum |  |  |  |  | ¦ | Operator: | Glen Baum |  |  |  |  | ¦ | Operator: | Glen Baum |  |  | ¦ | Operator: | Glen Baum |  |  | ¦ | Operator: | Glen Baum |  |  | ¦ | Operator: | Glen Baum |  |  | ¦ | Operator: | Glen Baum
Submitter: | Michael Nole |  |  |  |  | ¦ | Submitter: | Michael Nole |  |  |  |  | ¦ | Submitter: | Michael Nole |  |  | ¦ | Submitter: | Michael Nole |  |  | ¦ | Submitter: | Michael Nole |  |  | ¦ | Submitter: | Michael Nole |  |  | ¦ | Submitter: | Michael Nole
File: | C:\9500\DATA\2018\000-441.SMP |  |  |  |  | ¦ | File: | C:\9500\DATA\2018\000-441.SMP |  |  |  |  | ¦ | File: | C:\9500\DATA\2018\000-441.SMP |  |  | ¦ | File: | C:\9500\DATA\2018\000-441.SMP |  |  | ¦ | File: | C:\9500\DATA\2018\000-441.SMP |  |  | ¦ | File: | C:\9500\DATA\2018\000-441.SMP |  |  | ¦ | File: | C:\9500\DATA\2018\000-441.SMP
[6 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦
[6 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦
LP Analysis Time: | 6/13/2018 10:26:12AM | Sample Weight: | 6.7610 g |  |  | ¦ | LP Analysis Time: | 6/13/2018 10:26:12AM | Sample Weight: | 6.7610 g |  |  | ¦ | LP Analysis Time: | 6/13/2018 10:26:12AM | Sample Weight: | 6.7610 g | ¦ | LP Analysis Time: | 6/13/2018 10:26:12AM | Sample Weight: | 6.7610 g | ¦ | LP Analysis Time: | 6/13/2018 10:26:12AM | Sample Weight: | 6.7610 g | ¦ | LP Analysis Time: | 6/13/2018 10:26:12AM | Sample Weight: | 6.7610 g | ¦ | LP Analysis Time: | 6/13/2018 10:26:12AM | Sample Weight: | 6.7610 g
HP Analysis Time: | 6/13/2018 12:17:25PM | Correction Type: | Blank |  |  | ¦ | HP Analysis Time: | 6/13/2018 12:17:25PM | Correction Type: | Blank |  |  | ¦ | HP Analysis Time: | 6/13/2018 12:17:25PM | Correction Type: | Blank | ¦ | HP Analysis Time: | 6/13/2018 12:17:25PM | Correction Type: | Blank | ¦ | HP Analysis Time: | 6/13/2018 12:17:25PM | Correction Type: | Blank | ¦ | HP Analysis Time: | 6/13/2018 12:17:25PM | Correction Type: | Blank | ¦ | HP Analysis Time: | 6/13/2018 12:17:25PM | Correction Type: | Blank
Report Time: | 6/13/2018 12:17:25PM | Show Neg. Int: | No |  |  | ¦ | Report Time: | 6/13/2018 12:17:25PM | Show Neg. Int: | No |  |  | ¦ | Report Time: | 6/13/2018 12:17:25PM | Show Neg. Int: | No | ¦ | Report Time: | 6/13/2018 12:17:25PM | Show Neg. Int: | No | ¦ | Report Time: | 6/13/2018 12:17:25PM | Show Neg. Int: | No | ¦ | Report Time: | 6/13/2018 12:17:25PM | Show Neg. Int: | No | ¦ | Report Time: | 6/13/2018 12:17:25PM | Show Neg. Int: | No
[6 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦
[6 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦
[6 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦
[6 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦
[6 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦
[6 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦
[6 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦
Summary Report | [5 empty] | ¦ | Tabular Report | [5 empty] | ¦ | Cumulative Intrusion vs Pore size |  |  |  | ¦ | Incremental Intrusion vs Pore size |  |  |  | ¦ | Cumulative Pore Area vs Pore size |  |  |  | ¦ | Cumulative Intrusion vs Pressure |  |  |  | ¦ | Incremental Intrusion vs Pressure
Penetrometer parameters | [5 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦
[6 empty] | ¦ | Pressure (psia) | Mean Diameter (µm) | Cumulative Pore Volume (mL/g) | Incremental Pore Volume (mL/g) | Cumulative Pore Area (m²/g) | Incremental Pore Area (m²/g) | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦
Penetrometer: | 0470 - (25) 15 Bulb, 4.185 Stem, Solid |  |  |  |  | ¦ | 0.57356 | 315.3368 | 0 | 0 | 0 | 0 | ¦ | Intrusion for Cycle 1 |  | Extrusion for Cycle 1 |  | ¦ | Intrusion for Cycle 1 |  | Extrusion for Cycle 1 |  | ¦ | Intrusion for Cycle 1 |  | Extrusion for Cycle 1 |  | ¦ | Intrusion for Cycle 1 |  | Extrusion for Cycle 1 |  | ¦ | Intrusion for Cycle 1 |  | Extrusion for Cycle 1
[6 empty] | ¦ | 2.0454 | 201.8812 | 0.013941 | 0.013941 | 0.00027622 | 0.00027622 | ¦ | Pore size Diameter (µm) | Cumulative Intrusion (mL/g) | Pore size Diameter (µm) | Cumulative Intrusion (mL/g) | ¦ | Pore size Diameter (µm) | Incremental Intrusion (mL/g) | Pore size Diameter (µm) | Incremental Intrusion (mL/g) | ¦ | Pore size Diameter (µm) | Cumulative Pore Area (m²/g) | Pore size Diameter (µm) | Cumulative Pore Area (m²/g) | ¦ | Pressure (psia) | Cumulative Intrusion (mL/g) | Pressure (psia) | Cumulative Intrusion (mL/g) | ¦ | Pressure (psia) | Incremental Intrusion (mL/g) | Pressure (psia) | Incremental Intrusion (mL/g)
[6 empty] | ¦ | 3.0077 | 74.2794 | 0.016091 | 0.0021501 | 0.00039201 | 0.00011579 | ¦ | 315.3368 | 0 | 0.0030261 | 0.19909 | ¦ | 315.3368 | 0 | 0.0030261 | 0 | ¦ | 315.3368 | 0 | 0.0030261 | 3.8322 | ¦ | 0.57356 | 0 | 59767.7891 | 0.19909 | ¦ | 0.57356 | 0 | 59767.7891 | 0
Pen. Constant: | 34.480 | µL/pF | Pen. Weight: | 72.6550 | g | ¦ | 3.9995 | 52.6775 | 0.01741 | 0.0013186 | 0.00049214 | 0.00010013 | ¦ | 88.4257 | 0.013941 | 0.0039234 | 0.19584 | ¦ | 88.4257 | 0.013941 | 0.0039234 | 0.0032551 | ¦ | 88.4257 | 0.00027622 | 0.0039234 | 0.085103 | ¦ | 2.0454 | 0.013941 | 46098.3359 | 0.19584 | ¦ | 2.0454 | 0.013941 | 46098.3359 | 0.0032551
Stem Volume: | 4.1850 | mL | Max. Head Pressure: | 4.4500 | psia | ¦ | 5.4964 | 39.0638 | 0.018782 | 0.0013724 | 0.00063267 | 0.00014053 | ¦ | 60.133 | 0.016091 | 0.0050939 | 0.19584 | ¦ | 60.133 | 0.0021501 | 0.0050939 | 0 | ¦ | 60.133 | 0.00039201 | 0.0050939 | 0.085103 | ¦ | 3.0077 | 0.016091 | 35505.5859 | 0.19584 | ¦ | 3.0077 | 0.0021501 | 35505.5859 | 0
Pen. Volume: | 19.1760 | mL | Assembly Weight: | 284.3170 | g | ¦ | 6.0281 | 31.4545 | 0.019194 | 0.0004116 | 0.00068501 | 5.2342e-05 | ¦ | 45.2219 | 0.01741 | 0.0066237 | 0.19584 | ¦ | 45.2219 | 0.0013186 | 0.0066237 | 0 | ¦ | 45.2219 | 0.00049214 | 0.0066237 | 0.085103 | ¦ | 3.9995 | 0.01741 | 27305.6094 | 0.19584 | ¦ | 3.9995 | 0.0013186 | 27305.6094 | 0
[6 empty] | ¦ | 7.4927 | 27.0711 | 0.02003 | 0.00083589 | 0.00080852 | 0.00012351 | ¦ | 32.9056 | 0.018782 | 0.0086064 | 0.19584 | ¦ | 32.9056 | 0.0013724 | 0.0086064 | 0 | ¦ | 32.9056 | 0.00063267 | 0.0086064 | 0.085103 | ¦ | 5.4964 | 0.018782 | 21014.9297 | 0.19584 | ¦ | 5.4964 | 0.0013724 | 21014.9297 | 0
[6 empty] | ¦ | 8.4973 | 22.7118 | 0.020556 | 0.00052623 | 0.0009012 | 9.2679e-05 | ¦ | 30.0034 | 0.019194 | 0.011289 | 0.19584 | ¦ | 30.0034 | 0.0004116 | 0.011289 | 0 | ¦ | 30.0034 | 0.00068501 | 0.011289 | 0.085103 | ¦ | 6.0281 | 0.019194 | 16020.8262 | 0.19584 | ¦ | 6.0281 | 0.0004116 | 16020.8262 | 0
Hg Parameters | [5 empty] | ¦ | 10.4918 | 19.2617 | 0.02127 | 0.00071366 | 0.0010494 | 0.0001482 | ¦ | 24.1388 | 0.02003 | 0.014561 | 0.19584 | ¦ | 24.1388 | 0.00083589 | 0.014561 | 0 | ¦ | 24.1388 | 0.00080852 | 0.014561 | 0.085103 | ¦ | 7.4927 | 0.02003 | 12421.2373 | 0.19584 | ¦ | 7.4927 | 0.00083589 | 12421.2373 | 0
[6 empty] | ¦ | 12.9834 | 15.5844 | 0.021831 | 0.00056161 | 0.0011935 | 0.00014415 | ¦ | 21.2848 | 0.020556 | 0.018794 | 0.19584 | ¦ | 21.2848 | 0.00052623 | 0.018794 | 0 | ¦ | 21.2848 | 0.0009012 | 0.018794 | 0.085103 | ¦ | 8.4973 | 0.020556 | 9623.417 | 0.19584 | ¦ | 8.4973 | 0.00052623 | 9623.417 | 0
Adv. Contact Angle: | 130.000 | degrees | Rec. Contact Angle: | 130.000 | degrees | ¦ | 15.97 | 12.6278 | 0.022339 | 0.00050782 | 0.0013544 | 0.00016086 | ¦ | 17.2386 | 0.02127 | 0.024721 | 0.19584 | ¦ | 17.2386 | 0.00071366 | 0.024721 | 0 | ¦ | 17.2386 | 0.0010494 | 0.024721 | 0.085103 | ¦ | 10.4918 | 0.02127 | 7316.2788 | 0.19584 | ¦ | 10.4918 | 0.00071366 | 7316.2788 | 0
Hg Surface Tension: | 485.000 | dynes/cm | Hg Density: | 13.5335 | g/mL | ¦ | 20.0243 | 10.1787 | 0.022909 | 0.00056969 | 0.0015783 | 0.00022388 | ¦ | 13.9303 | 0.021831 | 0.031651 | 0.19584 | ¦ | 13.9303 | 0.00056161 | 0.031651 | 0 | ¦ | 13.9303 | 0.0011935 | 0.031651 | 0.085103 | ¦ | 12.9834 | 0.021831 | 5714.3457 | 0.19584 | ¦ | 12.9834 | 0.00056161 | 5714.3457 | 0
[6 empty] | ¦ | 24.9855 | 8.1355 | 0.023285 | 0.00037674 | 0.0017635 | 0.00018523 | ¦ | 11.3252 | 0.022339 | 0.042004 | 0.19584 | ¦ | 11.3252 | 0.00050782 | 0.042004 | 0 | ¦ | 11.3252 | 0.0013544 | 0.042004 | 0.085103 | ¦ | 15.97 | 0.022339 | 4305.835 | 0.19584 | ¦ | 15.97 | 0.00050782 | 4305.835 | 0
[6 empty] | ¦ | 29.9771 | 6.6361 | 0.023285 | 0 | 0.0017635 | 0 | ¦ | 9.0322 | 0.022909 | 0.054722 | 0.19584 | ¦ | 9.0322 | 0.00056969 | 0.054722 | 0 | ¦ | 9.0322 | 0.0015783 | 0.054722 | 0.085103 | ¦ | 20.0243 | 0.022909 | 3305.147 | 0.19584 | ¦ | 20.0243 | 0.00056969 | 3305.147 | 0
User Parameters | [5 empty] | ¦ | 39.3211 | 5.3165 | 0.023507 | 0.00022152 | 0.0019302 | 0.00016667 | ¦ | 7.2387 | 0.023285 | 0.069481 | 0.19584 | ¦ | 7.2387 | 0.00037674 | 0.069481 | 0 | ¦ | 7.2387 | 0.0017635 | 0.069481 | 0.085103 | ¦ | 24.9855 | 0.023285 | 2603.0796 | 0.19584 | ¦ | 24.9855 | 0.00037674 | 2603.0796 | 0
[6 empty] | ¦ | 47.6926 | 4.196 | 0.023724 | 0.00021701 | 0.002137 | 0.00020687 | ¦ | 6.0334 | 0.023285 | 0.090249 | 0.19584 | ¦ | 6.0334 | 0 | 0.090249 | 0 | ¦ | 6.0334 | 0.0017635 | 0.090249 | 0.085103 | ¦ | 29.9771 | 0.023285 | 2004.0511 | 0.19584 | ¦ | 29.9771 | 0 | 2004.0511 | 0
Param 1: | 0.000 | Param 2: | 0.000 | Param 3: | 0.000 | ¦ | 57.7665 | 3.4616 | 0.024128 | 0.00040435 | 0.0026043 | 0.00046724 | ¦ | 4.5997 | 0.023507 | 0.12043 | 0.19584 | ¦ | 4.5997 | 0.00022152 | 0.12043 | 0 | ¦ | 4.5997 | 0.0019302 | 0.12043 | 0.085103 | ¦ | 39.3211 | 0.023507 | 1501.8453 | 0.19584 | ¦ | 39.3211 | 0.00022152 | 1501.8453 | 0
[6 empty] | ¦ | 73.0136 | 2.804 | 0.024641 | 0.00051223 | 0.003335 | 0.0007307 | ¦ | 3.7923 | 0.023724 | 0.15054 | 0.19584 | ¦ | 3.7923 | 0.00021701 | 0.15054 | 0 | ¦ | 3.7923 | 0.002137 | 0.15054 | 0.085103 | ¦ | 47.6926 | 0.023724 | 1201.4258 | 0.19584 | ¦ | 47.6926 | 0.00021701 | 1201.4258 | 0
[6 empty] | ¦ | 87.5658 | 2.2713 | 0.025234 | 0.00059324 | 0.0043797 | 0.0010448 | ¦ | 3.1309 | 0.024128 | 0.20059 | 0.19399 | ¦ | 3.1309 | 0.00040435 | 0.20059 | 0.0018522 | ¦ | 3.1309 | 0.0026043 | 0.20059 | 0.042904 | ¦ | 57.7665 | 0.024128 | 901.6428 | 0.19399 | ¦ | 57.7665 | 0.00040435 | 901.6428 | 0.0018522
Low Pressure: | [5 empty] | ¦ | 112.4048 | 1.8372 | 0.026632 | 0.0013987 | 0.0074249 | 0.0030452 | ¦ | 2.4771 | 0.024641 | 0.25765 | 0.19201 | ¦ | 2.4771 | 0.00051223 | 0.25765 | 0.0019734 | ¦ | 2.4771 | 0.003335 | 0.25765 | 0.0084523 | ¦ | 73.0136 | 0.024641 | 701.9873 | 0.19201 | ¦ | 73.0136 | 0.00051223 | 701.9873 | 0.0019734
[6 empty] | ¦ | 137.6146 | 1.4617 | 0.02838 | 0.001748 | 0.012209 | 0.0047836 | ¦ | 2.0655 | 0.025234 | 0.3606 | 0.1893 | ¦ | 2.0655 | 0.00059324 | 0.3606 | 0.0027153 | ¦ | 2.0655 | 0.0043797 | 0.3606 | -0.026683 | ¦ | 87.5658 | 0.025234 | 501.557 | 0.1893 | ¦ | 87.5658 | 0.00059324 | 501.557 | 0.0027153
Evacuation Pressure: | 50 | µmHg |  |  |  | ¦ | 173.2911 | 1.179 | 0.032577 | 0.0041965 | 0.026446 | 0.014238 | ¦ | 1.609 | 0.026632 | 0.45111 | 0.18691 | ¦ | 1.609 | 0.0013987 | 0.45111 | 0.0023918 | ¦ | 1.609 | 0.0074249 | 0.45111 | -0.050255 | ¦ | 112.4048 | 0.026632 | 400.929 | 0.18691 | ¦ | 112.4048 | 0.0013987 | 400.929 | 0.0023918
Evacuation Time: | 5 | mins |  |  |  | ¦ | 218.1837 | 0.93632 | 0.044691 | 0.012114 | 0.078198 | 0.051752 | ¦ | 1.3143 | 0.02838 | 0.60088 | 0.18389 | ¦ | 1.3143 | 0.001748 | 0.60088 | 0.0030191 | ¦ | 1.3143 | 0.012209 | 0.60088 | -0.073215 | ¦ | 137.6146 | 0.02838 | 300.9997 | 0.18389 | ¦ | 137.6146 | 0.001748 | 300.9997 | 0.0030191
Mercury Filling Pressure: | 0.57 | psia |  |  |  | ¦ | 267.8626 | 0.75208 | 0.062237 | 0.017546 | 0.17152 | 0.093319 | ¦ | 1.0437 | 0.032577 | 0.74925 | 0.18186 | ¦ | 1.0437 | 0.0041965 | 0.74925 | 0.0020252 | ¦ | 1.0437 | 0.026446 | 0.74925 | -0.085215 | ¦ | 173.2911 | 0.032577 | 241.3933 | 0.18186 | ¦ | 173.2911 | 0.0041965 | 241.3933 | 0.0020252
Equilibration Time: | 10 | secs |  |  |  | ¦ | 327.8623 | 0.61343 | 0.081417 | 0.01918 | 0.29659 | 0.12507 | ¦ | 0.82895 | 0.044691 | 0.9475 | 0.17933 | ¦ | 0.82895 | 0.012114 | 0.9475 | 0.0025336 | ¦ | 0.82895 | 0.078198 | 0.9475 | -0.097161 | ¦ | 218.1837 | 0.044691 | 190.8847 | 0.17933 | ¦ | 218.1837 | 0.012114 | 190.8847 | 0.0025336
[6 empty] | ¦ | 417.9868 | 0.49217 | 0.10652 | 0.025107 | 0.50063 | 0.20405 | ¦ | 0.67521 | 0.062237 | 1.2299 | 0.17629 | ¦ | 0.67521 | 0.017546 | 1.2299 | 0.0030358 | ¦ | 0.67521 | 0.17152 | 1.2299 | -0.10831 | ¦ | 267.8626 | 0.062237 | 147.0603 | 0.17629 | ¦ | 267.8626 | 0.017546 | 147.0603 | 0.0030358
[6 empty] | ¦ | 517.8073 | 0.39099 | 0.12466 | 0.018132 | 0.68613 | 0.1855 | ¦ | 0.55164 | 0.081417 | 1.6288 | 0.17297 | ¦ | 0.55164 | 0.01918 | 1.6288 | 0.0033271 | ¦ | 0.55164 | 0.29659 | 1.6288 | -0.11763 | ¦ | 327.8623 | 0.081417 | 111.0427 | 0.17297 | ¦ | 327.8623 | 0.01918 | 111.0427 | 0.0033271
High Pressure: | [5 empty] | ¦ | 637.897 | 0.31641 | 0.13861 | 0.013951 | 0.86249 | 0.17636 | ¦ | 0.4327 | 0.10652 | 2.08 | 0.16995 | ¦ | 0.4327 | 0.025107 | 2.08 | 0.0030169 | ¦ | 0.4327 | 0.50063 | 2.08 | -0.12413 | ¦ | 417.9868 | 0.10652 | 86.9541 | 0.16995 | ¦ | 417.9868 | 0.025107 | 86.9541 | 0.0030169
[6 empty] | ¦ | 797.3533 | 0.25518 | 0.15069 | 0.012083 | 1.0519 | 0.1894 | ¦ | 0.34929 | 0.12466 | 2.7315 | 0.16667 | ¦ | 0.34929 | 0.018132 | 2.7315 | 0.0032829 | ¦ | 0.34929 | 0.68613 | 2.7315 | -0.12959 | ¦ | 517.8073 | 0.12466 | 66.2148 | 0.16667 | ¦ | 517.8073 | 0.018132 | 66.2148 | 0.0032829
Equilibration Time: | 10 | secs |  |  |  | ¦ | 987.3398 | 0.20501 | 0.16014 | 0.0094461 | 1.2362 | 0.18431 | ¦ | 0.28353 | 0.13861 | 3.496 | 0.1636 | ¦ | 0.28353 | 0.013951 | 3.496 | 0.0030702 | ¦ | 0.28353 | 0.86249 | 3.496 | -0.13354 | ¦ | 637.897 | 0.13861 | 51.7347 | 0.1636 | ¦ | 637.897 | 0.013951 | 51.7347 | 0.0030702
[6 empty] | ¦ | 1196.861 | 0.16715 | 0.16724 | 0.0071065 | 1.4063 | 0.17006 | ¦ | 0.22683 | 0.15069 | 5.6822 | 0.15845 | ¦ | 0.22683 | 0.012083 | 5.6822 | 0.0051441 | ¦ | 0.22683 | 1.0519 | 5.6822 | -0.13802 | ¦ | 797.3533 | 0.15069 | 31.8298 | 0.15845 | ¦ | 797.3533 | 0.012083 | 31.8298 | 0.0051441
[6 empty] | ¦ | 1497.0057 | 0.13597 | 0.17383 | 0.0065914 | 1.6002 | 0.19391 | ¦ | 0.18318 | 0.16014 | 10.7353 | 0.15276 | ¦ | 0.18318 | 0.0094461 | 10.7353 | 0.0056957 | ¦ | 0.18318 | 1.2362 | 10.7353 | -0.1408 | ¦ | 987.3398 | 0.16014 | 16.8476 | 0.15276 | ¦ | 987.3398 | 0.0094461 | 16.8476 | 0.0056957
Blank Correction Sample: C:\9500\DATA\9410DATA\000-183.SMP Blank Correction ID: Blank Correction for PEN 25-0470 | [5 empty] | ¦ | 1896.3911 | 0.10809 | 0.17948 | 0.0056442 | 1.809 | 0.20886 | ¦ | 0.15111 | 0.16724 |  |  | ¦ | 0.15111 | 0.0071065 |  |  | ¦ | 0.15111 | 1.4063 |  |  | ¦ | 1196.861 | 0.16724 |  |  | ¦ | 1196.861 | 0.0071065
Intrusion Data Summary | [5 empty] | ¦ | 2344.4856 | 0.086258 | 0.18356 | 0.0040845 | 1.9984 | 0.18941 | ¦ | 0.12082 | 0.17383 |  |  | ¦ | 0.12082 | 0.0065914 |  |  | ¦ | 0.12082 | 1.6002 |  |  | ¦ | 1497.0057 | 0.17383 |  |  | ¦ | 1497.0057 | 0.0065914
[6 empty] | ¦ | 2894.1602 | 0.069818 | 0.18678 | 0.0032153 | 2.1827 | 0.18421 | ¦ | 0.095372 | 0.17948 |  |  | ¦ | 0.095372 | 0.0056442 |  |  | ¦ | 0.095372 | 1.809 |  |  | ¦ | 1896.3911 | 0.17948 |  |  | ¦ | 1896.3911 | 0.0056442
Total Intrusion Volume = | 0.1991 | mL/g |  |  |  | ¦ | 3592.2651 | 0.05642 | 0.18961 | 0.0028302 | 2.3833 | 0.20065 | ¦ | 0.077144 | 0.18356 |  |  | ¦ | 0.077144 | 0.0040845 |  |  | ¦ | 0.077144 | 1.9984 |  |  | ¦ | 2344.4856 | 0.18356 |  |  | ¦ | 2344.4856 | 0.0040845
Total Pore Area = | 3.832 | m²/g |  |  |  | ¦ | 4488.9941 | 0.045319 | 0.19218 | 0.0025695 | 2.6101 | 0.22679 | ¦ | 0.062493 | 0.18678 |  |  | ¦ | 0.062493 | 0.0032153 |  |  | ¦ | 0.062493 | 2.1827 |  |  | ¦ | 2894.1602 | 0.18678 |  |  | ¦ | 2894.1602 | 0.0032153
Median Pore Diameter (Volume) = | 0.4631 | µm |  |  |  | ¦ | 5580.0181 | 0.036352 | 0.19385 | 0.0016696 | 2.7938 | 0.18372 | ¦ | 0.050348 | 0.18961 |  |  | ¦ | 0.050348 | 0.0028302 |  |  | ¦ | 0.050348 | 2.3833 |  |  | ¦ | 3592.2651 | 0.18961 |  |  | ¦ | 3592.2651 | 0.0028302
Median Pore Diameter (Area) = | 0.0847 | µm |  |  |  | ¦ | 6879.022 | 0.029352 | 0.19548 | 0.0016355 | 3.0167 | 0.22288 | ¦ | 0.04029 | 0.19218 |  |  | ¦ | 0.04029 | 0.0025695 |  |  | ¦ | 0.04029 | 2.6101 |  |  | ¦ | 4488.9941 | 0.19218 |  |  | ¦ | 4488.9941 | 0.0025695
Average Pore Diameter (4V/A) = | 0.2078 | µm |  |  |  | ¦ | 8577.1855 | 0.023689 | 0.1968 | 0.0013202 | 3.2396 | 0.22292 | ¦ | 0.032413 | 0.19385 |  |  | ¦ | 0.032413 | 0.0016696 |  |  | ¦ | 0.032413 | 2.7938 |  |  | ¦ | 5580.0181 | 0.19385 |  |  | ¦ | 5580.0181 | 0.0016696
Bulk Density at 0.57 psia = | 1.6753 | g/mL |  |  |  | ¦ | 10566.168 | 0.019102 | 0.19781 | 0.00101 | 3.4511 | 0.2115 | ¦ | 0.026292 | 0.19548 |  |  | ¦ | 0.026292 | 0.0016355 |  |  | ¦ | 0.026292 | 3.0167 |  |  | ¦ | 6879.022 | 0.19548 |  |  | ¦ | 6879.022 | 0.0016355
Apparent (skeletal) Density at 59767.79 psia = | 2.5137 | g/mL |  |  |  | ¦ | 13164.6309 | 0.015428 | 0.19841 | 0.00059834 | 3.6062 | 0.15513 | ¦ | 0.021087 | 0.1968 |  |  | ¦ | 0.021087 | 0.0013202 |  |  | ¦ | 0.021087 | 3.2396 |  |  | ¦ | 8577.1855 | 0.1968 |  |  | ¦ | 8577.1855 | 0.0013202
Porosity = | 33.3542 | % |  |  |  | ¦ | 14761.3877 | 0.012996 | 0.19867 | 0.00025466 | 3.6846 | 0.078384 | ¦ | 0.017117 | 0.19781 |  |  | ¦ | 0.017117 | 0.00101 |  |  | ¦ | 0.017117 | 3.4511 |  |  | ¦ | 10566.168 | 0.19781 |  |  | ¦ | 10566.168 | 0.00101
Stem Volume Used = | 34 | % |  |  |  | ¦ | 16363.042 | 0.011653 | 0.19909 | 0.00042985 | 3.8322 | 0.14755 | ¦ | 0.013739 | 0.19841 |  |  | ¦ | 0.013739 | 0.00059834 |  |  | ¦ | 0.013739 | 3.6062 |  |  | ¦ | 13164.6309 | 0.19841 |  |  | ¦ | 13164.6309 | 0.00059834
[6 empty] | ¦ | 19964.125 | 0.010056 | 0.19909 | 0 | 3.8322 | 0 | ¦ | 0.012252 | 0.19867 |  |  | ¦ | 0.012252 | 0.00025466 |  |  | ¦ | 0.012252 | 3.6846 |  |  | ¦ | 14761.3877 | 0.19867 |  |  | ¦ | 14761.3877 | 0.00025466
[6 empty] | ¦ | 24987.6133 | 0.0081488 | 0.19909 | 0 | 3.8322 | 0 | ¦ | 0.011053 | 0.19909 |  |  | ¦ | 0.011053 | 0.00042985 |  |  | ¦ | 0.011053 | 3.8322 |  |  | ¦ | 16363.042 | 0.19909 |  |  | ¦ | 16363.042 | 0.00042985
[6 empty] | ¦ | 29992.2012 | 0.0066342 | 0.19909 | 0 | 3.8322 | 0 | ¦ | 0.0090594 | 0.19909 |  |  | ¦ | 0.0090594 | 0 |  |  | ¦ | 0.0090594 | 3.8322 |  |  | ¦ | 19964.125 | 0.19909 |  |  | ¦ | 19964.125 | 0
[6 empty] | ¦ | 34991.2617 | 0.0055996 | 0.19909 | 0 | 3.8322 | 0 | ¦ | 0.0072381 | 0.19909 |  |  | ¦ | 0.0072381 | 0 |  |  | ¦ | 0.0072381 | 3.8322 |  |  | ¦ | 24987.6133 | 0.19909 |  |  | ¦ | 24987.6133 | 0
[6 empty] | ¦ | 39969.9023 | 0.0048469 | 0.19909 | 0 | 3.8322 | 0 | ¦ | 0.0060304 | 0.19909 |  |  | ¦ | 0.0060304 | 0 |  |  | ¦ | 0.0060304 | 3.8322 |  |  | ¦ | 29992.2012 | 0.19909 |  |  | ¦ | 29992.2012 | 0
[6 empty] | ¦ | 44932.3047 | 0.0042751 | 0.19909 | 0 | 3.8322 | 0 | ¦ | 0.0051688 | 0.19909 |  |  | ¦ | 0.0051688 | 0 |  |  | ¦ | 0.0051688 | 3.8322 |  |  | ¦ | 34991.2617 | 0.19909 |  |  | ¦ | 34991.2617 | 0
[6 empty] | ¦ | 49930.5195 | 0.0038238 | 0.19909 | 0 | 3.8322 | 0 | ¦ | 0.004525 | 0.19909 |  |  | ¦ | 0.004525 | 0 |  |  | ¦ | 0.004525 | 3.8322 |  |  | ¦ | 39969.9023 | 0.19909 |  |  | ¦ | 39969.9023 | 0
[6 empty] | ¦ | 54903.0781 | 0.0034583 | 0.19909 | 0 | 3.8322 | 0 | ¦ | 0.0040252 | 0.19909 |  |  | ¦ | 0.0040252 | 0 |  |  | ¦ | 0.0040252 | 3.8322 |  |  | ¦ | 44932.3047 | 0.19909 |  |  | ¦ | 44932.3047 | 0
[6 empty] | ¦ | 59767.7891 | 0.0031602 | 0.19909 | 0 | 3.8322 | 0 | ¦ | 0.0036223 | 0.19909 |  |  | ¦ | 0.0036223 | 0 |  |  | ¦ | 0.0036223 | 3.8322 |  |  | ¦ | 49930.5195 | 0.19909 |  |  | ¦ | 49930.5195 | 0
[6 empty] | ¦ | 46098.3359 | 0.0034748 | 0.19584 | -0.0032551 | 0.085103 | -3.7471 | ¦ | 0.0032942 | 0.19909 |  |  | ¦ | 0.0032942 | 0 |  |  | ¦ | 0.0032942 | 3.8322 |  |  | ¦ | 54903.0781 | 0.19909 |  |  | ¦ | 54903.0781 | 0
[6 empty] | ¦ | 35505.5859 | 0.0045087 | 0.19584 | 0 | 0.085103 | 0 | ¦ | 0.0030261 | 0.19909 |  |  | ¦ | 0.0030261 | 0 |  |  | ¦ | 0.0030261 | 3.8322 |  |  | ¦ | 59767.7891 | 0.19909 |  |  | ¦ | 59767.7891 | 0
[6 empty] | ¦ | 27305.6094 | 0.0058588 | 0.19584 | 0 | 0.085103 | 0 | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦
[6 empty] | ¦ | 21014.9297 | 0.0076151 | 0.19584 | 0 | 0.085103 | 0 | ¦
[6 empty] | ¦ | 16020.8262 | 0.0099479 | 0.19584 | 0 | 0.085103 | 0 | ¦
[6 empty] | ¦ | 12421.2373 | 0.012925 | 0.19584 | 0 | 0.085103 | 0 | ¦
[6 empty] | ¦ | 9623.417 | 0.016677 | 0.19584 | 0 | 0.085103 | 0 | ¦
[6 empty] | ¦ | 7316.2788 | 0.021757 | 0.19584 | 0 | 0.085103 | 0 | ¦
[6 empty] | ¦ | 5714.3457 | 0.028186 | 0.19584 | 0 | 0.085103 | 0 | ¦
[6 empty] | ¦ | 4305.835 | 0.036828 | 0.19584 | 0 | 0.085103 | 0 | ¦
[6 empty] | ¦ | 3305.147 | 0.048363 | 0.19584 | 0 | 0.085103 | 0 | ¦
[6 empty] | ¦ | 2603.0796 | 0.062101 | 0.19584 | 0 | 0.085103 | 0 | ¦
[6 empty] | ¦ | 2004.0511 | 0.079865 | 0.19584 | 0 | 0.085103 | 0 | ¦
[6 empty] | ¦ | 1501.8453 | 0.10534 | 0.19584 | 0 | 0.085103 | 0 | ¦
[6 empty] | ¦ | 1201.4258 | 0.13548 | 0.19584 | 0 | 0.085103 | 0 | ¦
[6 empty] | ¦ | 901.6428 | 0.17557 | 0.19399 | -0.0018522 | 0.042904 | -0.0422 | ¦
[6 empty] | ¦ | 701.9873 | 0.22912 | 0.19201 | -0.0019734 | 0.0084523 | -0.034451 | ¦
[6 empty] | ¦ | 501.557 | 0.30912 | 0.1893 | -0.0027153 | -0.026683 | -0.035135 | ¦
[6 empty] | ¦ | 400.929 | 0.40586 | 0.18691 | -0.0023918 | -0.050255 | -0.023573 | ¦
[6 empty] | ¦ | 300.9997 | 0.52599 | 0.18389 | -0.0030191 | -0.073215 | -0.02296 | ¦
[6 empty] | ¦ | 241.3933 | 0.67506 | 0.18186 | -0.0020252 | -0.085215 | -0.012 | ¦
[6 empty] | ¦ | 190.8847 | 0.84837 | 0.17933 | -0.0025336 | -0.097161 | -0.011946 | ¦
[6 empty] | ¦ | 147.0603 | 1.0887 | 0.17629 | -0.0030358 | -0.10831 | -0.011154 | ¦
[6 empty] | ¦ | 111.0427 | 1.4293 | 0.17297 | -0.0033271 | -0.11763 | -0.009311 | ¦
[6 empty] | ¦ | 86.9541 | 1.8544 | 0.16995 | -0.0030169 | -0.12413 | -0.0065075 | ¦
[6 empty] | ¦ | 66.2148 | 2.4057 | 0.16667 | -0.0032829 | -0.12959 | -0.0054584 | ¦
[6 empty] | ¦ | 51.7347 | 3.1137 | 0.1636 | -0.0030702 | -0.13354 | -0.0039441 | ¦
[6 empty] | ¦ | 31.8298 | 4.5891 | 0.15845 | -0.0051441 | -0.13802 | -0.0044838 | ¦
[6 empty] | ¦ | 16.8476 | 8.2087 | 0.15276 | -0.0056957 | -0.1408 | -0.0027754 | ¦
[6 empty] | ¦ | [6 empty] | ¦
[6 empty] | ¦ | [6 empty] | ¦