## input
Micromeritics Instrument Corp | [5 empty] | ¦ | Micromeritics Instrument Corp | [5 empty] | ¦ | Micromeritics Instrument Corp |  |  |  | ¦ | Micromeritics Instrument Corp |  |  |  | ¦ | Micromeritics Instrument Corp |  |  |  | ¦ | Micromeritics Instrument Corp |  |  |  | ¦ | Micromeritics Instrument Corp
AutoPore IV 9500 V1.10 | Serial: 1431 | Port: 2/1 | Page 1 |  |  | ¦ | AutoPore IV 9500 V1.10 | Serial: 1431 | Port: 2/1 | Page 1 |  |  | ¦ | AutoPore IV 9500 V1.10 | Serial: 1431 | Port: 2/1 | Page 1 | ¦ | AutoPore IV 9500 V1.10 | Serial: 1431 | Port: 2/1 | Page 1 | ¦ | AutoPore IV 9500 V1.10 | Serial: 1431 | Port: 2/1 | Page 1 | ¦ | AutoPore IV 9500 V1.10 | Serial: 1431 | Port: 2/1 | Page 1 | ¦ | AutoPore IV 9500 V1.10 | Serial: 1431 | Port: 2/1 | Page 1
[6 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦
[6 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦
Sample ID: | 2H-4 |  |  |  |  | ¦ | Sample ID: | 2H-4 |  |  |  |  | ¦ | Sample ID: | 2H-4 |  |  | ¦ | Sample ID: | 2H-4 |  |  | ¦ | Sample ID: | 2H-4 |  |  | ¦ | Sample ID: | 2H-4 |  |  | ¦ | Sample ID: | 2H-4
Operator: | Glen Baum |  |  |  |  | ¦ | Operator: | Glen Baum |  |  |  |  | ¦ | Operator: | Glen Baum |  |  | ¦ | Operator: | Glen Baum |  |  | ¦ | Operator: | Glen Baum |  |  | ¦ | Operator: | Glen Baum |  |  | ¦ | Operator: | Glen Baum
Submitter: | Michael Nole |  |  |  |  | ¦ | Submitter: | Michael Nole |  |  |  |  | ¦ | Submitter: | Michael Nole |  |  | ¦ | Submitter: | Michael Nole |  |  | ¦ | Submitter: | Michael Nole |  |  | ¦ | Submitter: | Michael Nole |  |  | ¦ | Submitter: | Michael Nole
File: | C:\9500\DATA\2018\000-448.SMP |  |  |  |  | ¦ | File: | C:\9500\DATA\2018\000-448.SMP |  |  |  |  | ¦ | File: | C:\9500\DATA\2018\000-448.SMP |  |  | ¦ | File: | C:\9500\DATA\2018\000-448.SMP |  |  | ¦ | File: | C:\9500\DATA\2018\000-448.SMP |  |  | ¦ | File: | C:\9500\DATA\2018\000-448.SMP |  |  | ¦ | File: | C:\9500\DATA\2018\000-448.SMP
[6 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦
[6 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦
LP Analysis Time: | 7/11/2018 7:21:10AM | Sample Weight: | 5.9580 g |  |  | ¦ | LP Analysis Time: | 7/11/2018 7:21:10AM | Sample Weight: | 5.9580 g |  |  | ¦ | LP Analysis Time: | 7/11/2018 7:21:10AM | Sample Weight: | 5.9580 g | ¦ | LP Analysis Time: | 7/11/2018 7:21:10AM | Sample Weight: | 5.9580 g | ¦ | LP Analysis Time: | 7/11/2018 7:21:10AM | Sample Weight: | 5.9580 g | ¦ | LP Analysis Time: | 7/11/2018 7:21:10AM | Sample Weight: | 5.9580 g | ¦ | LP Analysis Time: | 7/11/2018 7:21:10AM | Sample Weight: | 5.9580 g
HP Analysis Time: | 7/11/2018 10:03:58AM | Correction Type: | Blank |  |  | ¦ | HP Analysis Time: | 7/11/2018 10:03:58AM | Correction Type: | Blank |  |  | ¦ | HP Analysis Time: | 7/11/2018 10:03:58AM | Correction Type: | Blank | ¦ | HP Analysis Time: | 7/11/2018 10:03:58AM | Correction Type: | Blank | ¦ | HP Analysis Time: | 7/11/2018 10:03:58AM | Correction Type: | Blank | ¦ | HP Analysis Time: | 7/11/2018 10:03:58AM | Correction Type: | Blank | ¦ | HP Analysis Time: | 7/11/2018 10:03:58AM | Correction Type: | Blank
Report Time: | 7/11/2018 10:03:57AM | Show Neg. Int: | No |  |  | ¦ | Report Time: | 7/11/2018 10:03:57AM | Show Neg. Int: | No |  |  | ¦ | Report Time: | 7/11/2018 10:03:57AM | Show Neg. Int: | No | ¦ | Report Time: | 7/11/2018 10:03:57AM | Show Neg. Int: | No | ¦ | Report Time: | 7/11/2018 10:03:57AM | Show Neg. Int: | No | ¦ | Report Time: | 7/11/2018 10:03:57AM | Show Neg. Int: | No | ¦ | Report Time: | 7/11/2018 10:03:57AM | Show Neg. Int: | No
[6 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦
[6 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦
[6 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦
[6 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦
[6 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦
[6 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦
[6 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦
Summary Report | [5 empty] | ¦ | Tabular Report | [5 empty] | ¦ | Cumulative Intrusion vs Pore size |  |  |  | ¦ | Incremental Intrusion vs Pore size |  |  |  | ¦ | Cumulative Pore Area vs Pore size |  |  |  | ¦ | Cumulative Intrusion vs Pressure |  |  |  | ¦ | Incremental Intrusion vs Pressure
Penetrometer parameters | [5 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦
[6 empty] | ¦ | Pressure (psia) | Mean Diameter (µm) | Cumulative Pore Volume (mL/g) | Incremental Pore Volume (mL/g) | Cumulative Pore Area (m²/g) | Incremental Pore Area (m²/g) | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦
Penetrometer: | 0470 - (25) 15 Bulb, 4.185 Stem, Solid |  |  |  |  | ¦ | 0.57171 | 316.3533 | 0 | 0 | 0 | 0 | ¦ | Intrusion for Cycle 1 |  | Extrusion for Cycle 1 |  | ¦ | Intrusion for Cycle 1 |  | Extrusion for Cycle 1 |  | ¦ | Intrusion for Cycle 1 |  | Extrusion for Cycle 1 |  | ¦ | Intrusion for Cycle 1 |  | Extrusion for Cycle 1 |  | ¦ | Intrusion for Cycle 1 |  | Extrusion for Cycle 1
[6 empty] | ¦ | 2.0406 | 202.4927 | 0.011814 | 0.011814 | 0.00023337 | 0.00023337 | ¦ | Pore size Diameter (µm) | Cumulative Intrusion (mL/g) | Pore size Diameter (µm) | Cumulative Intrusion (mL/g) | ¦ | Pore size Diameter (µm) | Incremental Intrusion (mL/g) | Pore size Diameter (µm) | Incremental Intrusion (mL/g) | ¦ | Pore size Diameter (µm) | Cumulative Pore Area (m²/g) | Pore size Diameter (µm) | Cumulative Pore Area (m²/g) | ¦ | Pressure (psia) | Cumulative Intrusion (mL/g) | Pressure (psia) | Cumulative Intrusion (mL/g) | ¦ | Pressure (psia) | Incremental Intrusion (mL/g) | Pressure (psia) | Incremental Intrusion (mL/g)
[6 empty] | ¦ | 3.0061 | 74.3989 | 0.013412 | 0.0015978 | 0.00031927 | 8.5902e-05 | ¦ | 316.3533 | 0 | 0.0030242 | 0.23486 | ¦ | 316.3533 | 0 | 0.0030242 | 0 | ¦ | 316.3533 | 0 | 0.0030242 | 5.7354 | ¦ | 0.57171 | 0 | 59805.7188 | 0.23486 | ¦ | 0.57171 | 0 | 59805.7188 | 0
Pen. Constant: | 34.480 | µL/pF | Pen. Weight: | 72.6240 | g | ¦ | 4.0161 | 52.6001 | 0.014339 | 0.00092718 | 0.00038978 | 7.0508e-05 | ¦ | 88.6321 | 0.011814 | 0.0039234 | 0.23169 | ¦ | 88.6321 | 0.011814 | 0.0039234 | 0.0031704 | ¦ | 88.6321 | 0.00023337 | 0.0039234 | 2.0848 | ¦ | 2.0406 | 0.011814 | 46099.2539 | 0.23169 | ¦ | 2.0406 | 0.011814 | 46099.2539 | 0.0031704
Stem Volume: | 4.1850 | mL | Max. Head Pressure: | 4.4500 | psia | ¦ | 5.495 | 38.9742 | 0.015278 | 0.00093968 | 0.00048622 | 9.6441e-05 | ¦ | 60.1658 | 0.013412 | 0.0050945 | 0.23169 | ¦ | 60.1658 | 0.0015978 | 0.0050945 | 0 | ¦ | 60.1658 | 0.00031927 | 0.0050945 | 2.0848 | ¦ | 3.0061 | 0.013412 | 35501.9531 | 0.23169 | ¦ | 3.0061 | 0.0015978 | 35501.9531 | 0
Pen. Volume: | 19.1760 | mL | Assembly Weight: | 287.3160 | g | ¦ | 6.0282 | 31.4583 | 0.015532 | 0.00025398 | 0.00051851 | 3.2294e-05 | ¦ | 45.0345 | 0.014339 | 0.0066228 | 0.23169 | ¦ | 45.0345 | 0.00092718 | 0.0066228 | 0 | ¦ | 45.0345 | 0.00038978 | 0.0066228 | 2.0848 | ¦ | 4.0161 | 0.014339 | 27309.1074 | 0.23169 | ¦ | 4.0161 | 0.00092718 | 27309.1074 | 0
[6 empty] | ¦ | 7.4995 | 27.0597 | 0.015933 | 0.00040058 | 0.00057773 | 5.9214e-05 | ¦ | 32.9139 | 0.015278 | 0.0086049 | 0.23169 | ¦ | 32.9139 | 0.00093968 | 0.0086049 | 0 | ¦ | 32.9139 | 0.00048622 | 0.0086049 | 2.0848 | ¦ | 5.495 | 0.015278 | 21018.6211 | 0.23169 | ¦ | 5.495 | 0.00093968 | 21018.6211 | 0
[6 empty] | ¦ | 8.4934 | 22.7057 | 0.016125 | 0.00019182 | 0.00061152 | 3.3793e-05 | ¦ | 30.0027 | 0.015532 | 0.011284 | 0.23169 | ¦ | 30.0027 | 0.00025398 | 0.011284 | 0 | ¦ | 30.0027 | 0.00051851 | 0.011284 | 2.0848 | ¦ | 6.0282 | 0.015532 | 16028.3594 | 0.23169 | ¦ | 6.0282 | 0.00025398 | 16028.3594 | 0
Hg Parameters | [5 empty] | ¦ | 10.4879 | 19.2698 | 0.016519 | 0.00039393 | 0.00069329 | 8.1772e-05 | ¦ | 24.1167 | 0.015933 | 0.014558 | 0.23169 | ¦ | 24.1167 | 0.00040058 | 0.014558 | 0 | ¦ | 24.1167 | 0.00057773 | 0.014558 | 2.0848 | ¦ | 7.4995 | 0.015933 | 12423.5205 | 0.23169 | ¦ | 7.4995 | 0.00040058 | 12423.5205 | 0
[6 empty] | ¦ | 12.9785 | 15.5903 | 0.016821 | 0.00030258 | 0.00077092 | 7.7632e-05 | ¦ | 21.2946 | 0.016125 | 0.018792 | 0.23169 | ¦ | 21.2946 | 0.00019182 | 0.018792 | 0 | ¦ | 21.2946 | 0.00061152 | 0.018792 | 2.0848 | ¦ | 8.4934 | 0.016125 | 9624.5068 | 0.23169 | ¦ | 8.4934 | 0.00019182 | 9624.5068 | 0
Adv. Contact Angle: | 130.000 | degrees | Rec. Contact Angle: | 130.000 | degrees | ¦ | 15.9653 | 12.6321 | 0.017083 | 0.00026178 | 0.00085382 | 8.2895e-05 | ¦ | 17.245 | 0.016519 | 0.024706 | 0.23169 | ¦ | 17.245 | 0.00039393 | 0.024706 | 0 | ¦ | 17.245 | 0.00069329 | 0.024706 | 2.0848 | ¦ | 10.4879 | 0.016519 | 7320.7603 | 0.23169 | ¦ | 10.4879 | 0.00039393 | 7320.7603 | 0
Hg Surface Tension: | 485.000 | dynes/cm | Hg Density: | 13.5335 | g/mL | ¦ | 20.0191 | 10.1815 | 0.017354 | 0.00027114 | 0.00096034 | 0.00010652 | ¦ | 13.9356 | 0.016821 | 0.031651 | 0.23169 | ¦ | 13.9356 | 0.00030258 | 0.031651 | 0 | ¦ | 13.9356 | 0.00077092 | 0.031651 | 2.0848 | ¦ | 12.9785 | 0.016821 | 5714.2866 | 0.23169 | ¦ | 12.9785 | 0.00030258 | 5714.2866 | 0
[6 empty] | ¦ | 25.0012 | 8.1344 | 0.017578 | 0.00022419 | 0.0010706 | 0.00011024 | ¦ | 11.3285 | 0.017083 | 0.041994 | 0.23169 | ¦ | 11.3285 | 0.00026178 | 0.041994 | 0 | ¦ | 11.3285 | 0.00085382 | 0.041994 | 2.0848 | ¦ | 15.9653 | 0.017083 | 4306.8872 | 0.23169 | ¦ | 15.9653 | 0.00026178 | 4306.8872 | 0
[6 empty] | ¦ | 29.9811 | 6.6334 | 0.017578 | 0 | 0.0010706 | 0 | ¦ | 9.0345 | 0.017354 | 0.054736 | 0.23169 | ¦ | 9.0345 | 0.00027114 | 0.054736 | 0 | ¦ | 9.0345 | 0.00096034 | 0.054736 | 2.0848 | ¦ | 20.0191 | 0.017354 | 3304.3162 | 0.23169 | ¦ | 20.0191 | 0.00027114 | 3304.3162 | 0
User Parameters | [5 empty] | ¦ | 38.1892 | 5.3843 | 0.017686 | 0.00010778 | 0.0011507 | 8.0073e-05 | ¦ | 7.2342 | 0.017578 | 0.069485 | 0.23169 | ¦ | 7.2342 | 0.00022419 | 0.069485 | 0 | ¦ | 7.2342 | 0.0010706 | 0.069485 | 2.0848 | ¦ | 25.0012 | 0.017578 | 2602.9197 | 0.23169 | ¦ | 25.0012 | 0.00022419 | 2602.9197 | 0
[6 empty] | ¦ | 47.79 | 4.2603 | 0.018186 | 0.00049943 | 0.0016196 | 0.00046892 | ¦ | 6.0326 | 0.017578 | 0.090285 | 0.23169 | ¦ | 6.0326 | 0 | 0.090285 | 0 | ¦ | 6.0326 | 0.0010706 | 0.090285 | 2.0848 | ¦ | 29.9811 | 0.017578 | 2003.2524 | 0.23169 | ¦ | 29.9811 | 0 | 2003.2524 | 0
Param 1: | 0.000 | Param 2: | 0.000 | Param 3: | 0.000 | ¦ | 58.247 | 3.4448 | 0.018594 | 0.0004088 | 0.0020943 | 0.00047468 | ¦ | 4.736 | 0.017686 | 0.12046 | 0.23168 | ¦ | 4.736 | 0.00010778 | 0.12046 | 1.0416e-05 | ¦ | 4.736 | 0.0011507 | 0.12046 | 2.0844 | ¦ | 38.1892 | 0.017686 | 1501.4877 | 0.23168 | ¦ | 38.1892 | 0.00010778 | 1501.4877 | 1.0416e-05
[6 empty] | ¦ | 72.6796 | 2.7968 | 0.019005 | 0.00041097 | 0.002682 | 0.00058778 | ¦ | 3.7845 | 0.018186 | 0.1504 | 0.22978 | ¦ | 3.7845 | 0.00049943 | 0.1504 | 0.0019002 | ¦ | 3.7845 | 0.0016196 | 0.1504 | 2.0283 | ¦ | 47.79 | 0.018186 | 1202.5514 | 0.22978 | ¦ | 47.79 | 0.00049943 | 1202.5514 | 0.0019002
[6 empty] | ¦ | 87.9248 | 2.2728 | 0.019534 | 0.00052896 | 0.003613 | 0.00093096 | ¦ | 3.1051 | 0.018594 | 0.20076 | 0.227 | ¦ | 3.1051 | 0.0004088 | 0.20076 | 0.0027722 | ¦ | 3.1051 | 0.0020943 | 0.20076 | 1.9651 | ¦ | 58.247 | 0.018594 | 900.8787 | 0.227 | ¦ | 58.247 | 0.0004088 | 900.8787 | 0.0027722
Low Pressure: | [5 empty] | ¦ | 112.6857 | 1.831 | 0.020651 | 0.0011167 | 0.0060525 | 0.0024395 | ¦ | 2.4885 | 0.019005 | 0.25749 | 0.22436 | ¦ | 2.4885 | 0.00041097 | 0.25749 | 0.0026472 | ¦ | 2.4885 | 0.002682 | 0.25749 | 1.9189 | ¦ | 72.6796 | 0.019005 | 702.3963 | 0.22436 | ¦ | 72.6796 | 0.00041097 | 702.3963 | 0.0026472
[6 empty] | ¦ | 138.424 | 1.4558 | 0.021267 | 0.00061638 | 0.007746 | 0.0016936 | ¦ | 2.057 | 0.019534 | 0.36063 | 0.22015 | ¦ | 2.057 | 0.00052896 | 0.36063 | 0.0042033 | ¦ | 2.057 | 0.003613 | 0.36063 | 1.8645 | ¦ | 87.9248 | 0.019534 | 501.52 | 0.22015 | ¦ | 87.9248 | 0.00052896 | 501.52 | 0.0042033
Evacuation Pressure: | 50 | µmHg |  |  |  | ¦ | 173.061 | 1.1758 | 0.023053 | 0.0017859 | 0.013821 | 0.0060752 | ¦ | 1.605 | 0.020651 | 0.45027 | 0.21689 | ¦ | 1.605 | 0.0011167 | 0.45027 | 0.0032644 | ¦ | 1.605 | 0.0060525 | 0.45027 | 1.8323 | ¦ | 112.6857 | 0.020651 | 401.6778 | 0.21689 | ¦ | 112.6857 | 0.0011167 | 401.6778 | 0.0032644
Evacuation Time: | 5 | mins |  |  |  | ¦ | 218.5617 | 0.9363 | 0.02738 | 0.0043264 | 0.032304 | 0.018483 | ¦ | 1.3066 | 0.021267 | 0.59956 | 0.21258 | ¦ | 1.3066 | 0.00061638 | 0.59956 | 0.0043044 | ¦ | 1.3066 | 0.007746 | 0.59956 | 1.7995 | ¦ | 138.424 | 0.021267 | 301.6625 | 0.21258 | ¦ | 138.424 | 0.00061638 | 301.6625 | 0.0043044
Mercury Filling Pressure: | 0.57 | psia |  |  |  | ¦ | 267.9936 | 0.7512 | 0.035756 | 0.0083764 | 0.076907 | 0.044603 | ¦ | 1.0451 | 0.023053 | 0.75072 | 0.20963 | ¦ | 1.0451 | 0.0017859 | 0.75072 | 0.0029548 | ¦ | 1.0451 | 0.013821 | 0.75072 | 1.782 | ¦ | 173.061 | 0.023053 | 240.9204 | 0.20963 | ¦ | 173.061 | 0.0017859 | 240.9204 | 0.0029548
Equilibration Time: | 10 | secs |  |  |  | ¦ | 328.2134 | 0.61297 | 0.04365 | 0.0078938 | 0.12842 | 0.051512 | ¦ | 0.82752 | 0.02738 | 0.94405 | 0.20591 | ¦ | 0.82752 | 0.0043264 | 0.94405 | 0.0037191 | ¦ | 0.82752 | 0.032304 | 0.94405 | 1.7644 | ¦ | 218.5617 | 0.02738 | 191.5821 | 0.20591 | ¦ | 218.5617 | 0.0043264 | 191.5821 | 0.0037191
[6 empty] | ¦ | 418.1632 | 0.49179 | 0.064841 | 0.021191 | 0.30078 | 0.17236 | ¦ | 0.67488 | 0.035756 | 1.2308 | 0.20154 | ¦ | 0.67488 | 0.0083764 | 1.2308 | 0.0043709 | ¦ | 0.67488 | 0.076907 | 1.2308 | 1.7484 | ¦ | 267.9936 | 0.035756 | 146.9485 | 0.20154 | ¦ | 267.9936 | 0.0083764 | 146.9485 | 0.0043709
[6 empty] | ¦ | 518.1075 | 0.3908 | 0.10433 | 0.039485 | 0.70492 | 0.40415 | ¦ | 0.55105 | 0.04365 | 1.6409 | 0.19678 | ¦ | 0.55105 | 0.0078938 | 1.6409 | 0.004763 | ¦ | 0.55105 | 0.12842 | 1.6409 | 1.7351 | ¦ | 328.2134 | 0.04365 | 110.2252 | 0.19678 | ¦ | 328.2134 | 0.0078938 | 110.2252 | 0.004763
High Pressure: | [5 empty] | ¦ | 637.7719 | 0.31634 | 0.1335 | 0.029176 | 1.0738 | 0.36892 | ¦ | 0.43252 | 0.064841 | 2.0781 | 0.1923 | ¦ | 0.43252 | 0.021191 | 2.0781 | 0.0044804 | ¦ | 0.43252 | 0.30078 | 2.0781 | 1.7254 | ¦ | 418.1632 | 0.064841 | 87.0315 | 0.1923 | ¦ | 418.1632 | 0.021191 | 87.0315 | 0.0044804
[6 empty] | ¦ | 797.6017 | 0.25517 | 0.15656 | 0.023063 | 1.4354 | 0.36152 | ¦ | 0.34908 | 0.10433 | 2.7331 | 0.18744 | ¦ | 0.34908 | 0.039485 | 2.7331 | 0.0048561 | ¦ | 0.34908 | 0.70492 | 2.7331 | 1.7174 | ¦ | 518.1075 | 0.10433 | 66.1742 | 0.18744 | ¦ | 518.1075 | 0.039485 | 66.1742 | 0.0048561
Equilibration Time: | 10 | secs |  |  |  | ¦ | 987.8015 | 0.20493 | 0.17352 | 0.016952 | 1.7662 | 0.33088 | ¦ | 0.28359 | 0.1335 | 3.4943 | 0.18303 | ¦ | 0.28359 | 0.029176 | 3.4943 | 0.0044052 | ¦ | 0.28359 | 1.0738 | 3.4943 | 1.7117 | ¦ | 637.7719 | 0.1335 | 51.7592 | 0.18303 | ¦ | 637.7719 | 0.029176 | 51.7592 | 0.0044052
[6 empty] | ¦ | 1197.5648 | 0.16706 | 0.18503 | 0.011516 | 2.042 | 0.27572 | ¦ | 0.22676 | 0.15656 | 5.7109 | 0.17533 | ¦ | 0.22676 | 0.023063 | 5.7109 | 0.0077029 | ¦ | 0.22676 | 1.4354 | 5.7109 | 1.705 | ¦ | 797.6017 | 0.15656 | 31.6701 | 0.17533 | ¦ | 797.6017 | 0.023063 | 31.6701 | 0.0077029
[6 empty] | ¦ | 1496.9331 | 0.13592 | 0.19624 | 0.011207 | 2.3718 | 0.32979 | ¦ | 0.1831 | 0.17352 | 10.9625 | 0.16647 | ¦ | 0.1831 | 0.016952 | 10.9625 | 0.0088593 | ¦ | 0.1831 | 1.7662 | 10.9625 | 1.7008 | ¦ | 987.8015 | 0.17352 | 16.4984 | 0.16647 | ¦ | 987.8015 | 0.016952 | 16.4984 | 0.0088593
Blank Correction Sample: C:\9500\DATA\9410DATA\000-183.SMP Blank Correction ID: Blank Correction for PEN 25-0470 | [5 empty] | ¦ | 1896.6078 | 0.10809 | 0.20522 | 0.0089845 | 2.7042 | 0.33247 | ¦ | 0.15103 | 0.18503 |  |  | ¦ | 0.15103 | 0.011516 |  |  | ¦ | 0.15103 | 2.042 |  |  | ¦ | 1197.5648 | 0.18503 |  |  | ¦ | 1197.5648 | 0.011516
Intrusion Data Summary | [5 empty] | ¦ | 2345.4207 | 0.086238 | 0.21155 | 0.0063296 | 2.9978 | 0.29359 | ¦ | 0.12082 | 0.19624 |  |  | ¦ | 0.12082 | 0.011207 |  |  | ¦ | 0.12082 | 2.3718 |  |  | ¦ | 1496.9331 | 0.19624 |  |  | ¦ | 1496.9331 | 0.011207
[6 empty] | ¦ | 2894.0488 | 0.069804 | 0.21677 | 0.0052218 | 3.297 | 0.29922 | ¦ | 0.095362 | 0.20522 |  |  | ¦ | 0.095362 | 0.0089845 |  |  | ¦ | 0.095362 | 2.7042 |  |  | ¦ | 1896.6078 | 0.20522 |  |  | ¦ | 1896.6078 | 0.0089845
Total Intrusion Volume = | 0.2349 | mL/g |  |  |  | ¦ | 3592.0439 | 0.056423 | 0.221 | 0.0042237 | 3.5965 | 0.29943 | ¦ | 0.077113 | 0.21155 |  |  | ¦ | 0.077113 | 0.0063296 |  |  | ¦ | 0.077113 | 2.9978 |  |  | ¦ | 2345.4207 | 0.21155 |  |  | ¦ | 2345.4207 | 0.0063296
Total Pore Area = | 5.735 | m²/g |  |  |  | ¦ | 4489.3896 | 0.045319 | 0.22463 | 0.0036326 | 3.9171 | 0.32063 | ¦ | 0.062495 | 0.21677 |  |  | ¦ | 0.062495 | 0.0052218 |  |  | ¦ | 0.062495 | 3.297 |  |  | ¦ | 2894.0488 | 0.21677 |  |  | ¦ | 2894.0488 | 0.0052218
Median Pore Diameter (Volume) = | 0.3204 | µm |  |  |  | ¦ | 5581.7754 | 0.036345 | 0.22708 | 0.0024453 | 4.1862 | 0.26912 | ¦ | 0.050351 | 0.221 |  |  | ¦ | 0.050351 | 0.0042237 |  |  | ¦ | 0.050351 | 3.5965 |  |  | ¦ | 3592.0439 | 0.221 |  |  | ¦ | 3592.0439 | 0.0042237
Median Pore Diameter (Area) = | 0.0847 | µm |  |  |  | ¦ | 6879.772 | 0.029346 | 0.22954 | 0.0024645 | 4.5221 | 0.33592 | ¦ | 0.040287 | 0.22463 |  |  | ¦ | 0.040287 | 0.0036326 |  |  | ¦ | 0.040287 | 3.9171 |  |  | ¦ | 4489.3896 | 0.22463 |  |  | ¦ | 4489.3896 | 0.0036326
Average Pore Diameter (4V/A) = | 0.1638 | µm |  |  |  | ¦ | 8577.1162 | 0.023688 | 0.23162 | 0.0020771 | 4.8729 | 0.35074 | ¦ | 0.032403 | 0.22708 |  |  | ¦ | 0.032403 | 0.0024453 |  |  | ¦ | 0.032403 | 4.1862 |  |  | ¦ | 5581.7754 | 0.22708 |  |  | ¦ | 5581.7754 | 0.0024453
Bulk Density at 0.57 psia = | 1.5877 | g/mL |  |  |  | ¦ | 10571.5918 | 0.019098 | 0.23294 | 0.0013263 | 5.1507 | 0.2778 | ¦ | 0.026289 | 0.22954 |  |  | ¦ | 0.026289 | 0.0024645 |  |  | ¦ | 0.026289 | 4.5221 |  |  | ¦ | 6879.772 | 0.22954 |  |  | ¦ | 6879.772 | 0.0024645
Apparent (skeletal) Density at 59805.72 psia = | 2.5318 | g/mL |  |  |  | ¦ | 13167.9297 | 0.015422 | 0.23354 | 0.00060098 | 5.3066 | 0.15588 | ¦ | 0.021087 | 0.23162 |  |  | ¦ | 0.021087 | 0.0020771 |  |  | ¦ | 0.021087 | 4.8729 |  |  | ¦ | 8577.1162 | 0.23162 |  |  | ¦ | 8577.1162 | 0.0020771
Porosity = | 37.2892 | % |  |  |  | ¦ | 14766.9375 | 0.012992 | 0.23415 | 0.00060944 | 5.4942 | 0.18764 | ¦ | 0.017108 | 0.23294 |  |  | ¦ | 0.017108 | 0.0013263 |  |  | ¦ | 0.017108 | 5.1507 |  |  | ¦ | 10571.5918 | 0.23294 |  |  | ¦ | 10571.5918 | 0.0013263
Stem Volume Used = | 36 | % |  |  |  | ¦ | 16365.2451 | 0.01165 | 0.23486 | 0.00070259 | 5.7354 | 0.24124 | ¦ | 0.013735 | 0.23354 |  |  | ¦ | 0.013735 | 0.00060098 |  |  | ¦ | 0.013735 | 5.3066 |  |  | ¦ | 13167.9297 | 0.23354 |  |  | ¦ | 13167.9297 | 0.00060098
[6 empty] | ¦ | 19962.0938 | 0.010056 | 0.23486 | 0 | 5.7354 | 0 | ¦ | 0.012248 | 0.23415 |  |  | ¦ | 0.012248 | 0.00060944 |  |  | ¦ | 0.012248 | 5.4942 |  |  | ¦ | 14766.9375 | 0.23415 |  |  | ¦ | 14766.9375 | 0.00060944
[6 empty] | ¦ | 24989.1328 | 0.008149 | 0.23486 | 0 | 5.7354 | 0 | ¦ | 0.011052 | 0.23486 |  |  | ¦ | 0.011052 | 0.00070259 |  |  | ¦ | 0.011052 | 5.7354 |  |  | ¦ | 16365.2451 | 0.23486 |  |  | ¦ | 16365.2451 | 0.00070259
[6 empty] | ¦ | 29991.9492 | 0.006634 | 0.23486 | 0 | 5.7354 | 0 | ¦ | 0.0090603 | 0.23486 |  |  | ¦ | 0.0090603 | 0 |  |  | ¦ | 0.0090603 | 5.7354 |  |  | ¦ | 19962.0938 | 0.23486 |  |  | ¦ | 19962.0938 | 0
[6 empty] | ¦ | 34991.5742 | 0.0055996 | 0.23486 | 0 | 5.7354 | 0 | ¦ | 0.0072377 | 0.23486 |  |  | ¦ | 0.0072377 | 0 |  |  | ¦ | 0.0072377 | 5.7354 |  |  | ¦ | 24989.1328 | 0.23486 |  |  | ¦ | 24989.1328 | 0
[6 empty] | ¦ | 39990.5312 | 0.0048457 | 0.23486 | 0 | 5.7354 | 0 | ¦ | 0.0060304 | 0.23486 |  |  | ¦ | 0.0060304 | 0 |  |  | ¦ | 0.0060304 | 5.7354 |  |  | ¦ | 29991.9492 | 0.23486 |  |  | ¦ | 29991.9492 | 0
[6 empty] | ¦ | 44933.0742 | 0.0042739 | 0.23486 | 0 | 5.7354 | 0 | ¦ | 0.0051688 | 0.23486 |  |  | ¦ | 0.0051688 | 0 |  |  | ¦ | 0.0051688 | 5.7354 |  |  | ¦ | 34991.5742 | 0.23486 |  |  | ¦ | 34991.5742 | 0
[6 empty] | ¦ | 49932.9883 | 0.0038237 | 0.23486 | 0 | 5.7354 | 0 | ¦ | 0.0045227 | 0.23486 |  |  | ¦ | 0.0045227 | 0 |  |  | ¦ | 0.0045227 | 5.7354 |  |  | ¦ | 39990.5312 | 0.23486 |  |  | ¦ | 39990.5312 | 0
[6 empty] | ¦ | 54919.2305 | 0.0034577 | 0.23486 | 0 | 5.7354 | 0 | ¦ | 0.0040252 | 0.23486 |  |  | ¦ | 0.0040252 | 0 |  |  | ¦ | 0.0040252 | 5.7354 |  |  | ¦ | 44933.0742 | 0.23486 |  |  | ¦ | 44933.0742 | 0
[6 empty] | ¦ | 59805.7188 | 0.0031587 | 0.23486 | 0 | 5.7354 | 0 | ¦ | 0.0036221 | 0.23486 |  |  | ¦ | 0.0036221 | 0 |  |  | ¦ | 0.0036221 | 5.7354 |  |  | ¦ | 49932.9883 | 0.23486 |  |  | ¦ | 49932.9883 | 0
[6 empty] | ¦ | 46099.2539 | 0.0034738 | 0.23169 | -0.0031704 | 2.0848 | -3.6506 | ¦ | 0.0032933 | 0.23486 |  |  | ¦ | 0.0032933 | 0 |  |  | ¦ | 0.0032933 | 5.7354 |  |  | ¦ | 54919.2305 | 0.23486 |  |  | ¦ | 54919.2305 | 0
[6 empty] | ¦ | 35501.9531 | 0.0045089 | 0.23169 | 0 | 2.0848 | 0 | ¦ | 0.0030242 | 0.23486 |  |  | ¦ | 0.0030242 | 0 |  |  | ¦ | 0.0030242 | 5.7354 |  |  | ¦ | 59805.7188 | 0.23486 |  |  | ¦ | 59805.7188 | 0
[6 empty] | ¦ | 27309.1074 | 0.0058586 | 0.23169 | 0 | 2.0848 | 0 | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦
[6 empty] | ¦ | 21018.6211 | 0.0076139 | 0.23169 | 0 | 2.0848 | 0 | ¦
[6 empty] | ¦ | 16028.3594 | 0.0099444 | 0.23169 | 0 | 2.0848 | 0 | ¦
[6 empty] | ¦ | 12423.5205 | 0.012921 | 0.23169 | 0 | 2.0848 | 0 | ¦
[6 empty] | ¦ | 9624.5068 | 0.016675 | 0.23169 | 0 | 2.0848 | 0 | ¦
[6 empty] | ¦ | 7320.7603 | 0.021749 | 0.23169 | 0 | 2.0848 | 0 | ¦
[6 empty] | ¦ | 5714.2866 | 0.028178 | 0.23169 | 0 | 2.0848 | 0 | ¦
[6 empty] | ¦ | 4306.8872 | 0.036823 | 0.23169 | 0 | 2.0848 | 0 | ¦
[6 empty] | ¦ | 3304.3162 | 0.048365 | 0.23169 | 0 | 2.0848 | 0 | ¦
[6 empty] | ¦ | 2602.9197 | 0.06211 | 0.23169 | 0 | 2.0848 | 0 | ¦
[6 empty] | ¦ | 2003.2524 | 0.079885 | 0.23169 | 0 | 2.0848 | 0 | ¦
[6 empty] | ¦ | 1501.4877 | 0.10537 | 0.23168 | -1.0416e-05 | 2.0844 | -0.0003954 | ¦
[6 empty] | ¦ | 1202.5514 | 0.13543 | 0.22978 | -0.0019002 | 2.0283 | -0.056123 | ¦
[6 empty] | ¦ | 900.8787 | 0.17558 | 0.227 | -0.0027722 | 1.9651 | -0.063155 | ¦
[6 empty] | ¦ | 702.3963 | 0.22913 | 0.22436 | -0.0026472 | 1.9189 | -0.046214 | ¦
[6 empty] | ¦ | 501.52 | 0.30906 | 0.22015 | -0.0042033 | 1.8645 | -0.054401 | ¦
[6 empty] | ¦ | 401.6778 | 0.40545 | 0.21689 | -0.0032644 | 1.8323 | -0.032205 | ¦
[6 empty] | ¦ | 301.6625 | 0.52491 | 0.21258 | -0.0043044 | 1.7995 | -0.032801 | ¦
[6 empty] | ¦ | 240.9204 | 0.67514 | 0.20963 | -0.0029548 | 1.782 | -0.017506 | ¦
[6 empty] | ¦ | 191.5821 | 0.84739 | 0.20591 | -0.0037191 | 1.7644 | -0.017556 | ¦
[6 empty] | ¦ | 146.9485 | 1.0874 | 0.20154 | -0.0043709 | 1.7484 | -0.016078 | ¦
[6 empty] | ¦ | 110.2252 | 1.4358 | 0.19678 | -0.004763 | 1.7351 | -0.013269 | ¦
[6 empty] | ¦ | 87.0315 | 1.8595 | 0.1923 | -0.0044804 | 1.7254 | -0.0096378 | ¦
[6 empty] | ¦ | 66.1742 | 2.4056 | 0.18744 | -0.0048561 | 1.7174 | -0.0080746 | ¦
[6 empty] | ¦ | 51.7592 | 3.1137 | 0.18303 | -0.0044052 | 1.7117 | -0.0056591 | ¦
[6 empty] | ¦ | 31.6701 | 4.6026 | 0.17533 | -0.0077029 | 1.705 | -0.0066944 | ¦
[6 empty] | ¦ | 16.4984 | 8.3367 | 0.16647 | -0.0088593 | 1.7008 | -0.0042508 | ¦
[6 empty] | ¦ | [6 empty] | ¦
[6 empty] | ¦ | [6 empty] | ¦