## input
Micromeritics Instrument Corp | [5 empty] | ¦ | Micromeritics Instrument Corp | [5 empty] | ¦ | Micromeritics Instrument Corp |  |  |  | ¦ | Micromeritics Instrument Corp |  |  |  | ¦ | Micromeritics Instrument Corp |  |  |  | ¦ | Micromeritics Instrument Corp |  |  |  | ¦ | Micromeritics Instrument Corp
AutoPore IV 9500 V1.10 | Serial: 1431 | Port: 2/1 | Page 1 |  |  | ¦ | AutoPore IV 9500 V1.10 | Serial: 1431 | Port: 2/1 | Page 1 |  |  | ¦ | AutoPore IV 9500 V1.10 | Serial: 1431 | Port: 2/1 | Page 1 | ¦ | AutoPore IV 9500 V1.10 | Serial: 1431 | Port: 2/1 | Page 1 | ¦ | AutoPore IV 9500 V1.10 | Serial: 1431 | Port: 2/1 | Page 1 | ¦ | AutoPore IV 9500 V1.10 | Serial: 1431 | Port: 2/1 | Page 1 | ¦ | AutoPore IV 9500 V1.10 | Serial: 1431 | Port: 2/1 | Page 1
[6 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦
[6 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦
Sample ID: | 3R-1 |  |  |  |  | ¦ | Sample ID: | 3R-1 |  |  |  |  | ¦ | Sample ID: | 3R-1 |  |  | ¦ | Sample ID: | 3R-1 |  |  | ¦ | Sample ID: | 3R-1 |  |  | ¦ | Sample ID: | 3R-1 |  |  | ¦ | Sample ID: | 3R-1
Operator: | Glen Baum |  |  |  |  | ¦ | Operator: | Glen Baum |  |  |  |  | ¦ | Operator: | Glen Baum |  |  | ¦ | Operator: | Glen Baum |  |  | ¦ | Operator: | Glen Baum |  |  | ¦ | Operator: | Glen Baum |  |  | ¦ | Operator: | Glen Baum
Submitter: | Michael Nole |  |  |  |  | ¦ | Submitter: | Michael Nole |  |  |  |  | ¦ | Submitter: | Michael Nole |  |  | ¦ | Submitter: | Michael Nole |  |  | ¦ | Submitter: | Michael Nole |  |  | ¦ | Submitter: | Michael Nole |  |  | ¦ | Submitter: | Michael Nole
File: | C:\9500\DATA\2018\000-452.SMP |  |  |  |  | ¦ | File: | C:\9500\DATA\2018\000-452.SMP |  |  |  |  | ¦ | File: | C:\9500\DATA\2018\000-452.SMP |  |  | ¦ | File: | C:\9500\DATA\2018\000-452.SMP |  |  | ¦ | File: | C:\9500\DATA\2018\000-452.SMP |  |  | ¦ | File: | C:\9500\DATA\2018\000-452.SMP |  |  | ¦ | File: | C:\9500\DATA\2018\000-452.SMP
[6 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦
[6 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦
LP Analysis Time: | 7/12/2018 4:00:27PM | Sample Weight: | 5.9120 g |  |  | ¦ | LP Analysis Time: | 7/12/2018 4:00:27PM | Sample Weight: | 5.9120 g |  |  | ¦ | LP Analysis Time: | 7/12/2018 4:00:27PM | Sample Weight: | 5.9120 g | ¦ | LP Analysis Time: | 7/12/2018 4:00:27PM | Sample Weight: | 5.9120 g | ¦ | LP Analysis Time: | 7/12/2018 4:00:27PM | Sample Weight: | 5.9120 g | ¦ | LP Analysis Time: | 7/12/2018 4:00:27PM | Sample Weight: | 5.9120 g | ¦ | LP Analysis Time: | 7/12/2018 4:00:27PM | Sample Weight: | 5.9120 g
HP Analysis Time: | 7/17/2018 7:05:18AM | Correction Type: | Blank |  |  | ¦ | HP Analysis Time: | 7/17/2018 7:05:18AM | Correction Type: | Blank |  |  | ¦ | HP Analysis Time: | 7/17/2018 7:05:18AM | Correction Type: | Blank | ¦ | HP Analysis Time: | 7/17/2018 7:05:18AM | Correction Type: | Blank | ¦ | HP Analysis Time: | 7/17/2018 7:05:18AM | Correction Type: | Blank | ¦ | HP Analysis Time: | 7/17/2018 7:05:18AM | Correction Type: | Blank | ¦ | HP Analysis Time: | 7/17/2018 7:05:18AM | Correction Type: | Blank
Report Time: | 7/17/2018 7:05:14AM | Show Neg. Int: | No |  |  | ¦ | Report Time: | 7/17/2018 7:05:14AM | Show Neg. Int: | No |  |  | ¦ | Report Time: | 7/17/2018 7:05:14AM | Show Neg. Int: | No | ¦ | Report Time: | 7/17/2018 7:05:14AM | Show Neg. Int: | No | ¦ | Report Time: | 7/17/2018 7:05:14AM | Show Neg. Int: | No | ¦ | Report Time: | 7/17/2018 7:05:14AM | Show Neg. Int: | No | ¦ | Report Time: | 7/17/2018 7:05:14AM | Show Neg. Int: | No
[6 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦
[6 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦
[6 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦
[6 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦
[6 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦
[6 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦
[6 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦
Summary Report | [5 empty] | ¦ | Tabular Report | [5 empty] | ¦ | Cumulative Intrusion vs Pore size |  |  |  | ¦ | Incremental Intrusion vs Pore size |  |  |  | ¦ | Cumulative Pore Area vs Pore size |  |  |  | ¦ | Cumulative Intrusion vs Pressure |  |  |  | ¦ | Incremental Intrusion vs Pressure
Penetrometer parameters | [5 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦
[6 empty] | ¦ | Pressure (psia) | Mean Diameter (µm) | Cumulative Pore Volume (mL/g) | Incremental Pore Volume (mL/g) | Cumulative Pore Area (m²/g) | Incremental Pore Area (m²/g) | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦
Penetrometer: | 0470 - (25) 15 Bulb, 4.185 Stem, Solid |  |  |  |  | ¦ | 0.57151 | 316.4686 | 0 | 0 | 0 | 0 | ¦ | Intrusion for Cycle 1 |  | Extrusion for Cycle 1 |  | ¦ | Intrusion for Cycle 1 |  | Extrusion for Cycle 1 |  | ¦ | Intrusion for Cycle 1 |  | Extrusion for Cycle 1 |  | ¦ | Intrusion for Cycle 1 |  | Extrusion for Cycle 1 |  | ¦ | Intrusion for Cycle 1 |  | Extrusion for Cycle 1
[6 empty] | ¦ | 2.0446 | 202.4633 | 0.012233 | 0.012233 | 0.00024167 | 0.00024167 | ¦ | Pore size Diameter (µm) | Cumulative Intrusion (mL/g) | Pore size Diameter (µm) | Cumulative Intrusion (mL/g) | ¦ | Pore size Diameter (µm) | Incremental Intrusion (mL/g) | Pore size Diameter (µm) | Incremental Intrusion (mL/g) | ¦ | Pore size Diameter (µm) | Cumulative Pore Area (m²/g) | Pore size Diameter (µm) | Cumulative Pore Area (m²/g) | ¦ | Pressure (psia) | Cumulative Intrusion (mL/g) | Pressure (psia) | Cumulative Intrusion (mL/g) | ¦ | Pressure (psia) | Incremental Intrusion (mL/g) | Pressure (psia) | Incremental Intrusion (mL/g)
[6 empty] | ¦ | 3.0128 | 74.2446 | 0.014006 | 0.0017736 | 0.00033723 | 9.5553e-05 | ¦ | 316.4686 | 0 | 0.0030201 | 0.19567 | ¦ | 316.4686 | 0 | 0.0030201 | 0 | ¦ | 316.4686 | 0 | 0.0030201 | 5.2872 | ¦ | 0.57151 | 0 | 59887.4844 | 0.19567 | ¦ | 0.57151 | 0 | 59887.4844 | 0
Pen. Constant: | 34.480 | µL/pF | Pen. Weight: | 72.6070 | g | ¦ | 4.0069 | 52.5846 | 0.015044 | 0.0010377 | 0.00041616 | 7.8934e-05 | ¦ | 88.4581 | 0.012233 | 0.0039232 | 0.1922 | ¦ | 88.4581 | 0.012233 | 0.0039232 | 0.0034719 | ¦ | 88.4581 | 0.00024167 | 0.0039232 | 1.2869 | ¦ | 2.0446 | 0.012233 | 46100.8398 | 0.1922 | ¦ | 2.0446 | 0.012233 | 46100.8398 | 0.0034719
Stem Volume: | 4.1850 | mL | Max. Head Pressure: | 4.4500 | psia | ¦ | 5.4964 | 39.0218 | 0.016041 | 0.00099748 | 0.00051841 | 0.00010225 | ¦ | 60.0311 | 0.014006 | 0.0050938 | 0.1922 | ¦ | 60.0311 | 0.0017736 | 0.0050938 | 0 | ¦ | 60.0311 | 0.00033723 | 0.0050938 | 1.2869 | ¦ | 3.0128 | 0.014006 | 35506.4102 | 0.1922 | ¦ | 3.0128 | 0.0017736 | 35506.4102 | 0
Pen. Volume: | 19.1760 | mL | Assembly Weight: | 290.9620 | g | ¦ | 6.0278 | 31.4553 | 0.016338 | 0.00029697 | 0.00055617 | 3.7763e-05 | ¦ | 45.138 | 0.015044 | 0.0066213 | 0.1922 | ¦ | 45.138 | 0.0010377 | 0.0066213 | 0 | ¦ | 45.138 | 0.00041616 | 0.0066213 | 1.2869 | ¦ | 4.0069 | 0.015044 | 27315.6191 | 0.1922 | ¦ | 4.0069 | 0.0010377 | 27315.6191 | 0
[6 empty] | ¦ | 7.4976 | 27.064 | 0.016875 | 0.0005366 | 0.00063548 | 7.9308e-05 | ¦ | 32.9057 | 0.016041 | 0.0086055 | 0.1922 | ¦ | 32.9057 | 0.00099748 | 0.0086055 | 0 | ¦ | 32.9057 | 0.00051841 | 0.0086055 | 1.2869 | ¦ | 5.4964 | 0.016041 | 21017.084 | 0.1922 | ¦ | 5.4964 | 0.00099748 | 21017.084 | 0
[6 empty] | ¦ | 8.4991 | 22.7017 | 0.01715 | 0.00027478 | 0.0006839 | 4.8417e-05 | ¦ | 30.005 | 0.016338 | 0.011287 | 0.1922 | ¦ | 30.005 | 0.00029697 | 0.011287 | 0 | ¦ | 30.005 | 0.00055617 | 0.011287 | 1.2869 | ¦ | 6.0278 | 0.016338 | 16023.8721 | 0.1922 | ¦ | 6.0278 | 0.00029697 | 16023.8721 | 0
Hg Parameters | [5 empty] | ¦ | 10.4911 | 19.2601 | 0.017639 | 0.00048913 | 0.00078548 | 0.00010158 | ¦ | 24.123 | 0.016875 | 0.014561 | 0.1922 | ¦ | 24.123 | 0.0005366 | 0.014561 | 0 | ¦ | 24.123 | 0.00063548 | 0.014561 | 1.2869 | ¦ | 7.4976 | 0.016875 | 12421.0195 | 0.1922 | ¦ | 7.4976 | 0.0005366 | 12421.0195 | 0
[6 empty] | ¦ | 12.9729 | 15.5906 | 0.018015 | 0.00037674 | 0.00088214 | 9.6659e-05 | ¦ | 21.2804 | 0.01715 | 0.018795 | 0.1922 | ¦ | 21.2804 | 0.00027478 | 0.018795 | 0 | ¦ | 21.2804 | 0.0006839 | 0.018795 | 1.2869 | ¦ | 8.4991 | 0.01715 | 9623.1709 | 0.1922 | ¦ | 8.4991 | 0.00027478 | 9623.1709 | 0
Adv. Contact Angle: | 130.000 | degrees | Rec. Contact Angle: | 130.000 | degrees | ¦ | 15.9662 | 12.6348 | 0.018371 | 0.00035565 | 0.00099473 | 0.00011259 | ¦ | 17.2397 | 0.017639 | 0.024706 | 0.1922 | ¦ | 17.2397 | 0.00048913 | 0.024706 | 0 | ¦ | 17.2397 | 0.00078548 | 0.024706 | 1.2869 | ¦ | 10.4911 | 0.017639 | 7320.5596 | 0.1922 | ¦ | 10.4911 | 0.00048913 | 7320.5596 | 0
Hg Surface Tension: | 485.000 | dynes/cm | Hg Density: | 13.5335 | g/mL | ¦ | 20.0208 | 10.1809 | 0.018685 | 0.00031414 | 0.0011182 | 0.00012342 | ¦ | 13.9416 | 0.018015 | 0.031644 | 0.1922 | ¦ | 13.9416 | 0.00037674 | 0.031644 | 0 | ¦ | 13.9416 | 0.00088214 | 0.031644 | 1.2869 | ¦ | 12.9729 | 0.018015 | 5715.5845 | 0.1922 | ¦ | 12.9729 | 0.00037674 | 5715.5845 | 0
[6 empty] | ¦ | 24.982 | 8.1368 | 0.018942 | 0.0002571 | 0.0012445 | 0.00012639 | ¦ | 11.3279 | 0.018371 | 0.041995 | 0.1922 | ¦ | 11.3279 | 0.00035565 | 0.041995 | 0 | ¦ | 11.3279 | 0.00099473 | 0.041995 | 1.2869 | ¦ | 15.9662 | 0.018371 | 4306.7969 | 0.1922 | ¦ | 15.9662 | 0.00035565 | 4306.7969 | 0
[6 empty] | ¦ | 29.9804 | 6.6362 | 0.018942 | 0 | 0.0012445 | 0 | ¦ | 9.0338 | 0.018685 | 0.054756 | 0.1922 | ¦ | 9.0338 | 0.00031414 | 0.054756 | 0 | ¦ | 9.0338 | 0.0011182 | 0.054756 | 1.2869 | ¦ | 20.0208 | 0.018685 | 3303.1028 | 0.1922 | ¦ | 20.0208 | 0.00031414 | 3303.1028 | 0
User Parameters | [5 empty] | ¦ | 38.782 | 5.3482 | 0.018995 | 5.2754e-05 | 0.001284 | 3.9456e-05 | ¦ | 7.2398 | 0.018942 | 0.06951 | 0.1922 | ¦ | 7.2398 | 0.0002571 | 0.06951 | 0 | ¦ | 7.2398 | 0.0012445 | 0.06951 | 1.2869 | ¦ | 24.982 | 0.018942 | 2601.9612 | 0.1922 | ¦ | 24.982 | 0.0002571 | 2601.9612 | 0
[6 empty] | ¦ | 48.0974 | 4.212 | 0.019254 | 0.00025896 | 0.0015299 | 0.00024592 | ¦ | 6.0327 | 0.018942 | 0.09029 | 0.1922 | ¦ | 6.0327 | 0 | 0.09029 | 0 | ¦ | 6.0327 | 0.0012445 | 0.09029 | 1.2869 | ¦ | 29.9804 | 0.018942 | 2003.1421 | 0.1922 | ¦ | 29.9804 | 0 | 2003.1421 | 0
Param 1: | 0.000 | Param 2: | 0.000 | Param 3: | 0.000 | ¦ | 57.6312 | 3.4493 | 0.019557 | 0.00030287 | 0.0018811 | 0.00035122 | ¦ | 4.6636 | 0.018995 | 0.12039 | 0.1922 | ¦ | 4.6636 | 5.2754e-05 | 0.12039 | 0 | ¦ | 4.6636 | 0.001284 | 0.12039 | 1.2869 | ¦ | 38.782 | 0.018995 | 1502.3331 | 0.1922 | ¦ | 38.782 | 5.2754e-05 | 1502.3331 | 0
[6 empty] | ¦ | 72.7984 | 2.8114 | 0.019944 | 0.00038697 | 0.0024317 | 0.00055058 | ¦ | 3.7604 | 0.019254 | 0.15049 | 0.1922 | ¦ | 3.7604 | 0.00025896 | 0.15049 | 0 | ¦ | 3.7604 | 0.0015299 | 0.15049 | 1.2869 | ¦ | 48.0974 | 0.019254 | 1201.8281 | 0.1922 | ¦ | 48.0974 | 0.00025896 | 1201.8281 | 0
[6 empty] | ¦ | 87.7412 | 2.2729 | 0.02035 | 0.000406 | 0.0031462 | 0.0007145 | ¦ | 3.1383 | 0.019557 | 0.20052 | 0.19145 | ¦ | 3.1383 | 0.00030287 | 0.20052 | 0.00074883 | ¦ | 3.1383 | 0.0018811 | 0.20052 | 1.2699 | ¦ | 57.6312 | 0.019557 | 901.9598 | 0.19145 | ¦ | 57.6312 | 0.00030287 | 901.9598 | 0.00074883
Low Pressure: | [5 empty] | ¦ | 112.8587 | 1.8319 | 0.021098 | 0.00074843 | 0.0047804 | 0.0016342 | ¦ | 2.4844 | 0.019944 | 0.25785 | 0.18926 | ¦ | 2.4844 | 0.00038697 | 0.25785 | 0.0021821 | ¦ | 2.4844 | 0.0024317 | 0.25785 | 1.2318 | ¦ | 72.7984 | 0.019944 | 701.4236 | 0.18926 | ¦ | 72.7984 | 0.00038697 | 701.4236 | 0.0021821
[6 empty] | ¦ | 137.597 | 1.4585 | 0.021654 | 0.00055517 | 0.006303 | 0.0015226 | ¦ | 2.0613 | 0.02035 | 0.36055 | 0.18625 | ¦ | 2.0613 | 0.000406 | 0.36055 | 0.0030098 | ¦ | 2.0613 | 0.0031462 | 0.36055 | 1.1929 | ¦ | 87.7412 | 0.02035 | 501.6322 | 0.18625 | ¦ | 87.7412 | 0.000406 | 501.6322 | 0.0030098
Evacuation Pressure: | 50 | µmHg |  |  |  | ¦ | 172.6433 | 1.181 | 0.022198 | 0.00054475 | 0.008148 | 0.001845 | ¦ | 1.6026 | 0.021098 | 0.4503 | 0.18387 | ¦ | 1.6026 | 0.00074843 | 0.4503 | 0.0023858 | ¦ | 1.6026 | 0.0047804 | 0.4503 | 1.1693 | ¦ | 112.8587 | 0.021098 | 401.6499 | 0.18387 | ¦ | 112.8587 | 0.00074843 | 401.6499 | 0.0023858
Evacuation Time: | 5 | mins |  |  |  | ¦ | 217.8023 | 0.93901 | 0.022992 | 0.00079342 | 0.011528 | 0.0033798 | ¦ | 1.3144 | 0.021654 | 0.59886 | 0.18087 | ¦ | 1.3144 | 0.00055517 | 0.59886 | 0.0030016 | ¦ | 1.3144 | 0.006303 | 0.59886 | 1.1464 | ¦ | 137.597 | 0.021654 | 302.0107 | 0.18087 | ¦ | 137.597 | 0.00055517 | 302.0107 | 0.0030016
Mercury Filling Pressure: | 0.57 | psia |  |  |  | ¦ | 268.1729 | 0.75242 | 0.024143 | 0.0011516 | 0.01765 | 0.0061224 | ¦ | 1.0476 | 0.022198 | 0.74853 | 0.17895 | ¦ | 1.0476 | 0.00054475 | 0.74853 | 0.0019183 | ¦ | 1.0476 | 0.008148 | 0.74853 | 1.135 | ¦ | 172.6433 | 0.022198 | 241.6252 | 0.17895 | ¦ | 172.6433 | 0.00054475 | 241.6252 | 0.0019183
Equilibration Time: | 10 | secs |  |  |  | ¦ | 328.2885 | 0.61268 | 0.026543 | 0.0023993 | 0.033315 | 0.015664 | ¦ | 0.8304 | 0.022992 | 0.9462 | 0.17669 | ¦ | 0.8304 | 0.00079342 | 0.9462 | 0.0022598 | ¦ | 0.8304 | 0.011528 | 0.9462 | 1.1244 | ¦ | 217.8023 | 0.022992 | 191.1475 | 0.17669 | ¦ | 217.8023 | 0.00079342 | 191.1475 | 0.0022598
[6 empty] | ¦ | 417.8482 | 0.49189 | 0.039444 | 0.012902 | 0.13823 | 0.10491 | ¦ | 0.67443 | 0.024143 | 1.2384 | 0.17406 | ¦ | 0.67443 | 0.0011516 | 1.2384 | 0.0026323 | ¦ | 0.67443 | 0.01765 | 1.2384 | 1.1147 | ¦ | 268.1729 | 0.024143 | 146.0473 | 0.17406 | ¦ | 268.1729 | 0.0011516 | 146.0473 | 0.0026323
[6 empty] | ¦ | 518.1335 | 0.39096 | 0.075714 | 0.03627 | 0.50932 | 0.37109 | ¦ | 0.55093 | 0.026543 | 1.6107 | 0.17119 | ¦ | 0.55093 | 0.0023993 | 1.6107 | 0.0028646 | ¦ | 0.55093 | 0.033315 | 1.6107 | 1.1067 | ¦ | 328.2885 | 0.026543 | 112.29 | 0.17119 | ¦ | 328.2885 | 0.0023993 | 112.29 | 0.0028646
High Pressure: | [5 empty] | ¦ | 637.5395 | 0.31638 | 0.10334 | 0.027629 | 0.85863 | 0.34931 | ¦ | 0.43285 | 0.039444 | 2.0863 | 0.16893 | ¦ | 0.43285 | 0.012902 | 2.0863 | 0.0022596 | ¦ | 0.43285 | 0.13823 | 2.0863 | 1.1018 | ¦ | 417.8482 | 0.039444 | 86.6895 | 0.16893 | ¦ | 417.8482 | 0.012902 | 86.6895 | 0.0022596
[6 empty] | ¦ | 797.5499 | 0.25523 | 0.12534 | 0.021994 | 1.2033 | 0.34468 | ¦ | 0.34907 | 0.075714 | 2.6929 | 0.16656 | ¦ | 0.34907 | 0.03627 | 2.6929 | 0.0023713 | ¦ | 0.34907 | 0.50932 | 2.6929 | 1.0978 | ¦ | 518.1335 | 0.075714 | 67.1636 | 0.16656 | ¦ | 518.1335 | 0.03627 | 67.1636 | 0.0023713
Equilibration Time: | 10 | secs |  |  |  | ¦ | 987.5875 | 0.20496 | 0.14115 | 0.015809 | 1.5119 | 0.30854 | ¦ | 0.28369 | 0.10334 | 3.4999 | 0.1643 | ¦ | 0.28369 | 0.027629 | 3.4999 | 0.0022572 | ¦ | 0.28369 | 0.85863 | 3.4999 | 1.0949 | ¦ | 637.5395 | 0.10334 | 51.6762 | 0.1643 | ¦ | 637.5395 | 0.027629 | 51.6762 | 0.0022572
[6 empty] | ¦ | 1197.4424 | 0.16709 | 0.15196 | 0.010818 | 1.7708 | 0.25897 | ¦ | 0.22677 | 0.12534 | 5.6142 | 0.16106 | ¦ | 0.22677 | 0.021994 | 5.6142 | 0.0032411 | ¦ | 0.22677 | 1.2033 | 5.6142 | 1.0921 | ¦ | 797.5499 | 0.12534 | 32.2153 | 0.16106 | ¦ | 797.5499 | 0.021994 | 32.2153 | 0.0032411
[6 empty] | ¦ | 1497.0806 | 0.13593 | 0.16178 | 0.0098177 | 2.0597 | 0.28891 | ¦ | 0.18314 | 0.14115 | 11.1788 | 0.15756 | ¦ | 0.18314 | 0.015809 | 11.1788 | 0.0035072 | ¦ | 0.18314 | 1.5119 | 11.1788 | 1.0904 | ¦ | 987.5875 | 0.14115 | 16.1792 | 0.15756 | ¦ | 987.5875 | 0.015809 | 16.1792 | 0.0035072
Blank Correction Sample: C:\9500\DATA\9410DATA\000-183.SMP Blank Correction ID: Blank Correction for PEN 25-0470 | [5 empty] | ¦ | 1896.5487 | 0.10809 | 0.17042 | 0.008637 | 2.3794 | 0.31963 | ¦ | 0.15104 | 0.15196 |  |  | ¦ | 0.15104 | 0.010818 |  |  | ¦ | 0.15104 | 1.7708 |  |  | ¦ | 1197.4424 | 0.15196 |  |  | ¦ | 1197.4424 | 0.010818
Intrusion Data Summary | [5 empty] | ¦ | 2345.5488 | 0.086237 | 0.17488 | 0.0044615 | 2.5863 | 0.20694 | ¦ | 0.12081 | 0.16178 |  |  | ¦ | 0.12081 | 0.0098177 |  |  | ¦ | 0.12081 | 2.0597 |  |  | ¦ | 1497.0806 | 0.16178 |  |  | ¦ | 1497.0806 | 0.0098177
[6 empty] | ¦ | 2894.4941 | 0.069797 | 0.17931 | 0.0044256 | 2.8399 | 0.25362 | ¦ | 0.095365 | 0.17042 |  |  | ¦ | 0.095365 | 0.008637 |  |  | ¦ | 0.095365 | 2.3794 |  |  | ¦ | 1896.5487 | 0.17042 |  |  | ¦ | 1896.5487 | 0.008637
Total Intrusion Volume = | 0.1957 | mL/g |  |  |  | ¦ | 3592.9636 | 0.056412 | 0.18275 | 0.0034447 | 3.0842 | 0.24426 | ¦ | 0.077109 | 0.17488 |  |  | ¦ | 0.077109 | 0.0044615 |  |  | ¦ | 0.077109 | 2.5863 |  |  | ¦ | 2345.5488 | 0.17488 |  |  | ¦ | 2345.5488 | 0.0044615
Total Pore Area = | 5.287 | m²/g |  |  |  | ¦ | 4489.1675 | 0.045314 | 0.18602 | 0.003266 | 3.3725 | 0.2883 | ¦ | 0.062485 | 0.17931 |  |  | ¦ | 0.062485 | 0.0044256 |  |  | ¦ | 0.062485 | 2.8399 |  |  | ¦ | 2894.4941 | 0.17931 |  |  | ¦ | 2894.4941 | 0.0044256
Median Pore Diameter (Volume) = | 0.2975 | µm |  |  |  | ¦ | 5579.3037 | 0.036353 | 0.18819 | 0.0021743 | 3.6117 | 0.23924 | ¦ | 0.050338 | 0.18275 |  |  | ¦ | 0.050338 | 0.0034447 |  |  | ¦ | 0.050338 | 3.0842 |  |  | ¦ | 3592.9636 | 0.18275 |  |  | ¦ | 3592.9636 | 0.0034447
Median Pore Diameter (Area) = | 0.0732 | µm |  |  |  | ¦ | 6877.8755 | 0.029357 | 0.18998 | 0.0017921 | 3.8559 | 0.24418 | ¦ | 0.040289 | 0.18602 |  |  | ¦ | 0.040289 | 0.003266 |  |  | ¦ | 0.040289 | 3.3725 |  |  | ¦ | 4489.1675 | 0.18602 |  |  | ¦ | 4489.1675 | 0.003266
Average Pore Diameter (4V/A) = | 0.1480 | µm |  |  |  | ¦ | 8573.0654 | 0.023697 | 0.19224 | 0.0022588 | 4.2372 | 0.38129 | ¦ | 0.032417 | 0.18819 |  |  | ¦ | 0.032417 | 0.0021743 |  |  | ¦ | 0.032417 | 3.6117 |  |  | ¦ | 5579.3037 | 0.18819 |  |  | ¦ | 5579.3037 | 0.0021743
Bulk Density at 0.57 psia = | 1.6996 | g/mL |  |  |  | ¦ | 10569.8916 | 0.019104 | 0.19314 | 0.00089656 | 4.4249 | 0.18772 | ¦ | 0.026296 | 0.18998 |  |  | ¦ | 0.026296 | 0.0017921 |  |  | ¦ | 0.026296 | 3.8559 |  |  | ¦ | 6877.8755 | 0.18998 |  |  | ¦ | 6877.8755 | 0.0017921
Apparent (skeletal) Density at 59887.48 psia = | 2.5465 | g/mL |  |  |  | ¦ | 13165.8076 | 0.015424 | 0.19418 | 0.0010459 | 4.6962 | 0.27123 | ¦ | 0.021097 | 0.19224 |  |  | ¦ | 0.021097 | 0.0022588 |  |  | ¦ | 0.021097 | 4.2372 |  |  | ¦ | 8573.0654 | 0.19224 |  |  | ¦ | 8573.0654 | 0.0022588
Porosity = | 33.2559 | % |  |  |  | ¦ | 14762.627 | 0.012994 | 0.19462 | 0.00043401 | 4.8298 | 0.1336 | ¦ | 0.017111 | 0.19314 |  |  | ¦ | 0.017111 | 0.00089656 |  |  | ¦ | 0.017111 | 4.4249 |  |  | ¦ | 10569.8916 | 0.19314 |  |  | ¦ | 10569.8916 | 0.00089656
Stem Volume Used = | 30 | % |  |  |  | ¦ | 16365.2217 | 0.011652 | 0.19463 | 1.061e-05 | 4.8334 | 0.0036423 | ¦ | 0.013737 | 0.19418 |  |  | ¦ | 0.013737 | 0.0010459 |  |  | ¦ | 0.013737 | 4.6962 |  |  | ¦ | 13165.8076 | 0.19418 |  |  | ¦ | 13165.8076 | 0.0010459
[6 empty] | ¦ | 19960.7422 | 0.010056 | 0.19557 | 0.00094433 | 5.209 | 0.37562 | ¦ | 0.012251 | 0.19462 |  |  | ¦ | 0.012251 | 0.00043401 |  |  | ¦ | 0.012251 | 4.8298 |  |  | ¦ | 14762.627 | 0.19462 |  |  | ¦ | 14762.627 | 0.00043401
[6 empty] | ¦ | 24987.291 | 0.0081496 | 0.19557 | 0 | 5.209 | 0 | ¦ | 0.011052 | 0.19463 |  |  | ¦ | 0.011052 | 1.061e-05 |  |  | ¦ | 0.011052 | 4.8334 |  |  | ¦ | 16365.2217 | 0.19463 |  |  | ¦ | 16365.2217 | 1.061e-05
[6 empty] | ¦ | 29991.5332 | 0.0066344 | 0.19557 | 0 | 5.209 | 0 | ¦ | 0.009061 | 0.19557 |  |  | ¦ | 0.009061 | 0.00094433 |  |  | ¦ | 0.009061 | 5.209 |  |  | ¦ | 19960.7422 | 0.19557 |  |  | ¦ | 19960.7422 | 0.00094433
[6 empty] | ¦ | 34990.1133 | 0.0055997 | 0.19557 | 0 | 5.209 | 0 | ¦ | 0.0072382 | 0.19557 |  |  | ¦ | 0.0072382 | 0 |  |  | ¦ | 0.0072382 | 5.209 |  |  | ¦ | 24987.291 | 0.19557 |  |  | ¦ | 24987.291 | 0
[6 empty] | ¦ | 39982.5391 | 0.0048463 | 0.19567 | 9.4727e-05 | 5.2872 | 0.078185 | ¦ | 0.0060305 | 0.19557 |  |  | ¦ | 0.0060305 | 0 |  |  | ¦ | 0.0060305 | 5.209 |  |  | ¦ | 29991.5332 | 0.19557 |  |  | ¦ | 29991.5332 | 0
[6 empty] | ¦ | 44941.4609 | 0.004274 | 0.19567 | 0 | 5.2872 | 0 | ¦ | 0.005169 | 0.19557 |  |  | ¦ | 0.005169 | 0 |  |  | ¦ | 0.005169 | 5.209 |  |  | ¦ | 34990.1133 | 0.19557 |  |  | ¦ | 34990.1133 | 0
[6 empty] | ¦ | 49941.1406 | 0.003823 | 0.19567 | 0 | 5.2872 | 0 | ¦ | 0.0045236 | 0.19567 |  |  | ¦ | 0.0045236 | 9.4727e-05 |  |  | ¦ | 0.0045236 | 5.2872 |  |  | ¦ | 39982.5391 | 0.19567 |  |  | ¦ | 39982.5391 | 9.4727e-05
[6 empty] | ¦ | 54933.793 | 0.003457 | 0.19567 | 0 | 5.2872 | 0 | ¦ | 0.0040244 | 0.19567 |  |  | ¦ | 0.0040244 | 0 |  |  | ¦ | 0.0040244 | 5.2872 |  |  | ¦ | 44941.4609 | 0.19567 |  |  | ¦ | 44941.4609 | 0
[6 empty] | ¦ | 59887.4844 | 0.0031562 | 0.19567 | 0 | 5.2872 | 0 | ¦ | 0.0036215 | 0.19567 |  |  | ¦ | 0.0036215 | 0 |  |  | ¦ | 0.0036215 | 5.2872 |  |  | ¦ | 49941.1406 | 0.19567 |  |  | ¦ | 49941.1406 | 0
[6 empty] | ¦ | 46100.8398 | 0.0034716 | 0.1922 | -0.0034719 | 1.2869 | -4.0003 | ¦ | 0.0032924 | 0.19567 |  |  | ¦ | 0.0032924 | 0 |  |  | ¦ | 0.0032924 | 5.2872 |  |  | ¦ | 54933.793 | 0.19567 |  |  | ¦ | 54933.793 | 0
[6 empty] | ¦ | 35506.4102 | 0.0045085 | 0.1922 | 0 | 1.2869 | 0 | ¦ | 0.0030201 | 0.19567 |  |  | ¦ | 0.0030201 | 0 |  |  | ¦ | 0.0030201 | 5.2872 |  |  | ¦ | 59887.4844 | 0.19567 |  |  | ¦ | 59887.4844 | 0
[6 empty] | ¦ | 27315.6191 | 0.0058575 | 0.1922 | 0 | 1.2869 | 0 | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦
[6 empty] | ¦ | 21017.084 | 0.0076134 | 0.1922 | 0 | 1.2869 | 0 | ¦
[6 empty] | ¦ | 16023.8721 | 0.0099463 | 0.1922 | 0 | 1.2869 | 0 | ¦
[6 empty] | ¦ | 12421.0195 | 0.012924 | 0.1922 | 0 | 1.2869 | 0 | ¦
[6 empty] | ¦ | 9623.1709 | 0.016678 | 0.1922 | 0 | 1.2869 | 0 | ¦
[6 empty] | ¦ | 7320.5596 | 0.02175 | 0.1922 | 0 | 1.2869 | 0 | ¦
[6 empty] | ¦ | 5715.5845 | 0.028175 | 0.1922 | 0 | 1.2869 | 0 | ¦
[6 empty] | ¦ | 4306.7969 | 0.036819 | 0.1922 | 0 | 1.2869 | 0 | ¦
[6 empty] | ¦ | 3303.1028 | 0.048375 | 0.1922 | 0 | 1.2869 | 0 | ¦
[6 empty] | ¦ | 2601.9612 | 0.062133 | 0.1922 | 0 | 1.2869 | 0 | ¦
[6 empty] | ¦ | 2003.1421 | 0.0799 | 0.1922 | 0 | 1.2869 | 0 | ¦
[6 empty] | ¦ | 1502.3331 | 0.10534 | 0.1922 | 0 | 1.2869 | 0 | ¦
[6 empty] | ¦ | 1201.8281 | 0.13544 | 0.1922 | 0 | 1.2869 | 0 | ¦
[6 empty] | ¦ | 901.9598 | 0.17551 | 0.19145 | -0.00074883 | 1.2699 | -0.017067 | ¦
[6 empty] | ¦ | 701.4236 | 0.22919 | 0.18926 | -0.0021821 | 1.2318 | -0.038085 | ¦
[6 empty] | ¦ | 501.6322 | 0.3092 | 0.18625 | -0.0030098 | 1.1929 | -0.038936 | ¦
[6 empty] | ¦ | 401.6499 | 0.40543 | 0.18387 | -0.0023858 | 1.1693 | -0.023539 | ¦
[6 empty] | ¦ | 302.0107 | 0.52458 | 0.18087 | -0.0030016 | 1.1464 | -0.022888 | ¦
[6 empty] | ¦ | 241.6252 | 0.6737 | 0.17895 | -0.0019183 | 1.135 | -0.01139 | ¦
[6 empty] | ¦ | 191.1475 | 0.84736 | 0.17669 | -0.0022598 | 1.1244 | -0.010667 | ¦
[6 empty] | ¦ | 146.0473 | 1.0923 | 0.17406 | -0.0026323 | 1.1147 | -0.0096394 | ¦
[6 empty] | ¦ | 112.29 | 1.4245 | 0.17119 | -0.0028646 | 1.1067 | -0.0080435 | ¦
[6 empty] | ¦ | 86.6895 | 1.8485 | 0.16893 | -0.0022596 | 1.1018 | -0.0048896 | ¦
[6 empty] | ¦ | 67.1636 | 2.3896 | 0.16656 | -0.0023713 | 1.0978 | -0.0039693 | ¦
[6 empty] | ¦ | 51.6762 | 3.0964 | 0.1643 | -0.0022572 | 1.0949 | -0.0029159 | ¦
[6 empty] | ¦ | 32.2153 | 4.5571 | 0.16106 | -0.0032411 | 1.0921 | -0.0028449 | ¦
[6 empty] | ¦ | 16.1792 | 8.3965 | 0.15756 | -0.0035072 | 1.0904 | -0.0016708 | ¦
[6 empty] | ¦ | [6 empty] | ¦
[6 empty] | ¦ | [6 empty] | ¦